Etosha 18 Rip 0-2cm

Graphics

Graphics

Graphics

Quantitative Results

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	11.0

Phase Calcium Carbonate

Weight fraction/ %	13.0

Phase Sodium Chloride

Weight fraction/ %	3.0

Phase Potassium Sodium Calcium Aluminum Silicon Oxide

Weight fraction/ %	15.0

Phase Magnesium Aluminum Iron Silicon Oxide Hydroxide Hydrate

Weight fraction/ %	3.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	7.0

Phase Cadmium Iron Oxide Hydroxide

Weight fraction/ %	3.0

Phase Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide

Weight fraction/ %	45.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Sodium Aluminum Silicate Hydrate | Calcium Carbonate | Sodium Chloride | Potassium Sodium Calcium Aluminum Silicon Oxide | Magnesium Aluminum Iron Silicon Oxide Hydroxide Hydrate | Sodium Magnesium Silicon Oxide Hydrate | Cadmium Iron Oxide Hydroxide | Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 ETOSHA RIP 0-2CM | 11.0 | 13.0 | 3.0 | 15.0 | 3.0 | 7.0 | 3.0 | 45.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 5.0064 | 8761.0000 | 8755.1953 | 8761.0000 |
| 5.0174 | 8653.8525 | 8738.4263 | 8736.9810 |
| 5.0284 | 8645.1711 | 8714.4156 | 8712.9620 |
| 5.0394 | 8760.7493 | 8690.4049 | 8688.9429 |
| 5.0504 | 8492.0167 | 8666.3943 | 8664.9239 |
| 5.0614 | 8492.2970 | 8642.3838 | 8640.9049 |
| 5.0724 | 8771.5870 | 8618.3733 | 8616.8859 |
| 5.0834 | 8574.0423 | 8594.3629 | 8592.8668 |
| 5.0944 | 8534.8515 | 8570.3526 | 8568.8478 |
| 5.1054 | 8512.2168 | 8546.3424 | 8544.8288 |
| 5.1164 | 8142.2468 | 8522.3322 | 8520.8098 |
| 5.1274 | 8310.1937 | 8498.3221 | 8496.7907 |
| 5.1384 | 8354.2507 | 8474.3121 | 8472.7717 |
| 5.1494 | 8292.3284 | 8450.3022 | 8448.7527 |
| 5.1604 | 8390.3933 | 8426.2924 | 8424.7337 |
| 5.1714 | 8287.3024 | 8402.2826 | 8400.7147 |
| 5.1824 | 8362.8663 | 8378.2730 | 8376.6956 |
| 5.1934 | 8345.6883 | 8354.2634 | 8352.6766 |
| 5.2044 | 8134.2212 | 8330.2539 | 8328.6576 |
| 5.2154 | 8060.5447 | 8306.2445 | 8304.6386 |
| 5.2264 | 8125.8948 | 8282.2351 | 8280.6195 |
| 5.2374 | 8151.5413 | 8258.2259 | 8256.6005 |
| 5.2484 | 8084.2645 | 8234.2167 | 8232.5815 |
| 5.2594 | 8143.6131 | 8210.2077 | 8208.5625 |
| 5.2704 | 8017.7640 | 8186.1987 | 8184.5435 |
| 5.2814 | 7987.2591 | 8162.1898 | 8160.5244 |
| 5.2924 | 7855.7807 | 8138.1810 | 8136.5054 |
| 5.3034 | 7964.9292 | 8114.1723 | 8112.4864 |
| 5.3144 | 7976.6952 | 8090.1637 | 8088.4674 |
| 5.3254 | 7986.1195 | 8066.1552 | 8064.4483 |
| 5.3364 | 8097.7050 | 8042.1468 | 8040.4293 |
| 5.3474 | 8042.8392 | 8018.1385 | 8016.4103 |
| 5.3584 | 7862.5811 | 7994.1303 | 7992.3913 |
| 5.3694 | 7828.8112 | 7970.1222 | 7968.3722 |
| 5.3804 | 7832.9253 | 7946.1142 | 7944.3532 |
| 5.3914 | 7867.9735 | 7922.1064 | 7920.3342 |
| 5.4024 | 7823.6018 | 7898.0986 | 7896.3152 |
| 5.4134 | 7816.5039 | 7874.0909 | 7872.2962 |
| 5.4244 | 7942.6047 | 7850.0833 | 7848.2771 |
| 5.4354 | 7898.6681 | 7826.0759 | 7824.2581 |
| 5.4464 | 7805.6519 | 7802.0685 | 7800.2391 |
| 5.4574 | 7736.2679 | 7778.0613 | 7776.2201 |
| 5.4684 | 7644.0206 | 7754.0542 | 7752.2010 |
| 5.4794 | 7650.5359 | 7730.0471 | 7728.1820 |
| 5.4904 | 7690.0718 | 7706.0403 | 7704.1630 |
| 5.5014 | 7739.8186 | 7682.0335 | 7680.1440 |
| 5.5124 | 7620.5565 | 7658.0268 | 7656.1250 |
| 5.5234 | 7522.0831 | 7634.0203 | 7632.1059 |
| 5.5344 | 7610.7168 | 7614.9092 | 7608.0869 |
| 5.5454 | 7644.1593 | 7602.2437 | 7600.3040 |
| 5.5564 | 7665.2694 | 7594.4737 | 7592.5210 |
| 5.5674 | 7675.4779 | 7586.7037 | 7584.7381 |
| 5.5784 | 7614.7561 | 7578.9339 | 7576.9552 |
| 5.5894 | 7519.1603 | 7571.1642 | 7569.1723 |
| 5.6004 | 7550.0443 | 7563.3947 | 7561.3893 |
| 5.6114 | 7581.6480 | 7555.6253 | 7553.6064 |
| 5.6224 | 7522.4946 | 7547.8560 | 7545.8235 |
| 5.6334 | 7561.1549 | 7540.0869 | 7538.0405 |
| 5.6444 | 7569.0393 | 7532.3179 | 7530.2576 |
| 5.6554 | 7528.3673 | 7524.5491 | 7522.4747 |
| 5.6664 | 7512.3127 | 7516.7804 | 7514.6917 |
| 5.6774 | 7538.7409 | 7509.0118 | 7506.9088 |
| 5.6884 | 7553.3343 | 7501.2434 | 7499.1259 |
| 5.6994 | 7568.9381 | 7493.4752 | 7491.3429 |
| 5.7104 | 7543.8948 | 7485.7071 | 7483.5600 |
| 5.7214 | 7473.6844 | 7477.9391 | 7475.7771 |
| 5.7324 | 7569.1357 | 7470.1713 | 7467.9941 |
| 5.7434 | 7566.1775 | 7462.4037 | 7460.2112 |
| 5.7544 | 7547.4631 | 7460.0163 | 7452.4283 |
| 5.7654 | 7518.7094 | 7455.1163 | 7444.6454 |
| 5.7764 | 7471.8417 | 7447.5471 | 7436.8624 |
| 5.7874 | 7489.4346 | 7439.9276 | 7429.0795 |
| 5.7984 | 7640.7876 | 7432.3121 | 7421.2966 |
| 5.8094 | 7467.9892 | 7424.7009 | 7413.5136 |
| 5.8204 | 7537.8633 | 7422.5898 | 7405.7307 |
| 5.8314 | 7516.5796 | 7415.6942 | 7397.9478 |
| 5.8424 | 7556.0354 | 7410.9982 | 7390.1648 |
| 5.8534 | 7517.3579 | 7403.8954 | 7382.3819 |
| 5.8644 | 7487.1976 | 7396.5104 | 7374.5990 |
| 5.8754 | 7599.6062 | 7389.1371 | 7366.8160 |
| 5.8864 | 7637.4150 | 7381.7760 | 7359.0331 |
| 5.8974 | 7646.9602 | 7374.4275 | 7351.2502 |
| 5.9084 | 7721.9931 | 7367.0922 | 7343.4672 |
| 5.9194 | 7593.0447 | 7359.7706 | 7335.6843 |
| 5.9304 | 7503.6460 | 7352.4634 | 7327.9014 |
| 5.9414 | 7664.2601 | 7345.1711 | 7320.1185 |
| 5.9524 | 7500.7109 | 7337.8943 | 7312.3355 |
| 5.9634 | 7535.6549 | 7330.6338 | 7304.5526 |
| 5.9744 | 7620.7561 | 7323.3902 | 7296.7697 |
| 5.9854 | 7574.2207 | 7316.1644 | 7288.9867 |
| 5.9964 | 7601.9292 | 7308.9570 | 7281.2038 |
| 6.0074 | 7710.9995 | 7301.7691 | 7273.4209 |
| 6.0184 | 7546.4474 | 7294.6014 | 7265.6379 |
| 6.0294 | 7681.5605 | 7287.4549 | 7257.8550 |
| 6.0404 | 7647.8751 | 7280.3306 | 7250.0721 |
| 6.0514 | 7746.5654 | 7273.2296 | 7242.2891 |
| 6.0624 | 7891.1769 | 7266.0777 | 7234.5062 |
| 6.0734 | 7694.4076 | 7258.8521 | 7226.4734 |
| 6.0844 | 7883.7247 | 7251.5782 | 7218.4406 |
| 6.0954 | 7942.6106 | 7244.3324 | 7210.4077 |
| 6.1064 | 7800.0059 | 7237.1164 | 7202.3749 |
| 6.1174 | 7737.5870 | 7229.9316 | 7194.3421 |
| 6.1284 | 7782.3717 | 7222.7797 | 7186.3092 |
| 6.1394 | 7834.6618 | 7215.6625 | 7178.2764 |
| 6.1504 | 7967.4887 | 7208.5817 | 7170.2436 |
| 6.1614 | 8062.2802 | 7201.5395 | 7162.2108 |
| 6.1724 | 7950.8397 | 7194.5379 | 7154.1779 |
| 6.1834 | 8021.5566 | 7187.5793 | 7146.1451 |
| 6.1944 | 8098.0531 | 7180.6661 | 7138.1123 |
| 6.2054 | 8071.2768 | 7173.8009 | 7130.0794 |
| 6.2164 | 8046.8407 | 7166.9867 | 7122.0466 |
| 6.2274 | 8083.2861 | 7160.2265 | 7114.0138 |
| 6.2384 | 8116.7129 | 7153.5235 | 7105.9809 |
| 6.2494 | 8211.6667 | 7146.8813 | 7097.9481 |
| 6.2604 | 8232.3805 | 7140.3037 | 7089.9153 |
| 6.2714 | 8195.8383 | 7133.7949 | 7081.8825 |
| 6.2824 | 8259.8495 | 7127.3594 | 7073.8496 |
| 6.2934 | 8355.8806 | 7121.0020 | 7065.8168 |
| 6.3044 | 8523.6283 | 7114.7280 | 7057.7840 |
| 6.3154 | 8389.0707 | 7108.5430 | 7049.7511 |
| 6.3264 | 8388.4071 | 7102.4534 | 7041.7183 |
| 6.3374 | 8484.3309 | 7096.4660 | 7033.6855 |
| 6.3484 | 8472.9784 | 7090.5881 | 7025.6527 |
| 6.3594 | 8545.1564 | 7084.8278 | 7017.6198 |
| 6.3704 | 8608.1986 | 7079.1940 | 7009.5870 |
| 6.3814 | 8735.1765 | 7073.6965 | 7001.5542 |
| 6.3924 | 8921.8850 | 7068.3459 | 6993.5213 |
| 6.4034 | 8929.3672 | 7063.1541 | 6985.4885 |
| 6.4144 | 8907.8093 | 7058.1340 | 6977.4557 |
| 6.4254 | 8957.5207 | 7053.3000 | 6969.4228 |
| 6.4364 | 8977.5978 | 7048.6680 | 6961.3900 |
| 6.4474 | 9134.8029 | 7044.2558 | 6953.3572 |
| 6.4584 | 9235.6224 | 7040.0830 | 6945.3244 |
| 6.4694 | 9336.9189 | 7036.1717 | 6937.2915 |
| 6.4804 | 9412.4690 | 7032.5463 | 6929.2587 |
| 6.4914 | 9448.3717 | 7029.2344 | 6921.2259 |
| 6.5024 | 9538.5605 | 7026.2672 | 6913.1930 |
| 6.5134 | 9585.5742 | 7023.6795 | 6905.1602 |
| 6.5244 | 9672.1475 | 7021.5111 | 6897.1274 |
| 6.5354 | 9904.2424 | 7019.8068 | 6889.0946 |
| 6.5464 | 9847.3372 | 7018.6181 | 6881.0617 |
| 6.5574 | 9947.9381 | 7018.0034 | 6873.0289 |
| 6.5684 | 10050.2104 | 7018.0301 | 6864.9961 |
| 6.5794 | 10210.7056 | 7018.7758 | 6856.9632 |
| 6.5904 | 10248.5310 | 7020.2492 | 6848.9304 |
| 6.6014 | 10616.7641 | 7022.5290 | 6840.6286 |
| 6.6124 | 10495.1582 | 7025.7630 | 6832.3267 |
| 6.6234 | 10754.8733 | 7030.1757 | 6824.0249 |
| 6.6344 | 10796.5988 | 7035.9364 | 6815.7231 |
| 6.6454 | 10848.0271 | 7043.2465 | 6807.4212 |
| 6.6564 | 10973.8938 | 7052.3469 | 6799.1194 |
| 6.6674 | 11371.6176 | 7063.5289 | 6790.8175 |
| 6.6784 | 11373.3549 | 7077.1492 | 6782.5157 |
| 6.6894 | 11560.3585 | 7093.6539 | 6774.2139 |
| 6.7004 | 11432.5417 | 7113.6189 | 6765.9120 |
| 6.7114 | 11723.5488 | 7137.8226 | 6757.6102 |
| 6.7224 | 11652.3333 | 7167.3789 | 6749.3083 |
| 6.7334 | 11944.2213 | 7203.9740 | 6741.0065 |
| 6.7444 | 11927.4366 | 7250.2665 | 6732.7047 |
| 6.7554 | 12156.8895 | 7310.5084 | 6724.4028 |
| 6.7664 | 12318.7847 | 7391.4096 | 6716.1010 |
| 6.7774 | 12045.0250 | 7503.1620 | 6707.7991 |
| 6.7884 | 12385.9028 | 7660.3699 | 6699.4973 |
| 6.7994 | 12539.1411 | 7882.4130 | 6691.1955 |
| 6.8104 | 12577.0737 | 8192.6159 | 6682.8936 |
| 6.8214 | 12397.2508 | 8615.6291 | 6674.5918 |
| 6.8324 | 12515.9263 | 9172.7372 | 6666.2899 |
| 6.8434 | 12661.5767 | 9875.2672 | 6657.9881 |
| 6.8544 | 12746.6608 | 10716.4295 | 6649.6863 |
| 6.8654 | 12807.8477 | 11661.3958 | 6641.3844 |
| 6.8764 | 13071.3362 | 12635.4081 | 6633.0826 |
| 6.8874 | 12997.0178 | 13515.5458 | 6624.7808 |
| 6.8984 | 13173.9832 | 14146.8841 | 6616.4789 |
| 6.9094 | 12903.6426 | 14403.2198 | 6608.1771 |
| 6.9204 | 12925.6755 | 14260.3897 | 6599.8752 |
| 6.9314 | 12971.3220 | 13812.8783 | 6591.5734 |
| 6.9424 | 12866.9155 | 13222.2290 | 6583.2716 |
| 6.9534 | 12896.7581 | 12648.3155 | 6574.9697 |
| 6.9644 | 12731.9705 | 12208.1539 | 6566.6679 |
| 6.9754 | 12610.7787 | 11967.0778 | 6558.3660 |
| 6.9864 | 12492.3718 | 11944.5782 | 6550.0642 |
| 6.9974 | 12658.9498 | 12121.5969 | 6541.7624 |
| 7.0084 | 12481.3637 | 12445.5483 | 6533.4605 |
| 7.0194 | 12364.0576 | 12834.0104 | 6525.1587 |
| 7.0304 | 12478.3952 | 13181.7666 | 6516.8568 |
| 7.0414 | 12209.6617 | 13379.1903 | 6508.5550 |
| 7.0524 | 12126.3127 | 13343.9367 | 6500.2532 |
| 7.0634 | 12076.5033 | 13050.1881 | 6491.9513 |
| 7.0744 | 11818.1317 | 12533.2574 | 6483.6495 |
| 7.0854 | 11729.1106 | 11867.1501 | 6475.3476 |
| 7.0964 | 11620.8691 | 11133.5920 | 6467.0458 |
| 7.1074 | 11438.6258 | 10400.6989 | 6458.7440 |
| 7.1184 | 11266.8406 | 9715.7983 | 6450.4421 |
| 7.1294 | 11095.4991 | 9106.9296 | 6442.1403 |
| 7.1404 | 11114.0255 | 8586.9650 | 6433.8385 |
| 7.1514 | 10908.8273 | 8157.6394 | 6425.5366 |
| 7.1624 | 10687.5073 | 7813.0219 | 6417.2348 |
| 7.1734 | 10554.6076 | 7542.5262 | 6408.9329 |
| 7.1844 | 10418.8406 | 7333.4610 | 6400.6311 |
| 7.1954 | 10237.6661 | 7173.0117 | 6392.3293 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 1 ETOSHA RIP 0-2CM | 5.0064 | 84.9874 | 0.0110 | 8/22/2023 10:43:38 AM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 6.9019 | 6456.74 | 0.1082 | 12.79690 | 52.40 |
| 7.0439 | 5758.00 | 0.1299 | 12.53928 | 46.73 |
| 8.8593 | 1000.68 | 0.3897 | 9.97345 | 8.12 |
| 11.6214 | 475.09 | 0.1732 | 7.60848 | 3.86 |
| 15.8832 | 8373.32 | 0.1299 | 5.57527 | 67.96 |
| 18.3291 | 1533.49 | 0.0758 | 4.83642 | 12.45 |
| 19.9616 | 3196.11 | 0.3680 | 4.44441 | 25.94 |
| 20.9964 | 1170.45 | 0.1299 | 4.22766 | 9.50 |
| 21.4105 | 854.42 | 0.2598 | 4.14681 | 6.93 |
| 22.5388 | 151.09 | 0.1515 | 3.94171 | 1.23 |
| 23.0928 | 695.83 | 0.0866 | 3.84839 | 5.65 |
| 23.4948 | 1307.90 | 0.1082 | 3.78344 | 10.62 |
| 24.3478 | 593.19 | 0.0866 | 3.65279 | 4.81 |
| 26.0404 | 12320.93 | 0.1407 | 3.41908 | 100.00 |
| 26.6168 | 5093.29 | 0.0528 | 3.34633 | 41.34 |
| 26.6985 | 3520.48 | 0.0396 | 3.33627 | 28.57 |
| 27.1325 | 961.32 | 0.1056 | 3.28389 | 7.80 |
| 27.6143 | 921.14 | 0.1320 | 3.22768 | 7.48 |
| 29.4226 | 6325.34 | 0.0924 | 3.03329 | 51.34 |
| 29.8267 | 656.54 | 0.1584 | 2.99311 | 5.33 |
| 30.6336 | 5643.77 | 0.1320 | 2.91608 | 45.81 |
| 31.7069 | 1346.01 | 0.0660 | 2.81977 | 10.92 |
| 31.9872 | 539.61 | 0.1584 | 2.79570 | 4.38 |
| 33.3586 | 1520.34 | 0.2112 | 2.68383 | 12.34 |
| 34.3847 | 1732.10 | 0.1584 | 2.60605 | 14.06 |
| 34.7807 | 2739.38 | 0.4224 | 2.57729 | 22.23 |
| 35.9990 | 2395.70 | 0.2640 | 2.49280 | 19.44 |
| 36.5694 | 994.08 | 0.1056 | 2.45522 | 8.07 |
| 37.1305 | 1309.04 | 0.1320 | 2.41940 | 10.62 |
| 39.4403 | 1088.66 | 0.2112 | 2.28286 | 8.84 |
| 40.5865 | 882.75 | 0.1320 | 2.22100 | 7.16 |
| 41.6716 | 250.85 | 0.1584 | 2.16564 | 2.04 |
| 43.1687 | 778.83 | 0.1056 | 2.09394 | 6.32 |
| 45.4412 | 2782.52 | 0.0660 | 1.99436 | 22.58 |
| 45.5566 | 1719.11 | 0.0528 | 1.98958 | 13.95 |
| 47.1065 | 328.24 | 0.2640 | 1.92767 | 2.66 |
| 47.5324 | 911.17 | 0.1584 | 1.91138 | 7.40 |
| 47.9203 | 1060.15 | 0.1056 | 1.89682 | 8.60 |
| 48.5089 | 962.19 | 0.1320 | 1.87517 | 7.81 |
| 48.8416 | 691.64 | 0.2112 | 1.86317 | 5.61 |
| 50.8518 | 191.81 | 0.4224 | 1.79413 | 1.56 |
| 52.5920 | 1423.42 | 0.2112 | 1.73879 | 11.55 |
| 53.4984 | 499.99 | 0.2112 | 1.71145 | 4.06 |
| 54.3926 | 567.19 | 0.2640 | 1.68541 | 4.60 |
| 55.3297 | 220.48 | 0.3168 | 1.65906 | 1.79 |
| 56.5480 | 292.60 | 0.3168 | 1.62617 | 2.37 |
| 57.8882 | 513.48 | 0.2640 | 1.59167 | 4.17 |
| 60.6922 | 899.09 | 0.3168 | 1.52467 | 7.30 |
| 61.4061 | 906.39 | 0.3696 | 1.50865 | 7.36 |
| 62.9982 | 222.86 | 0.4752 | 1.47430 | 1.81 |
| 64.7125 | 329.43 | 0.2640 | 1.43932 | 2.67 |
| 66.1453 | 456.42 | 0.3168 | 1.41157 | 3.70 |
| 69.1672 | 456.93 | 0.1848 | 1.35710 | 3.71 |
| 72.3472 | 459.60 | 0.3696 | 1.30507 | 3.73 |
| 73.8670 | 336.73 | 0.3168 | 1.28193 | 2.73 |
| 75.3719 | 281.47 | 0.4224 | 1.26003 | 2.28 |
| 78.3387 | 341.04 | 0.3696 | 1.21957 | 2.77 |
| 81.3985 | 140.10 | 0.6336 | 1.18128 | 1.14 |
| 82.7712 | 119.46 | 0.5280 | 1.16514 | 0.97 |
| 83.9452 | 246.67 | 0.2112 | 1.15181 | 2.00 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 00-041-1478 | 62 | Sodium Aluminum Silicate Hydrate | Na ( Si2 Al ) O6 · H2 O | Analcime | 11 |
| * | 01-086-4274 | 58 | Calcium Carbonate | Ca ( C O3 ) | Calcite | 13 |
| * | 01-071-3741 | 43 | Sodium Chloride | Na Cl | Halite | 3 |
| * | 04-015-8439 | 15 | Potassium Sodium Calcium Aluminum Silicon Oxide | K0.65 Na0.31 Ca0.04 Al Si2.99 O8 | Sanidine | 15 |
| * | 04-018-3208 | 4 | Magnesium Aluminum Iron Silicon Oxide Hydroxide Hydrate | Mg1.0 Fe0.08 Al1.0 Si3.99 O10.2 ( O H )0.8 ( H2 O )3.3 | Palygorskite-M | 3 |
| * | 01-082-8023 | 30 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 7 |
| * | 04-013-2829 | 10 | Cadmium Iron Oxide Hydroxide | Cd0.1 Fe0.9 O0.9 ( O H )1.1 | Goethite, Cd-bearing, syn | 3 |
| * | 04-018-6570 | 22 | Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide | K0.97 ( H3 O )0.03 Mg0.4 Al2.2 Si3.4 O10 ( O H )2 | Muscovite-2M1 | 45 |

Anchor Scan Parameters

Dataset Name	1 ETOSHA RIP 0-2CM

File name	C:\aeris_data\XRD data\1 ETOSHA RIP 0-2CM.xrdml

Sample Identification	1 ETOSHA RIP 0-2CM

Measurement Start Date/Time	8/22/2023 10:43:38 AM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	5.0064

End Position [°2θ]	84.9874

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.4584

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes