Etosha 22 CrySub 4-10 cm S1

Graphics

Graphics

Graphics

Quantitative Results

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	26.0

Phase Calcium Carbonate

Weight fraction/ %	12.0

Phase Sodium Chloride

Weight fraction/ %	10.0

Phase Potassium Iron Magnesium Aluminum Silicate Hydroxide

Weight fraction/ %	2.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	5.0

Phase Potassium Sodium Calcium Aluminum Silicate

Weight fraction/ %	11.0

Phase Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide

Weight fraction/ %	34.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Sodium Aluminum Silicate Hydrate | Calcium Carbonate | Sodium Chloride | Potassium Iron Magnesium Aluminum Silicate Hydroxide | Sodium Magnesium Silicon Oxide Hydrate | Potassium Sodium Calcium Aluminum Silicate | Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 10 ETOSHA 22 CRYSUB 4-10CM S1 | 26.0 | 12.0 | 10.0 | 2.0 | 5.0 | 11.0 | 34.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 5.0064 | 8499.0000 | 8502.9811 | 8499.0000 |
| 5.0174 | 8393.0123 | 8493.3544 | 8481.2202 |
| 5.0284 | 8395.3029 | 8475.7094 | 8463.4403 |
| 5.0394 | 8445.8201 | 8458.0667 | 8445.6605 |
| 5.0504 | 8408.7070 | 8440.4263 | 8427.8806 |
| 5.0614 | 8292.4081 | 8422.7882 | 8410.1008 |
| 5.0724 | 8361.0619 | 8405.1526 | 8392.3209 |
| 5.0834 | 8205.1003 | 8387.5194 | 8374.5411 |
| 5.0944 | 8402.1986 | 8369.8888 | 8356.7612 |
| 5.1054 | 8322.5619 | 8352.2607 | 8338.9814 |
| 5.1164 | 8113.5644 | 8334.6353 | 8321.2016 |
| 5.1274 | 8150.0865 | 8317.0126 | 8303.4217 |
| 5.1384 | 8184.5693 | 8299.3927 | 8285.6419 |
| 5.1494 | 8011.3894 | 8281.7756 | 8267.8620 |
| 5.1604 | 8192.1691 | 8264.1614 | 8250.0822 |
| 5.1714 | 8125.5870 | 8246.5501 | 8232.3023 |
| 5.1824 | 8150.8909 | 8228.9420 | 8214.5225 |
| 5.1934 | 8055.5084 | 8211.3369 | 8196.7426 |
| 5.2044 | 8015.6372 | 8193.7350 | 8178.9628 |
| 5.2154 | 8167.3599 | 8176.1364 | 8161.1830 |
| 5.2264 | 8013.2124 | 8158.5411 | 8143.4031 |
| 5.2374 | 8028.5177 | 8140.9493 | 8125.6233 |
| 5.2484 | 8008.1131 | 8123.3610 | 8107.8434 |
| 5.2594 | 7953.1505 | 8105.7763 | 8090.0636 |
| 5.2704 | 8038.1091 | 8088.1953 | 8072.2837 |
| 5.2814 | 7814.1888 | 8070.6181 | 8054.5039 |
| 5.2924 | 7805.5329 | 8053.0447 | 8036.7240 |
| 5.3034 | 7897.0619 | 8035.4754 | 8018.9442 |
| 5.3144 | 7841.1239 | 8017.9101 | 8001.1643 |
| 5.3254 | 7845.7434 | 8000.3491 | 7983.3845 |
| 5.3364 | 7955.8997 | 7982.7924 | 7965.6047 |
| 5.3474 | 7901.2261 | 7965.2400 | 7947.8248 |
| 5.3584 | 7769.6480 | 7947.6922 | 7930.0450 |
| 5.3694 | 7753.7419 | 7930.1491 | 7912.2651 |
| 5.3804 | 7718.9577 | 7912.6108 | 7894.4853 |
| 5.3914 | 7668.6111 | 7895.0774 | 7876.7054 |
| 5.4024 | 7779.9027 | 7877.5490 | 7858.9256 |
| 5.4134 | 7817.6259 | 7860.0258 | 7841.1457 |
| 5.4244 | 7790.5988 | 7842.5079 | 7823.3659 |
| 5.4354 | 7749.6932 | 7824.9956 | 7805.5861 |
| 5.4464 | 7689.3009 | 7807.4888 | 7787.8062 |
| 5.4574 | 7660.9213 | 7789.9878 | 7770.0264 |
| 5.4684 | 7660.2920 | 7772.4928 | 7752.2465 |
| 5.4794 | 7672.6996 | 7755.0040 | 7734.4667 |
| 5.4904 | 7620.2969 | 7737.5214 | 7716.6868 |
| 5.5014 | 7589.5929 | 7720.0453 | 7698.9070 |
| 5.5124 | 7670.8466 | 7702.5759 | 7681.1271 |
| 5.5234 | 7738.0197 | 7685.1134 | 7663.3473 |
| 5.5344 | 7706.5221 | 7671.8122 | 7645.5675 |
| 5.5454 | 7537.8776 | 7659.4190 | 7636.9969 |
| 5.5564 | 7492.0915 | 7651.1876 | 7628.4263 |
| 5.5674 | 7551.0885 | 7642.9639 | 7619.8557 |
| 5.5784 | 7506.3648 | 7634.7482 | 7611.2851 |
| 5.5894 | 7548.5197 | 7626.5407 | 7602.7145 |
| 5.6004 | 7721.4159 | 7618.3416 | 7594.1440 |
| 5.6114 | 7566.9454 | 7610.1514 | 7585.5734 |
| 5.6224 | 7623.4386 | 7601.9701 | 7577.0028 |
| 5.6334 | 7646.5575 | 7593.7981 | 7568.4322 |
| 5.6444 | 7537.3156 | 7585.6357 | 7559.8616 |
| 5.6554 | 7600.6234 | 7577.4832 | 7551.2910 |
| 5.6664 | 7666.0236 | 7569.3409 | 7542.7205 |
| 5.6774 | 7631.7645 | 7561.2092 | 7534.1499 |
| 5.6884 | 7566.7050 | 7553.0884 | 7525.5793 |
| 5.6994 | 7521.5752 | 7544.9789 | 7517.0087 |
| 5.7104 | 7578.2901 | 7536.8810 | 7508.4381 |
| 5.7214 | 7608.7827 | 7528.7952 | 7499.8675 |
| 5.7324 | 7482.2065 | 7520.7218 | 7491.2970 |
| 5.7434 | 7674.3452 | 7512.6613 | 7482.7264 |
| 5.7544 | 7580.7512 | 7504.6142 | 7474.1558 |
| 5.7654 | 7614.9100 | 7496.5808 | 7465.5852 |
| 5.7764 | 7673.3206 | 7488.5617 | 7457.0146 |
| 5.7874 | 7536.1376 | 7480.5574 | 7448.4440 |
| 5.7984 | 7489.3363 | 7472.5685 | 7439.8735 |
| 5.8094 | 7500.3560 | 7464.5954 | 7431.3029 |
| 5.8204 | 7629.3353 | 7456.6388 | 7422.7323 |
| 5.8314 | 7597.7522 | 7448.6993 | 7414.1617 |
| 5.8424 | 7467.8938 | 7440.7775 | 7405.5911 |
| 5.8534 | 7668.1569 | 7432.8740 | 7397.0205 |
| 5.8644 | 7634.9410 | 7424.9896 | 7388.4500 |
| 5.8754 | 7766.9971 | 7417.1250 | 7379.8794 |
| 5.8864 | 7629.4071 | 7409.2810 | 7371.3088 |
| 5.8974 | 7825.1195 | 7401.4584 | 7362.7382 |
| 5.9084 | 7744.9135 | 7393.6580 | 7354.1676 |
| 5.9194 | 7731.8432 | 7385.8807 | 7345.5970 |
| 5.9304 | 7635.6962 | 7378.1274 | 7337.0265 |
| 5.9414 | 7878.7148 | 7370.3991 | 7328.4559 |
| 5.9524 | 7551.3029 | 7362.6968 | 7319.8853 |
| 5.9634 | 7879.0973 | 7355.0216 | 7311.3147 |
| 5.9744 | 7770.9597 | 7347.3747 | 7302.7441 |
| 5.9854 | 7747.3427 | 7339.7572 | 7294.1735 |
| 5.9964 | 7756.3983 | 7332.1704 | 7285.6030 |
| 6.0074 | 7854.1273 | 7324.6156 | 7277.0324 |
| 6.0184 | 7618.1770 | 7317.0942 | 7268.4618 |
| 6.0294 | 7642.4528 | 7309.6077 | 7259.8912 |
| 6.0404 | 7757.0020 | 7302.1577 | 7251.3206 |
| 6.0514 | 7837.4616 | 7294.7457 | 7242.7501 |
| 6.0624 | 7857.3629 | 7287.2720 | 7234.1795 |
| 6.0734 | 8074.8545 | 7279.8178 | 7225.3837 |
| 6.0844 | 7960.4346 | 7272.3057 | 7216.5880 |
| 6.0954 | 7883.7655 | 7264.8393 | 7207.7923 |
| 6.1064 | 7988.9105 | 7257.4206 | 7198.9966 |
| 6.1174 | 8048.8609 | 7250.0521 | 7190.2008 |
| 6.1284 | 8036.3511 | 7242.7361 | 7181.4051 |
| 6.1394 | 8142.3073 | 7235.4752 | 7172.6094 |
| 6.1504 | 8118.7571 | 7228.2723 | 7163.8137 |
| 6.1614 | 8180.4602 | 7221.1301 | 7155.0179 |
| 6.1724 | 8184.4975 | 7214.0519 | 7146.2222 |
| 6.1834 | 8231.1185 | 7207.0410 | 7137.4265 |
| 6.1944 | 8327.6902 | 7200.1008 | 7128.6308 |
| 6.2054 | 8146.2601 | 7193.2351 | 7119.8350 |
| 6.2164 | 8228.9754 | 7186.7264 | 7111.0393 |
| 6.2274 | 8233.4159 | 7180.4418 | 7102.2436 |
| 6.2384 | 8276.9744 | 7173.9701 | 7093.4479 |
| 6.2494 | 8298.8889 | 7167.6613 | 7084.6521 |
| 6.2604 | 8455.7139 | 7161.2432 | 7075.8564 |
| 6.2714 | 8572.4125 | 7154.9283 | 7067.0607 |
| 6.2824 | 8588.6372 | 7148.7227 | 7058.2649 |
| 6.2934 | 8612.7124 | 7142.6327 | 7049.4692 |
| 6.3044 | 8609.1751 | 7136.6653 | 7040.6735 |
| 6.3154 | 8609.6401 | 7130.8279 | 7031.8778 |
| 6.3264 | 8578.3334 | 7125.1286 | 7023.0820 |
| 6.3374 | 8670.2030 | 7119.5759 | 7014.2863 |
| 6.3484 | 8830.8142 | 7114.1791 | 7005.4906 |
| 6.3594 | 8981.1032 | 7108.9484 | 6996.6949 |
| 6.3704 | 8924.6086 | 7103.8945 | 6987.8991 |
| 6.3814 | 9043.2410 | 7099.0293 | 6979.1034 |
| 6.3924 | 9029.8672 | 7094.3654 | 6970.3077 |
| 6.4034 | 9102.0694 | 7089.9168 | 6961.5120 |
| 6.4144 | 9213.1907 | 7085.6984 | 6952.7162 |
| 6.4254 | 9232.5738 | 7081.7267 | 6943.9205 |
| 6.4364 | 9365.4258 | 7078.0198 | 6935.1248 |
| 6.4474 | 9386.7999 | 7074.5973 | 6926.3291 |
| 6.4584 | 9606.2125 | 7071.4811 | 6917.5333 |
| 6.4694 | 9715.4744 | 7068.6954 | 6908.7376 |
| 6.4804 | 9667.0610 | 7066.2671 | 6899.9419 |
| 6.4914 | 9717.2921 | 7064.2264 | 6891.1462 |
| 6.5024 | 9835.9627 | 7062.6078 | 6882.3504 |
| 6.5134 | 10128.2980 | 7061.4505 | 6873.5547 |
| 6.5244 | 10116.6017 | 7060.8000 | 6864.7590 |
| 6.5354 | 10158.7670 | 7060.7094 | 6855.9633 |
| 6.5464 | 10248.7316 | 7061.2414 | 6847.1675 |
| 6.5574 | 10329.5752 | 7062.4710 | 6838.3718 |
| 6.5684 | 10379.5772 | 7064.4885 | 6829.5761 |
| 6.5794 | 10556.4342 | 7067.4032 | 6820.7803 |
| 6.5904 | 10591.5221 | 7071.2456 | 6811.9846 |
| 6.6014 | 10716.6279 | 7076.3709 | 6802.9597 |
| 6.6124 | 10719.6313 | 7082.7039 | 6793.9347 |
| 6.6234 | 10939.3201 | 7090.6531 | 6784.9097 |
| 6.6344 | 10951.4080 | 7100.5999 | 6775.8848 |
| 6.6454 | 11108.2734 | 7112.8123 | 6766.8598 |
| 6.6564 | 11271.9233 | 7127.7609 | 6757.8348 |
| 6.6674 | 11439.7995 | 7145.9871 | 6748.8099 |
| 6.6784 | 11432.7434 | 7168.1174 | 6739.7849 |
| 6.6894 | 11595.3009 | 7194.8865 | 6730.7599 |
| 6.7004 | 11642.1062 | 7227.1455 | 6721.7350 |
| 6.7114 | 11599.7443 | 7265.8661 | 6712.7100 |
| 6.7224 | 11892.2390 | 7312.1411 | 6703.6850 |
| 6.7334 | 11858.5698 | 7367.1791 | 6694.6601 |
| 6.7444 | 11935.9528 | 7432.2914 | 6685.6351 |
| 6.7554 | 12076.5074 | 7508.8714 | 6676.6101 |
| 6.7664 | 12000.8417 | 7598.3642 | 6667.5852 |
| 6.7774 | 12035.1967 | 7702.2273 | 6658.5602 |
| 6.7884 | 12143.0443 | 7821.8805 | 6649.5352 |
| 6.7994 | 12151.3752 | 7958.6474 | 6640.5102 |
| 6.8104 | 12260.5978 | 8113.6885 | 6631.4853 |
| 6.8214 | 12299.2331 | 8287.9267 | 6622.4603 |
| 6.8324 | 12341.0728 | 8481.9675 | 6613.4353 |
| 6.8434 | 12310.4252 | 8696.0140 | 6604.4104 |
| 6.8544 | 12164.5015 | 8929.7776 | 6595.3854 |
| 6.8654 | 12283.8353 | 9182.3822 | 6586.3604 |
| 6.8764 | 12253.1583 | 9452.2607 | 6577.3355 |
| 6.8874 | 12310.9380 | 9737.0386 | 6568.3105 |
| 6.8984 | 12185.7562 | 10033.4041 | 6559.2855 |
| 6.9094 | 12245.3682 | 10336.9638 | 6550.2606 |
| 6.9204 | 12197.8819 | 10642.0983 | 6541.2356 |
| 6.9314 | 11954.4514 | 10941.8455 | 6532.2106 |
| 6.9424 | 12059.3549 | 11227.8676 | 6523.1857 |
| 6.9534 | 11875.3259 | 11490.5825 | 6514.1607 |
| 6.9644 | 11813.3393 | 11719.5498 | 6505.1357 |
| 6.9754 | 11848.1823 | 11904.1784 | 6496.1108 |
| 6.9864 | 11686.7345 | 12034.7413 | 6487.0858 |
| 6.9974 | 11571.5924 | 12103.5610 | 6478.0608 |
| 7.0084 | 11365.5820 | 12106.1079 | 6469.0359 |
| 7.0194 | 11168.1799 | 12041.7110 | 6460.0109 |
| 7.0304 | 10987.3540 | 11913.6626 | 6450.9859 |
| 7.0414 | 10960.3171 | 11728.6843 | 6441.9610 |
| 7.0524 | 10781.1533 | 11495.9265 | 6432.9360 |
| 7.0634 | 10530.7384 | 11225.7867 | 6423.9110 |
| 7.0744 | 10376.4060 | 10928.8254 | 6414.8861 |
| 7.0854 | 10160.6637 | 10614.9557 | 6405.8611 |
| 7.0964 | 10089.7109 | 10292.9549 | 6396.8361 |
| 7.1074 | 9963.1499 | 9970.2554 | 6387.8112 |
| 7.1184 | 9831.9852 | 9652.9285 | 6378.7862 |
| 7.1294 | 9625.0314 | 9345.7777 | 6369.7612 |
| 7.1404 | 9434.7207 | 9052.4754 | 6360.7363 |
| 7.1514 | 9255.9159 | 8775.7081 | 6351.7113 |
| 7.1624 | 9161.6362 | 8517.3115 | 6342.6863 |
| 7.1734 | 9106.6981 | 8278.3909 | 6333.6614 |
| 7.1844 | 8980.3008 | 8059.4288 | 6324.6364 |
| 7.1954 | 8785.5618 | 7860.3834 | 6315.6114 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 10 ETOSHA 22 CRYSUB 4-10CM S1 | 5.0064 | 84.9874 | 0.0110 | 8/22/2023 3:02:37 PM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 6.9990 | 5047.54 | 0.2598 | 12.61953 | 46.97 |
| 8.8191 | 739.48 | 0.2598 | 10.01887 | 6.88 |
| 11.6332 | 389.63 | 0.2165 | 7.60081 | 3.63 |
| 13.5276 | 144.61 | 0.6927 | 6.54033 | 1.35 |
| 15.8344 | 7979.84 | 0.1191 | 5.59234 | 74.25 |
| 17.5836 | 199.33 | 0.2598 | 5.03975 | 1.85 |
| 18.3138 | 1574.09 | 0.0433 | 4.84044 | 14.65 |
| 19.8246 | 3272.87 | 0.1732 | 4.47482 | 30.45 |
| 20.9561 | 993.01 | 0.1082 | 4.23570 | 9.24 |
| 21.4372 | 721.63 | 0.1948 | 4.14172 | 6.71 |
| 22.4887 | 157.44 | 0.1299 | 3.95038 | 1.46 |
| 23.0494 | 682.28 | 0.1299 | 3.85554 | 6.35 |
| 23.4458 | 1207.53 | 0.1082 | 3.79123 | 11.24 |
| 24.2992 | 477.52 | 0.1299 | 3.65998 | 4.44 |
| 26.0095 | 10747.40 | 0.1515 | 3.42307 | 100.00 |
| 26.6323 | 1149.78 | 0.0649 | 3.34442 | 10.70 |
| 26.8131 | 1331.54 | 0.0866 | 3.32227 | 12.39 |
| 27.3467 | 1250.98 | 0.0649 | 3.25864 | 11.64 |
| 27.6141 | 901.57 | 0.0974 | 3.22769 | 8.39 |
| 29.3989 | 6938.84 | 0.1407 | 3.03567 | 64.56 |
| 29.7594 | 682.23 | 0.1299 | 2.99972 | 6.35 |
| 30.5908 | 5237.87 | 0.1082 | 2.92006 | 48.74 |
| 31.6907 | 9917.84 | 0.0660 | 2.82118 | 92.28 |
| 31.7790 | 4883.16 | 0.0396 | 2.81354 | 45.44 |
| 33.3321 | 1405.75 | 0.2112 | 2.68590 | 13.08 |
| 34.7081 | 2502.64 | 0.2640 | 2.58251 | 23.29 |
| 35.9899 | 2121.51 | 0.2904 | 2.49341 | 19.74 |
| 37.1250 | 1146.70 | 0.2112 | 2.41975 | 10.67 |
| 39.4525 | 1138.54 | 0.2112 | 2.28219 | 10.59 |
| 40.5790 | 734.16 | 0.1584 | 2.22140 | 6.83 |
| 41.6357 | 185.15 | 0.3168 | 2.16743 | 1.72 |
| 43.1782 | 885.07 | 0.1848 | 2.09350 | 8.24 |
| 45.4194 | 4397.95 | 0.0792 | 1.99527 | 40.92 |
| 45.5518 | 2390.62 | 0.0528 | 1.98978 | 22.24 |
| 47.5505 | 1030.57 | 0.1584 | 1.91070 | 9.59 |
| 47.8400 | 1092.93 | 0.1584 | 1.89981 | 10.17 |
| 48.4657 | 892.18 | 0.1056 | 1.87674 | 8.30 |
| 50.8010 | 180.28 | 0.3696 | 1.79581 | 1.68 |
| 52.5361 | 1152.71 | 0.2640 | 1.74051 | 10.73 |
| 53.4555 | 418.50 | 0.2112 | 1.71272 | 3.89 |
| 54.3670 | 490.35 | 0.3168 | 1.68614 | 4.56 |
| 55.2581 | 200.49 | 0.3168 | 1.66104 | 1.87 |
| 56.4482 | 1161.87 | 0.0924 | 1.62881 | 10.81 |
| 57.4215 | 370.39 | 0.2640 | 1.60349 | 3.45 |
| 57.8365 | 469.64 | 0.2640 | 1.59297 | 4.37 |
| 60.6595 | 882.34 | 0.5280 | 1.52542 | 8.21 |
| 61.4790 | 786.66 | 0.3168 | 1.50703 | 7.32 |
| 62.8928 | 183.15 | 0.4224 | 1.47651 | 1.70 |
| 64.7204 | 248.93 | 0.3168 | 1.43917 | 2.32 |
| 66.1837 | 837.16 | 0.1056 | 1.41085 | 7.79 |
| 67.6901 | 106.11 | 0.3168 | 1.38307 | 0.99 |
| 69.2345 | 517.61 | 0.4224 | 1.35594 | 4.82 |
| 72.3107 | 359.17 | 0.4224 | 1.30564 | 3.34 |
| 73.8362 | 285.54 | 0.4224 | 1.28239 | 2.66 |
| 75.2523 | 1225.45 | 0.1056 | 1.26174 | 11.40 |
| 75.4735 | 698.33 | 0.1056 | 1.25859 | 6.50 |
| 78.2543 | 342.59 | 0.3168 | 1.22067 | 3.19 |
| 81.3306 | 141.83 | 0.6336 | 1.18209 | 1.32 |
| 82.7288 | 109.51 | 0.5280 | 1.16563 | 1.02 |
| 83.9619 | 549.52 | 0.1848 | 1.15162 | 5.11 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 01-075-8689 | 71 | Sodium Aluminum Silicate Hydrate | Na1.71 ( ( Al1.806 Si4.194 ) O12 ) ( H2 O )2.16 | Analcime | 26 |
| * | 01-086-2334 | 55 | Calcium Carbonate | Ca ( C O3 ) | Calcite | 12 |
| * | 01-085-8594 | 51 | Sodium Chloride | Na Cl | Halite | 10 |
| * | 00-042-1437 | 16 | Potassium Iron Magnesium Aluminum Silicate Hydroxide | K ( Mg , Fe )3 ( Al , Fe ) Si3 O10 ( O H , F )2 | Phlogopite-1M, Fe+2-bearing | 2 |
| * | 01-082-8023 | 27 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 5 |
| * | 01-077-0982 | 10 | Potassium Sodium Calcium Aluminum Silicate | K0.41 Na0.56 Ca0.03 ( Al1.03 Si2.97 O8 ) | Sanidine | 11 |
| * | 04-018-6570 | 21 | Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide | K0.97 ( H3 O )0.03 Mg0.4 Al2.2 Si3.4 O10 ( O H )2 | Muscovite-2M1 | 34 |

Anchor Scan Parameters

Dataset Name	10 ETOSHA 22 CRYSUB 4-10CM S1

File name	C:\aeris_data\XRD data\10 ETOSHA 22 CRYSUB 4-10CM S1.xrdml

Sample Identification	10 ETOSHA 22 CRYSUB 4-10CM S1

Measurement Start Date/Time	8/22/2023 3:02:37 PM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	5.0064

End Position [°2θ]	84.9874

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.4584

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes