Etosha 22 Crt 0-0.1 cm S2

Graphics

Graphics

Graphics

Quantitative Results

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	3.0

Phase Sodium Chloride

Weight fraction/ %	45.0

Phase Calcium Carbonate

Weight fraction/ %	6.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	2.0

Phase Silicon Oxide

Weight fraction/ %	14.0

Phase Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide

Weight fraction/ %	30.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Sodium Aluminum Silicate Hydrate | Sodium Chloride | Calcium Carbonate | Sodium Magnesium Silicon Oxide Hydrate | Silicon Oxide | Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide |
| --- | --- | --- | --- | --- | --- | --- |
| 12 ETOSHA 22 CRT 0-0.1CM S2 | 3.0 | 45.0 | 6.0 | 2.0 | 14.0 | 30.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 5.0064 | 6692.0000 | 6707.0257 | 6692.0000 |
| 5.0174 | 6738.1229 | 6685.8748 | 6668.3932 |
| 5.0284 | 6746.6480 | 6662.4753 | 6644.7864 |
| 5.0394 | 6690.4189 | 6639.0796 | 6621.1796 |
| 5.0504 | 6625.1141 | 6615.6876 | 6597.5727 |
| 5.0614 | 6660.5919 | 6592.2995 | 6573.9659 |
| 5.0724 | 6574.6814 | 6568.9153 | 6550.3591 |
| 5.0834 | 6523.2778 | 6545.5353 | 6526.7523 |
| 5.0944 | 6437.7974 | 6522.1593 | 6503.1455 |
| 5.1054 | 6586.5088 | 6498.7877 | 6479.5387 |
| 5.1164 | 6473.1957 | 6475.4204 | 6455.9319 |
| 5.1274 | 6469.3653 | 6452.0576 | 6432.3251 |
| 5.1384 | 6292.9528 | 6428.6993 | 6408.7182 |
| 5.1494 | 6256.2424 | 6405.3458 | 6385.1114 |
| 5.1604 | 6251.1298 | 6381.9971 | 6361.5046 |
| 5.1714 | 6282.0619 | 6358.6533 | 6337.8978 |
| 5.1824 | 6309.3677 | 6335.3146 | 6314.2910 |
| 5.1934 | 6225.8058 | 6311.9811 | 6290.6842 |
| 5.2044 | 6227.4071 | 6288.6530 | 6267.0774 |
| 5.2154 | 6165.0300 | 6265.3303 | 6243.4705 |
| 5.2264 | 6149.7876 | 6242.0132 | 6219.8637 |
| 5.2374 | 6108.1549 | 6218.7019 | 6196.2569 |
| 5.2484 | 6033.1475 | 6195.3965 | 6172.6501 |
| 5.2594 | 6087.1480 | 6172.0972 | 6149.0433 |
| 5.2704 | 6046.6903 | 6148.8041 | 6125.4365 |
| 5.2814 | 6026.3181 | 6125.5174 | 6101.8297 |
| 5.2924 | 5977.0433 | 6102.2373 | 6078.2229 |
| 5.3034 | 5955.7920 | 6078.9640 | 6054.6160 |
| 5.3144 | 6020.0590 | 6055.6976 | 6031.0092 |
| 5.3254 | 5969.0595 | 6032.4384 | 6007.4024 |
| 5.3364 | 5941.2832 | 6009.2000 | 5983.7956 |
| 5.3474 | 5904.7198 | 5986.3346 | 5960.1888 |
| 5.3584 | 5945.1337 | 5963.1073 | 5936.5820 |
| 5.3694 | 5838.4941 | 5940.0706 | 5912.9752 |
| 5.3804 | 5762.6844 | 5916.8541 | 5889.3683 |
| 5.3914 | 5837.5246 | 5893.6460 | 5865.7615 |
| 5.4024 | 5818.7876 | 5870.4466 | 5842.1547 |
| 5.4134 | 5760.5182 | 5847.2563 | 5818.5479 |
| 5.4244 | 5716.8859 | 5824.0752 | 5794.9411 |
| 5.4354 | 5733.8923 | 5800.9036 | 5771.3343 |
| 5.4464 | 5739.2409 | 5777.7419 | 5747.7275 |
| 5.4574 | 5717.2050 | 5754.5903 | 5724.1207 |
| 5.4684 | 5644.3805 | 5731.4491 | 5700.5138 |
| 5.4794 | 5652.2242 | 5708.3186 | 5676.9070 |
| 5.4904 | 5640.8682 | 5685.1992 | 5653.3002 |
| 5.5014 | 5614.9336 | 5662.0912 | 5629.6934 |
| 5.5124 | 5599.2960 | 5638.9950 | 5606.0866 |
| 5.5234 | 5629.9912 | 5615.9109 | 5582.4798 |
| 5.5344 | 5564.7551 | 5594.5529 | 5558.8730 |
| 5.5454 | 5478.5457 | 5587.7407 | 5553.2260 |
| 5.5564 | 5526.1534 | 5582.6553 | 5547.5791 |
| 5.5674 | 5541.9410 | 5577.5837 | 5541.9322 |
| 5.5784 | 5522.3304 | 5572.5263 | 5536.2852 |
| 5.5894 | 5468.4916 | 5567.4836 | 5530.6383 |
| 5.6004 | 5520.3186 | 5562.4561 | 5524.9913 |
| 5.6114 | 5518.7635 | 5557.4444 | 5519.3444 |
| 5.6224 | 5567.1416 | 5552.4488 | 5513.6975 |
| 5.6334 | 5574.8805 | 5547.4701 | 5508.0505 |
| 5.6444 | 5429.5526 | 5542.5086 | 5502.4036 |
| 5.6554 | 5438.0900 | 5537.5652 | 5496.7567 |
| 5.6664 | 5494.4484 | 5532.6404 | 5491.1097 |
| 5.6774 | 5442.2709 | 5527.7348 | 5485.4628 |
| 5.6884 | 5379.0875 | 5522.8491 | 5479.8159 |
| 5.6994 | 5313.3451 | 5517.9841 | 5474.1689 |
| 5.7104 | 5341.2645 | 5513.1404 | 5468.5220 |
| 5.7214 | 5373.7719 | 5508.3190 | 5462.8750 |
| 5.7324 | 5384.6785 | 5503.5205 | 5457.2281 |
| 5.7434 | 5369.5300 | 5498.7458 | 5451.5812 |
| 5.7544 | 5292.4503 | 5493.9959 | 5445.9342 |
| 5.7654 | 5373.8333 | 5489.2716 | 5440.2873 |
| 5.7764 | 5264.5251 | 5484.5740 | 5434.6404 |
| 5.7874 | 5266.6893 | 5479.9041 | 5428.9934 |
| 5.7984 | 5245.2212 | 5475.2629 | 5423.3465 |
| 5.8094 | 5204.3156 | 5470.6515 | 5417.6996 |
| 5.8204 | 5321.8781 | 5466.0712 | 5412.0526 |
| 5.8314 | 5296.2050 | 5461.5232 | 5406.4057 |
| 5.8424 | 5315.4189 | 5457.0088 | 5400.7587 |
| 5.8534 | 5281.9828 | 5452.5293 | 5395.1118 |
| 5.8644 | 5231.1062 | 5448.0862 | 5389.4649 |
| 5.8754 | 5243.5649 | 5443.6810 | 5383.8179 |
| 5.8864 | 5302.0138 | 5439.3154 | 5378.1710 |
| 5.8974 | 5230.3230 | 5434.9910 | 5372.5241 |
| 5.9084 | 5287.5664 | 5430.7095 | 5366.8771 |
| 5.9194 | 5358.3953 | 5426.4729 | 5361.2302 |
| 5.9304 | 5325.7551 | 5422.2832 | 5355.5833 |
| 5.9414 | 5228.3736 | 5418.1424 | 5349.9363 |
| 5.9524 | 5220.5890 | 5414.0529 | 5344.2894 |
| 5.9634 | 5302.0472 | 5410.0169 | 5338.6424 |
| 5.9744 | 5171.3225 | 5406.0372 | 5332.9955 |
| 5.9854 | 5360.1647 | 5402.1164 | 5327.3486 |
| 5.9964 | 5383.1327 | 5398.2574 | 5321.7016 |
| 6.0074 | 5160.9100 | 5394.4634 | 5316.0547 |
| 6.0184 | 5200.2006 | 5390.7378 | 5310.4078 |
| 6.0294 | 5287.4573 | 5387.0843 | 5304.7608 |
| 6.0404 | 5373.5496 | 5383.5070 | 5299.1139 |
| 6.0514 | 5218.8973 | 5380.0101 | 5293.4670 |
| 6.0624 | 5280.9174 | 5376.5785 | 5287.8200 |
| 6.0734 | 5303.7360 | 5373.0674 | 5281.9627 |
| 6.0844 | 5286.8594 | 5369.6326 | 5276.1055 |
| 6.0954 | 5413.5000 | 5366.3007 | 5270.2482 |
| 6.1064 | 5314.6903 | 5363.0790 | 5264.3909 |
| 6.1174 | 5314.0369 | 5359.9755 | 5258.5336 |
| 6.1284 | 5421.5074 | 5356.9992 | 5252.6763 |
| 6.1394 | 5453.3216 | 5354.1602 | 5246.8191 |
| 6.1504 | 5483.0157 | 5351.4700 | 5240.9618 |
| 6.1614 | 5370.6033 | 5348.9414 | 5235.1045 |
| 6.1724 | 5382.8810 | 5346.5889 | 5229.2472 |
| 6.1834 | 5302.3260 | 5344.4290 | 5223.3899 |
| 6.1944 | 5402.6726 | 5342.4802 | 5217.5327 |
| 6.2054 | 5421.3643 | 5340.7634 | 5211.6754 |
| 6.2164 | 5473.0806 | 5339.3024 | 5205.8181 |
| 6.2274 | 5479.6917 | 5338.1240 | 5199.9608 |
| 6.2384 | 5429.4297 | 5337.2582 | 5194.1035 |
| 6.2494 | 5455.2778 | 5336.7391 | 5188.2463 |
| 6.2604 | 5522.5516 | 5336.6047 | 5182.3890 |
| 6.2714 | 5481.4612 | 5336.8977 | 5176.5317 |
| 6.2824 | 5423.9390 | 5337.6656 | 5170.6744 |
| 6.2934 | 5456.4115 | 5338.9615 | 5164.8171 |
| 6.3044 | 5525.9262 | 5340.8441 | 5158.9599 |
| 6.3154 | 5468.5693 | 5343.3782 | 5153.1026 |
| 6.3264 | 5472.1210 | 5346.6352 | 5147.2453 |
| 6.3374 | 5531.6947 | 5350.6932 | 5141.3880 |
| 6.3484 | 5652.9125 | 5355.6373 | 5135.5307 |
| 6.3594 | 5744.0472 | 5361.5596 | 5129.6735 |
| 6.3704 | 5742.3314 | 5368.5597 | 5123.8162 |
| 6.3814 | 5731.4907 | 5376.7441 | 5117.9589 |
| 6.3924 | 5770.5398 | 5386.2265 | 5112.1016 |
| 6.4034 | 5767.0496 | 5397.1272 | 5106.2444 |
| 6.4144 | 5875.4475 | 5409.5725 | 5100.3871 |
| 6.4254 | 5768.6179 | 5423.6944 | 5094.5298 |
| 6.4364 | 5675.7945 | 5439.6296 | 5088.6725 |
| 6.4474 | 5818.3319 | 5457.5183 | 5082.8152 |
| 6.4584 | 5934.7935 | 5477.5033 | 5076.9580 |
| 6.4694 | 5963.7306 | 5499.7280 | 5071.1007 |
| 6.4804 | 5964.9410 | 5524.3353 | 5065.2434 |
| 6.4914 | 6044.4558 | 5551.4653 | 5059.3861 |
| 6.5024 | 6162.9037 | 5581.2535 | 5053.5288 |
| 6.5134 | 6138.7674 | 5613.8284 | 5047.6716 |
| 6.5244 | 6210.2478 | 5649.3091 | 5041.8143 |
| 6.5354 | 6198.0319 | 5687.8028 | 5035.9570 |
| 6.5464 | 6124.5477 | 5729.4020 | 5030.0997 |
| 6.5574 | 6166.5752 | 5774.1818 | 5024.2424 |
| 6.5684 | 6241.9184 | 5822.1966 | 5018.3852 |
| 6.5794 | 6227.4223 | 5873.4779 | 5012.5279 |
| 6.5904 | 6348.6549 | 5928.0301 | 5006.6706 |
| 6.6014 | 6320.7306 | 5985.8285 | 5000.8133 |
| 6.6124 | 6482.3501 | 6046.8147 | 4994.9560 |
| 6.6234 | 6582.2478 | 6110.8944 | 4989.0988 |
| 6.6344 | 6527.8358 | 6177.9328 | 4983.2415 |
| 6.6454 | 6608.6072 | 6247.7509 | 4977.3842 |
| 6.6564 | 6556.2891 | 6320.1216 | 4971.5269 |
| 6.6674 | 6611.4759 | 6394.7648 | 4965.6696 |
| 6.6784 | 6652.5202 | 6471.3426 | 4959.8124 |
| 6.6894 | 6767.9469 | 6549.4539 | 4953.9551 |
| 6.7004 | 6683.0039 | 6628.6294 | 4948.0978 |
| 6.7114 | 6687.2920 | 6708.3260 | 4942.2405 |
| 6.7224 | 6867.8939 | 6787.9220 | 4936.3832 |
| 6.7334 | 6932.3442 | 6866.7141 | 4930.5260 |
| 6.7444 | 6808.8318 | 6943.9156 | 4924.6687 |
| 6.7554 | 7061.5178 | 7018.6586 | 4918.8114 |
| 6.7664 | 7040.1701 | 7090.0007 | 4912.9541 |
| 6.7774 | 7034.1057 | 7156.9371 | 4907.0968 |
| 6.7884 | 7195.5576 | 7218.4201 | 4901.2396 |
| 6.7994 | 7111.9415 | 7273.3865 | 4895.3823 |
| 6.8104 | 7092.7974 | 7320.7920 | 4889.5250 |
| 6.8214 | 6958.1387 | 7359.6522 | 4883.6677 |
| 6.8324 | 7071.1928 | 7389.0871 | 4877.8104 |
| 6.8434 | 7168.7905 | 7408.3662 | 4871.9532 |
| 6.8544 | 7133.4130 | 7416.9494 | 4866.0959 |
| 6.8654 | 7183.4921 | 7414.5192 | 4860.2386 |
| 6.8764 | 7038.4642 | 7401.0000 | 4854.3813 |
| 6.8874 | 7211.0885 | 7376.5635 | 4848.5240 |
| 6.8984 | 7247.7876 | 7341.6172 | 4842.6668 |
| 6.9094 | 7181.7257 | 7296.7796 | 4836.8095 |
| 6.9204 | 7153.5221 | 7242.8442 | 4830.9522 |
| 6.9314 | 7063.6234 | 7180.7366 | 4825.0949 |
| 6.9424 | 7009.5064 | 7111.4688 | 4819.2376 |
| 6.9534 | 7077.0649 | 7036.0964 | 4813.3804 |
| 6.9644 | 7011.9852 | 6955.6793 | 4807.5231 |
| 6.9754 | 6957.9926 | 6871.2508 | 4801.6658 |
| 6.9864 | 6898.8496 | 6783.7928 | 4795.8085 |
| 6.9974 | 6887.6204 | 6694.2196 | 4789.9512 |
| 7.0084 | 6841.5546 | 6603.3679 | 4784.0940 |
| 7.0194 | 6807.6342 | 6511.9921 | 4778.2367 |
| 7.0304 | 6673.3540 | 6420.7636 | 4772.3794 |
| 7.0414 | 6689.8584 | 6330.2734 | 4766.5221 |
| 7.0524 | 6723.1534 | 6241.0356 | 4760.6648 |
| 7.0634 | 6665.1995 | 6153.4928 | 4754.8076 |
| 7.0744 | 6494.4572 | 6068.0211 | 4748.9503 |
| 7.0854 | 6512.9381 | 5984.9357 | 4743.0930 |
| 7.0964 | 6413.0569 | 5904.4959 | 4737.2357 |
| 7.1074 | 6242.1067 | 5826.9098 | 4731.3784 |
| 7.1184 | 6252.9380 | 5752.1923 | 4725.5212 |
| 7.1294 | 6131.1809 | 5680.1632 | 4718.9245 |
| 7.1404 | 6074.0836 | 5611.2017 | 4712.3277 |
| 7.1514 | 6052.9513 | 5545.4996 | 4705.7310 |
| 7.1624 | 6026.4129 | 5483.0702 | 4699.1343 |
| 7.1734 | 5953.0904 | 5423.8983 | 4692.5376 |
| 7.1844 | 5875.3008 | 5367.9433 | 4685.9409 |
| 7.1954 | 5811.6622 | 5315.1425 | 4679.3442 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 12 ETOSHA 22 CRT 0-0.1CM S2 | 5.0064 | 84.9874 | 0.0110 | 8/23/2023 12:16:16 PM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 6.8576 | 2279.63 | 0.4330 | 12.87943 | 3.54 |
| 8.8011 | 415.19 | 0.3464 | 10.03927 | 0.64 |
| 11.6372 | 211.38 | 0.2598 | 7.59818 | 0.33 |
| 15.8769 | 4815.96 | 0.1299 | 5.57748 | 7.48 |
| 18.3510 | 740.51 | 0.1515 | 4.83069 | 1.15 |
| 19.9230 | 1459.75 | 0.1299 | 4.45295 | 2.27 |
| 20.8339 | 611.00 | 0.0649 | 4.26026 | 0.95 |
| 20.9908 | 610.15 | 0.0866 | 4.22878 | 0.95 |
| 21.3913 | 245.93 | 0.3464 | 4.15049 | 0.38 |
| 23.0848 | 1042.01 | 0.1299 | 3.84971 | 1.62 |
| 23.3760 | 1370.27 | 0.1082 | 3.80239 | 2.13 |
| 23.5025 | 1321.55 | 0.1082 | 3.78223 | 2.05 |
| 24.2859 | 215.55 | 0.1515 | 3.66195 | 0.33 |
| 25.1977 | 878.40 | 0.1515 | 3.53147 | 1.36 |
| 26.0310 | 6751.45 | 0.1407 | 3.42029 | 10.48 |
| 26.6422 | 11366.75 | 0.0660 | 3.34319 | 17.65 |
| 26.7213 | 5765.35 | 0.0264 | 3.33347 | 8.95 |
| 27.3876 | 4381.20 | 0.1188 | 3.25388 | 6.80 |
| 28.5577 | 136.51 | 0.1584 | 3.12316 | 0.21 |
| 29.4009 | 4734.72 | 0.1716 | 3.03547 | 7.35 |
| 29.8331 | 269.06 | 0.1584 | 2.99248 | 0.42 |
| 30.6267 | 3086.98 | 0.1320 | 2.91672 | 4.79 |
| 31.7216 | 64414.32 | 0.1188 | 2.81850 | 100.00 |
| 31.8121 | 28460.06 | 0.0528 | 2.81069 | 44.18 |
| 33.3604 | 736.24 | 0.1848 | 2.68369 | 1.14 |
| 33.9041 | 789.45 | 0.2112 | 2.64189 | 1.23 |
| 34.7067 | 1749.31 | 0.1584 | 2.58261 | 2.72 |
| 35.9959 | 1037.52 | 0.2640 | 2.49302 | 1.61 |
| 37.1558 | 421.87 | 0.1584 | 2.41781 | 0.65 |
| 39.4344 | 793.70 | 0.1320 | 2.28319 | 1.23 |
| 40.5797 | 383.15 | 0.1584 | 2.22136 | 0.59 |
| 41.8471 | 113.67 | 0.8448 | 2.15696 | 0.18 |
| 43.2102 | 636.68 | 0.2640 | 2.09203 | 0.99 |
| 45.4462 | 28320.21 | 0.0924 | 1.99416 | 43.97 |
| 45.5725 | 14974.74 | 0.0660 | 1.98893 | 23.25 |
| 47.0750 | 417.66 | 0.2640 | 1.92888 | 0.65 |
| 47.5474 | 773.34 | 0.2112 | 1.91082 | 1.20 |
| 47.9079 | 746.70 | 0.2112 | 1.89728 | 1.16 |
| 48.5123 | 600.89 | 0.1848 | 1.87504 | 0.93 |
| 50.1379 | 347.84 | 0.0660 | 1.81799 | 0.54 |
| 50.8209 | 97.87 | 0.3696 | 1.79515 | 0.15 |
| 51.7892 | 64.80 | 0.3168 | 1.76384 | 0.10 |
| 52.5856 | 758.07 | 0.1320 | 1.73899 | 1.18 |
| 53.8563 | 682.11 | 0.0924 | 1.70092 | 1.06 |
| 54.3965 | 219.53 | 0.2640 | 1.68529 | 0.34 |
| 54.8629 | 874.66 | 0.0660 | 1.67206 | 1.36 |
| 55.0134 | 413.62 | 0.0792 | 1.66785 | 0.64 |
| 56.4605 | 5664.68 | 0.0924 | 1.62848 | 8.79 |
| 56.6146 | 3136.73 | 0.0792 | 1.62442 | 4.87 |
| 57.4151 | 203.02 | 0.2112 | 1.60366 | 0.32 |
| 57.9041 | 277.46 | 0.2112 | 1.59127 | 0.43 |
| 60.7344 | 361.92 | 0.7392 | 1.52372 | 0.56 |
| 61.4391 | 327.59 | 0.5280 | 1.50792 | 0.51 |
| 62.9823 | 146.99 | 0.4224 | 1.47463 | 0.23 |
| 64.7571 | 152.28 | 0.4224 | 1.43844 | 0.24 |
| 66.2228 | 2521.28 | 0.1056 | 1.41011 | 3.91 |
| 66.4150 | 1346.61 | 0.0792 | 1.40650 | 2.09 |
| 69.2443 | 316.53 | 0.3696 | 1.35577 | 0.49 |
| 72.3414 | 109.96 | 0.4224 | 1.30516 | 0.17 |
| 73.0333 | 314.26 | 0.1584 | 1.29450 | 0.49 |
| 73.9186 | 53.68 | 0.4224 | 1.28117 | 0.08 |
| 75.2765 | 5793.10 | 0.1188 | 1.26139 | 8.99 |
| 75.5012 | 3050.88 | 0.1188 | 1.25819 | 4.74 |
| 78.3201 | 200.12 | 0.3696 | 1.21981 | 0.31 |
| 81.3766 | 51.80 | 0.8448 | 1.18154 | 0.08 |
| 83.9741 | 2586.73 | 0.1320 | 1.15148 | 4.02 |
| 84.2067 | 1471.84 | 0.0660 | 1.14889 | 2.28 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 00-041-1478 | 53 | Sodium Aluminum Silicate Hydrate | Na ( Si2 Al ) O6 · H2 O | Analcime | 3 |
| * | 01-085-8594 | 57 | Sodium Chloride | Na Cl | Halite | 45 |
| * | 01-086-4274 | 53 | Calcium Carbonate | Ca ( C O3 ) | Calcite | 6 |
| * | 01-082-8023 | 19 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 2 |
| * | 04-012-0490 | 19 | Silicon Oxide | Si O2 | Quartz | 14 |
| * | 04-018-6570 | 15 | Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide | K0.97 ( H3 O )0.03 Mg0.4 Al2.2 Si3.4 O10 ( O H )2 | Muscovite-2M1 | 30 |

Anchor Scan Parameters

Dataset Name	12 ETOSHA 22 CRT 0-0.1CM S2

File name	C:\aeris_data\XRD data\Goldstein\12 ETOSHA 22 CRT 0-0.1CM S2.xrdml

Sample Identification	12 ETOSHA 22 CRT 0-0.1CM S2

Measurement Start Date/Time	8/23/2023 12:16:16 PM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	5.0064

End Position [°2θ]	84.9874

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.4584

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes