Etosha 22 WetSub 15 cm S3

Graphics

Graphics

Graphics

Quantitative Results

Phase Sodium Aluminum Oxide Silicate Hydrate

Weight fraction/ %	31.0

Phase Calcium Carbonate

Weight fraction/ %	13.0

Phase Sodium Chloride

Weight fraction/ %	4.0

Phase Potassium Aluminum Silicate

Weight fraction/ %	12.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	4.0

Phase Potassium Magnesium Aluminum Hydroxide Fluoride Silicate

Weight fraction/ %	6.0

Phase Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide

Weight fraction/ %	30.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Sodium Aluminum Oxide Silicate Hydrate | Calcium Carbonate | Sodium Chloride | Potassium Aluminum Silicate | Sodium Magnesium Silicon Oxide Hydrate | Potassium Magnesium Aluminum Hydroxide Fluoride Silicate | Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 17 ETOSHA 22 WETSUB 15 CM S3 | 31.0 | 13.0 | 4.0 | 12.0 | 4.0 | 6.0 | 30.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 5.0064 | 7908.0000 | 7896.6307 | 7908.0000 |
| 5.0174 | 7790.2547 | 7884.2440 | 7884.2440 |
| 5.0284 | 7649.3854 | 7860.4880 | 7860.4880 |
| 5.0394 | 7626.5487 | 7836.7320 | 7836.7320 |
| 5.0504 | 7672.8505 | 7812.9760 | 7812.9760 |
| 5.0614 | 7782.8658 | 7789.2200 | 7789.2200 |
| 5.0724 | 7709.3363 | 7765.4640 | 7765.4640 |
| 5.0834 | 7408.1652 | 7741.7080 | 7741.7080 |
| 5.0944 | 7631.7217 | 7717.9520 | 7717.9520 |
| 5.1054 | 7626.5265 | 7694.1960 | 7694.1960 |
| 5.1164 | 7653.6804 | 7670.4400 | 7670.4400 |
| 5.1274 | 7459.6150 | 7646.6840 | 7646.6840 |
| 5.1384 | 7373.4100 | 7622.9280 | 7622.9280 |
| 5.1494 | 7403.5546 | 7599.1720 | 7599.1720 |
| 5.1604 | 7559.5231 | 7575.4161 | 7575.4161 |
| 5.1714 | 7441.0885 | 7551.6601 | 7551.6601 |
| 5.1824 | 7387.8083 | 7527.9041 | 7527.9041 |
| 5.1934 | 7476.3004 | 7504.1481 | 7504.1481 |
| 5.2044 | 7278.3097 | 7480.3921 | 7480.3921 |
| 5.2154 | 7261.7370 | 7456.6361 | 7456.6361 |
| 5.2264 | 7187.0521 | 7432.8801 | 7432.8801 |
| 5.2374 | 7259.3127 | 7409.1241 | 7409.1241 |
| 5.2484 | 7110.4081 | 7385.3681 | 7385.3681 |
| 5.2594 | 7147.0502 | 7361.6121 | 7361.6121 |
| 5.2704 | 7163.4720 | 7337.8561 | 7337.8561 |
| 5.2814 | 7052.4071 | 7314.1001 | 7314.1001 |
| 5.2924 | 7057.8220 | 7290.3441 | 7290.3441 |
| 5.3034 | 7055.0841 | 7266.5881 | 7266.5881 |
| 5.3144 | 6901.4474 | 7242.8321 | 7242.8321 |
| 5.3254 | 6927.6529 | 7219.0761 | 7219.0761 |
| 5.3364 | 6948.5015 | 7195.7922 | 7195.3201 |
| 5.3474 | 7148.5782 | 7176.4124 | 7171.5641 |
| 5.3584 | 7119.5044 | 7152.9653 | 7147.8081 |
| 5.3694 | 6967.1814 | 7131.4847 | 7124.0521 |
| 5.3804 | 6974.0885 | 7107.8392 | 7100.2961 |
| 5.3914 | 6912.7551 | 7084.1963 | 7076.5401 |
| 5.4024 | 6847.6814 | 7060.5558 | 7052.7841 |
| 5.4134 | 6840.6794 | 7036.9181 | 7029.0281 |
| 5.4244 | 6744.0836 | 7013.2830 | 7005.2721 |
| 5.4354 | 6843.2168 | 6989.6507 | 6981.5161 |
| 5.4464 | 6906.8260 | 6966.0213 | 6957.7602 |
| 5.4574 | 6805.3628 | 6942.3949 | 6934.0042 |
| 5.4684 | 6725.0000 | 6918.7716 | 6910.2482 |
| 5.4794 | 6721.3004 | 6895.1514 | 6886.4922 |
| 5.4904 | 6776.4071 | 6871.5345 | 6862.7362 |
| 5.5014 | 6783.9646 | 6847.9210 | 6838.9802 |
| 5.5124 | 6804.2773 | 6824.3109 | 6815.2242 |
| 5.5234 | 6829.8250 | 6800.7045 | 6791.4682 |
| 5.5344 | 6770.8024 | 6784.9383 | 6767.7122 |
| 5.5454 | 6721.1367 | 6769.8771 | 6760.3304 |
| 5.5564 | 6678.0433 | 6762.6565 | 6752.9487 |
| 5.5674 | 6731.9676 | 6755.4400 | 6745.5670 |
| 5.5784 | 6790.0610 | 6748.2277 | 6738.1852 |
| 5.5894 | 6673.5777 | 6741.0198 | 6730.8035 |
| 5.6004 | 6699.9204 | 6733.8164 | 6723.4218 |
| 5.6114 | 6680.0752 | 6726.6178 | 6716.0400 |
| 5.6224 | 6709.9469 | 6719.4240 | 6708.6583 |
| 5.6334 | 6736.5988 | 6712.2353 | 6701.2766 |
| 5.6444 | 6686.8112 | 6705.0518 | 6693.8948 |
| 5.6554 | 6703.9838 | 6697.8737 | 6686.5131 |
| 5.6664 | 6574.1947 | 6690.7013 | 6679.1314 |
| 5.6774 | 6642.9607 | 6683.5347 | 6671.7496 |
| 5.6884 | 6662.4248 | 6676.3741 | 6664.3679 |
| 5.6994 | 6611.0885 | 6669.2198 | 6656.9862 |
| 5.7104 | 6605.8663 | 6662.0720 | 6649.6044 |
| 5.7214 | 6593.6195 | 6654.9310 | 6642.2227 |
| 5.7324 | 6419.6460 | 6647.7970 | 6634.8410 |
| 5.7434 | 6594.1102 | 6640.6704 | 6627.4592 |
| 5.7544 | 6667.5811 | 6633.5513 | 6620.0775 |
| 5.7654 | 6770.5295 | 6626.4401 | 6612.6958 |
| 5.7764 | 6707.9852 | 6619.3371 | 6605.3140 |
| 5.7874 | 6640.8948 | 6612.2427 | 6597.9323 |
| 5.7984 | 6528.5752 | 6605.1572 | 6590.5506 |
| 5.8094 | 6595.7522 | 6598.0810 | 6583.1688 |
| 5.8204 | 6701.4110 | 6591.0145 | 6575.7871 |
| 5.8314 | 6495.2920 | 6583.9580 | 6568.4054 |
| 5.8424 | 6632.0639 | 6576.9120 | 6561.0236 |
| 5.8534 | 6811.4612 | 6569.8770 | 6553.6419 |
| 5.8644 | 6556.3982 | 6562.8535 | 6546.2602 |
| 5.8754 | 6706.1849 | 6555.8420 | 6538.8784 |
| 5.8864 | 6669.7021 | 6548.8429 | 6531.4967 |
| 5.8974 | 6700.8584 | 6541.8569 | 6524.1150 |
| 5.9084 | 6724.5752 | 6534.8846 | 6516.7332 |
| 5.9194 | 6670.9798 | 6527.9266 | 6509.3515 |
| 5.9304 | 6673.0502 | 6520.9835 | 6501.9698 |
| 5.9414 | 6768.3845 | 6514.0562 | 6494.5880 |
| 5.9524 | 6845.8603 | 6507.1453 | 6487.2063 |
| 5.9634 | 6594.8053 | 6500.2516 | 6479.8246 |
| 5.9744 | 6809.8564 | 6493.3761 | 6472.4428 |
| 5.9854 | 6841.9061 | 6486.5195 | 6465.0611 |
| 5.9964 | 6846.5221 | 6479.6830 | 6457.6794 |
| 6.0074 | 6895.7252 | 6472.8674 | 6450.2976 |
| 6.0184 | 6906.4533 | 6466.0739 | 6442.9159 |
| 6.0294 | 6833.4144 | 6459.3036 | 6435.5342 |
| 6.0404 | 6795.5752 | 6452.5578 | 6428.1524 |
| 6.0514 | 6898.1440 | 6445.8378 | 6420.7707 |
| 6.0624 | 6865.5044 | 6439.0409 | 6413.3890 |
| 6.0734 | 6837.6406 | 6432.2633 | 6405.7897 |
| 6.0844 | 6955.6843 | 6425.4120 | 6398.1904 |
| 6.0954 | 6894.7036 | 6418.5927 | 6390.5911 |
| 6.1064 | 6971.0708 | 6411.8073 | 6382.9918 |
| 6.1174 | 6900.5541 | 6405.0578 | 6375.3925 |
| 6.1284 | 6980.3776 | 6398.3464 | 6367.7933 |
| 6.1394 | 6947.5566 | 6391.6752 | 6360.1940 |
| 6.1504 | 7060.8260 | 6385.0469 | 6352.5947 |
| 6.1614 | 7140.6549 | 6378.4639 | 6344.9954 |
| 6.1724 | 7306.2753 | 6372.1290 | 6337.3961 |
| 6.1834 | 7166.9700 | 6366.1399 | 6329.7968 |
| 6.1944 | 7154.4602 | 6359.8172 | 6322.1976 |
| 6.2054 | 7174.6028 | 6353.7002 | 6314.5983 |
| 6.2164 | 7219.0423 | 6347.4015 | 6306.9990 |
| 6.2274 | 7378.9396 | 6341.1694 | 6299.3997 |
| 6.2384 | 7447.6784 | 6335.0088 | 6291.8004 |
| 6.2494 | 7329.7778 | 6328.9244 | 6284.2011 |
| 6.2604 | 7362.4868 | 6322.9220 | 6276.6018 |
| 6.2714 | 7533.6352 | 6317.0075 | 6269.0026 |
| 6.2824 | 7621.9430 | 6311.1873 | 6261.4033 |
| 6.2934 | 7664.8407 | 6305.4688 | 6253.8040 |
| 6.3044 | 7720.5192 | 6299.8597 | 6246.2047 |
| 6.3154 | 7744.0245 | 6294.3687 | 6238.6054 |
| 6.3264 | 7671.0207 | 6289.0053 | 6231.0061 |
| 6.3374 | 7837.9337 | 6283.7799 | 6223.4068 |
| 6.3484 | 7917.5624 | 6278.7041 | 6215.8076 |
| 6.3594 | 7863.2124 | 6273.7908 | 6208.2083 |
| 6.3704 | 8055.4317 | 6269.0539 | 6200.6090 |
| 6.3814 | 8209.6632 | 6264.5093 | 6193.0097 |
| 6.3924 | 8141.9380 | 6260.1745 | 6185.4104 |
| 6.4034 | 8229.0704 | 6256.0690 | 6177.8111 |
| 6.4144 | 8355.7837 | 6252.2146 | 6170.2119 |
| 6.4254 | 8329.2551 | 6248.6357 | 6162.6126 |
| 6.4364 | 8306.7719 | 6245.3598 | 6155.0133 |
| 6.4474 | 8421.2129 | 6242.4179 | 6147.4140 |
| 6.4584 | 8553.2419 | 6239.8449 | 6139.8147 |
| 6.4694 | 8720.4809 | 6237.6804 | 6132.2154 |
| 6.4804 | 8781.4130 | 6235.9694 | 6124.6161 |
| 6.4914 | 8927.6151 | 6234.7631 | 6117.0169 |
| 6.5024 | 9009.0148 | 6234.1201 | 6109.4176 |
| 6.5134 | 9074.2842 | 6234.1080 | 6101.8183 |
| 6.5244 | 9282.9145 | 6234.8048 | 6094.2190 |
| 6.5354 | 9354.6239 | 6236.3012 | 6086.6197 |
| 6.5464 | 9437.7690 | 6238.7044 | 6079.0204 |
| 6.5574 | 9533.3083 | 6242.1425 | 6071.4211 |
| 6.5684 | 9542.5841 | 6246.7715 | 6063.8219 |
| 6.5794 | 9678.1598 | 6252.7868 | 6056.2226 |
| 6.5904 | 9721.4602 | 6260.3346 | 6048.6233 |
| 6.6014 | 9834.4194 | 6269.8459 | 6040.8030 |
| 6.6124 | 9844.5487 | 6281.6826 | 6032.9827 |
| 6.6234 | 9979.3806 | 6296.5899 | 6025.1625 |
| 6.6344 | 10246.4367 | 6315.4712 | 6017.3422 |
| 6.6454 | 10272.2276 | 6339.6030 | 6009.5219 |
| 6.6564 | 10282.1858 | 6370.7709 | 6001.7016 |
| 6.6674 | 10291.8476 | 6411.4268 | 5993.8814 |
| 6.6784 | 10432.7867 | 6464.8480 | 5986.0611 |
| 6.6894 | 10462.8053 | 6535.2713 | 5978.2408 |
| 6.7004 | 10780.9519 | 6627.9571 | 5970.4205 |
| 6.7114 | 10909.5113 | 6749.1328 | 5962.6003 |
| 6.7224 | 10814.4159 | 6905.7608 | 5954.7800 |
| 6.7334 | 10855.2036 | 7105.0891 | 5946.9597 |
| 6.7444 | 10770.4533 | 7353.9637 | 5939.1394 |
| 6.7554 | 11156.2538 | 7657.9155 | 5931.3191 |
| 6.7664 | 10843.4670 | 8020.0596 | 5923.4989 |
| 6.7774 | 11094.3344 | 8439.8428 | 5915.6786 |
| 6.7884 | 10875.9999 | 8911.6351 | 5907.8583 |
| 6.7994 | 11126.9862 | 9423.0937 | 5900.0380 |
| 6.8104 | 11124.6677 | 9953.2508 | 5892.2178 |
| 6.8214 | 11221.1813 | 10470.6465 | 5884.3975 |
| 6.8324 | 10945.9685 | 10932.8185 | 5876.5772 |
| 6.8434 | 10859.6269 | 11289.7181 | 5868.7569 |
| 6.8544 | 11029.2360 | 11493.3492 | 5860.9367 |
| 6.8654 | 10975.4631 | 11512.0030 | 5853.1164 |
| 6.8764 | 10961.6725 | 11341.8502 | 5845.2961 |
| 6.8874 | 10771.8186 | 11008.1881 | 5837.4758 |
| 6.8984 | 10808.5034 | 10555.7213 | 5829.6556 |
| 6.9094 | 10599.5924 | 10034.6082 | 5821.8353 |
| 6.9204 | 10410.0678 | 9489.6380 | 5814.0150 |
| 6.9314 | 10352.9631 | 8955.3163 | 5806.1947 |
| 6.9424 | 10268.4503 | 8455.4415 | 5798.3745 |
| 6.9534 | 10213.3215 | 8004.6604 | 5790.5542 |
| 6.9644 | 10069.9705 | 7610.3792 | 5782.7339 |
| 6.9754 | 9947.3780 | 7274.4734 | 5774.9136 |
| 6.9864 | 9785.9912 | 6994.7586 | 5767.0933 |
| 6.9974 | 9790.3583 | 6766.2899 | 5759.2731 |
| 7.0084 | 9554.3500 | 6582.5116 | 5751.4528 |
| 7.0194 | 9347.2919 | 6436.2272 | 5743.6325 |
| 7.0304 | 9060.9853 | 6320.3528 | 5735.8122 |
| 7.0414 | 9045.4464 | 6228.4313 | 5727.9920 |
| 7.0524 | 8901.3982 | 6154.9225 | 5720.1717 |
| 7.0634 | 8839.5551 | 6095.3044 | 5712.3514 |
| 7.0744 | 8713.7059 | 6046.0383 | 5704.5311 |
| 7.0854 | 8502.5664 | 6004.4515 | 5696.7109 |
| 7.0964 | 8420.3509 | 5968.5820 | 5688.8906 |
| 7.1074 | 8173.8879 | 5937.0199 | 5681.0703 |
| 7.1184 | 8094.2094 | 5908.7650 | 5673.2500 |
| 7.1294 | 7986.4296 | 5883.1092 | 5665.4298 |
| 7.1404 | 7843.3264 | 5859.5476 | 5657.6095 |
| 7.1514 | 7690.8229 | 5837.7136 | 5649.7892 |
| 7.1624 | 7623.6765 | 5817.3338 | 5641.9689 |
| 7.1734 | 7576.8681 | 5798.1981 | 5634.1487 |
| 7.1844 | 7413.8319 | 5780.1402 | 5626.3284 |
| 7.1954 | 7370.4213 | 5763.0244 | 5618.5081 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 17 ETOSHA 22 WETSUB 15 CM S3 | 5.0064 | 84.9874 | 0.0110 | 8/28/2023 2:20:15 PM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 6.8558 | 5112.49 | 0.1515 | 12.88282 | 46.28 |
| 8.7763 | 735.55 | 0.2598 | 10.06754 | 6.66 |
| 11.5545 | 428.11 | 0.1732 | 7.65237 | 3.88 |
| 13.5338 | 165.38 | 0.5196 | 6.53734 | 1.50 |
| 15.8317 | 7110.42 | 0.0974 | 5.59330 | 64.37 |
| 18.2656 | 1494.86 | 0.0974 | 4.85308 | 13.53 |
| 19.8216 | 3293.16 | 0.1948 | 4.47550 | 29.81 |
| 20.9156 | 1322.52 | 0.1082 | 4.24382 | 11.97 |
| 21.3541 | 761.16 | 0.2598 | 4.15765 | 6.89 |
| 22.4653 | 286.00 | 0.1299 | 3.95445 | 2.59 |
| 23.0483 | 1044.97 | 0.1082 | 3.85571 | 9.46 |
| 23.4283 | 1624.23 | 0.1299 | 3.79404 | 14.70 |
| 24.2762 | 632.04 | 0.1299 | 3.66340 | 5.72 |
| 25.1170 | 382.35 | 0.2598 | 3.54265 | 3.46 |
| 25.9701 | 11046.05 | 0.1191 | 3.42818 | 100.00 |
| 26.7826 | 2030.09 | 0.1515 | 3.32599 | 18.38 |
| 27.0706 | 1287.68 | 0.1299 | 3.29125 | 11.66 |
| 27.3329 | 1448.60 | 0.0866 | 3.26026 | 13.11 |
| 27.5804 | 1418.29 | 0.1082 | 3.23156 | 12.84 |
| 29.3711 | 8643.87 | 0.1191 | 3.03849 | 78.25 |
| 29.7501 | 998.50 | 0.1299 | 3.00063 | 9.04 |
| 30.5656 | 5438.38 | 0.1082 | 2.92241 | 49.23 |
| 31.6531 | 7429.56 | 0.0649 | 2.82444 | 67.26 |
| 32.2991 | 372.21 | 0.1299 | 2.76941 | 3.37 |
| 33.2888 | 1400.05 | 0.1299 | 2.68930 | 12.67 |
| 34.3210 | 1636.57 | 0.1732 | 2.61074 | 14.82 |
| 34.6874 | 2593.59 | 0.1948 | 2.58400 | 23.48 |
| 35.1167 | 1702.40 | 0.2165 | 2.55339 | 15.41 |
| 35.9592 | 2409.76 | 0.0866 | 2.49548 | 21.82 |
| 37.0741 | 1199.99 | 0.1299 | 2.42295 | 10.86 |
| 39.3743 | 1511.56 | 0.0758 | 2.28654 | 13.68 |
| 40.5286 | 639.31 | 0.1299 | 2.22404 | 5.79 |
| 41.6460 | 270.44 | 0.1732 | 2.16691 | 2.45 |
| 42.4592 | 123.41 | 0.2598 | 2.12727 | 1.12 |
| 43.1391 | 1201.14 | 0.0649 | 2.09531 | 10.87 |
| 45.3961 | 2915.56 | 0.1082 | 1.99624 | 26.39 |
| 47.0673 | 499.62 | 0.1732 | 1.92918 | 4.52 |
| 47.4840 | 1420.36 | 0.1515 | 1.91322 | 12.86 |
| 47.8426 | 1026.39 | 0.1082 | 1.89971 | 9.29 |
| 48.5156 | 1391.48 | 0.1515 | 1.87492 | 12.60 |
| 50.8065 | 321.83 | 0.2598 | 1.79563 | 2.91 |
| 52.5477 | 1242.56 | 0.1082 | 1.74015 | 11.25 |
| 53.4731 | 404.23 | 0.2165 | 1.71220 | 3.66 |
| 54.3235 | 512.76 | 0.2165 | 1.68739 | 4.64 |
| 55.1918 | 205.23 | 0.2598 | 1.66288 | 1.86 |
| 56.4408 | 781.34 | 0.2598 | 1.62901 | 7.07 |
| 57.3526 | 575.42 | 0.0866 | 1.60526 | 5.21 |
| 57.8144 | 453.73 | 0.1732 | 1.59353 | 4.11 |
| 60.6321 | 790.33 | 0.1732 | 1.52604 | 7.15 |
| 61.3678 | 797.52 | 0.2598 | 1.50950 | 7.22 |
| 62.8643 | 186.21 | 0.3464 | 1.47712 | 1.69 |
| 64.6427 | 433.40 | 0.1299 | 1.44071 | 3.92 |
| 66.1698 | 751.48 | 0.0866 | 1.41111 | 6.80 |
| 69.1880 | 592.41 | 0.1515 | 1.35674 | 5.36 |
| 70.2219 | 109.95 | 0.2598 | 1.33927 | 1.00 |
| 72.3355 | 407.77 | 0.3464 | 1.30526 | 3.69 |
| 73.7727 | 311.15 | 0.2598 | 1.28334 | 2.82 |
| 75.2176 | 665.64 | 0.1515 | 1.26223 | 6.03 |
| 78.2418 | 352.23 | 0.2165 | 1.22084 | 3.19 |
| 81.3529 | 139.00 | 0.6927 | 1.18183 | 1.26 |
| 82.6381 | 118.12 | 0.2598 | 1.16667 | 1.07 |
| 83.9055 | 431.50 | 0.2598 | 1.15225 | 3.91 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 01-089-6416 | 69 | Sodium Aluminum Oxide Silicate Hydrate | Na15.76 Al15.26 Si32.74 O96 ( H2 O )16 | Analcime | 31 |
| * | 01-072-1937 | 57 | Calcium Carbonate | Ca ( C O3 ) | Calcite | 13 |
| * | 01-085-8594 | 35 | Sodium Chloride | Na Cl | Halite | 4 |
| * | 01-080-2107 | 30 | Potassium Aluminum Silicate | K ( Al Si3 O8 ) | Sanidine | 12 |
| * | 01-082-8023 | 31 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 4 |
| * | 01-073-1661 | 25 | Potassium Magnesium Aluminum Hydroxide Fluoride Silicate | K Mg3 ( Al Si3 O10 ) ( O H ) F | Phlogopite | 6 |
| * | 04-018-6570 | 17 | Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide | K0.97 ( H3 O )0.03 Mg0.4 Al2.2 Si3.4 O10 ( O H )2 | Muscovite-2M1 | 30 |

Anchor Scan Parameters

Dataset Name	17 ETOSHA 22 WETSUB 15 CM S3

File name	C:\aeris_data\XRD data\Goldstein\17 ETOSHA 22 WETSUB 15 CM S3.xrdml

Sample Identification	17 ETOSHA 22 WETSUB 15 CM S3

Measurement Start Date/Time	8/28/2023 2:20:15 PM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	5.0064

End Position [°2θ]	84.9874

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.4584

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes