Etosha 22 SS Crt 0-0.5 cm S4

Graphics

Graphics

Graphics

Quantitative Results

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	15.0

Phase Calcium Carbonate

Weight fraction/ %	14.0

Phase Silicon Oxide

Weight fraction/ %	23.0

Phase Sodium Chloride

Weight fraction/ %	2.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	2.0

Phase Potassium Magnesium Aluminum Silicate Fluoride Hydroxide

Weight fraction/ %	11.0

Phase Potassium Sodium Aluminum Silicate

Weight fraction/ %	8.0

Phase Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide

Weight fraction/ %	26.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Sodium Aluminum Silicate Hydrate | Calcium Carbonate | Silicon Oxide | Sodium Chloride | Sodium Magnesium Silicon Oxide Hydrate | Potassium Magnesium Aluminum Silicate Fluoride Hydroxide | Potassium Sodium Aluminum Silicate | Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 18 ETOSHA 22 SSCRT 0-0.5CM S4 | 15.0 | 14.0 | 23.0 | 2.0 | 2.0 | 11.0 | 8.0 | 26.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 5.0064 | 8096.0000 | 8085.9429 | 8096.0000 |
| 5.0174 | 8131.6603 | 8077.6112 | 8071.9907 |
| 5.0284 | 8022.2547 | 8053.6674 | 8047.9814 |
| 5.0394 | 7951.3038 | 8029.7248 | 8023.9720 |
| 5.0504 | 7905.2793 | 8005.7834 | 7999.9627 |
| 5.0614 | 7868.4356 | 7981.8432 | 7975.9534 |
| 5.0724 | 7804.0442 | 7957.9042 | 7951.9441 |
| 5.0834 | 7683.0438 | 7933.9665 | 7927.9347 |
| 5.0944 | 7728.2616 | 7910.0301 | 7903.9254 |
| 5.1054 | 7750.1062 | 7886.0950 | 7879.9161 |
| 5.1164 | 7739.2114 | 7862.1612 | 7855.9068 |
| 5.1274 | 7618.5506 | 7838.2289 | 7831.8975 |
| 5.1384 | 7724.4838 | 7814.2980 | 7807.8881 |
| 5.1494 | 7569.0108 | 7790.3686 | 7783.8788 |
| 5.1604 | 7553.1554 | 7766.4406 | 7759.8695 |
| 5.1714 | 7684.8997 | 7742.5142 | 7735.8602 |
| 5.1824 | 7655.7394 | 7718.5894 | 7711.8509 |
| 5.1934 | 7417.6721 | 7694.6662 | 7687.8415 |
| 5.2044 | 7393.5664 | 7670.7446 | 7663.8322 |
| 5.2154 | 7448.2458 | 7646.8248 | 7639.8229 |
| 5.2264 | 7381.2576 | 7622.9067 | 7615.8136 |
| 5.2374 | 7423.4513 | 7598.9904 | 7591.8042 |
| 5.2484 | 7415.7552 | 7575.0759 | 7567.7949 |
| 5.2594 | 7375.0556 | 7551.1634 | 7543.7856 |
| 5.2704 | 7323.7935 | 7527.2527 | 7519.7763 |
| 5.2814 | 7369.1888 | 7503.3441 | 7495.7670 |
| 5.2924 | 7332.7306 | 7479.4375 | 7471.7576 |
| 5.3034 | 7337.1858 | 7455.5330 | 7447.7483 |
| 5.3144 | 7216.8643 | 7431.6306 | 7423.7390 |
| 5.3254 | 7208.9513 | 7407.7305 | 7399.7297 |
| 5.3364 | 7301.6696 | 7383.8326 | 7375.7204 |
| 5.3474 | 7245.3284 | 7359.9371 | 7351.7110 |
| 5.3584 | 7163.0619 | 7336.0440 | 7327.7017 |
| 5.3694 | 7123.6858 | 7312.1534 | 7303.6924 |
| 5.3804 | 7108.4494 | 7288.2654 | 7279.6831 |
| 5.3914 | 7079.8451 | 7264.3799 | 7255.6737 |
| 5.4024 | 7140.6018 | 7240.4972 | 7231.6644 |
| 5.4134 | 7081.2345 | 7216.6172 | 7207.6551 |
| 5.4244 | 7074.8732 | 7192.7401 | 7183.6458 |
| 5.4354 | 7119.3540 | 7168.8659 | 7159.6365 |
| 5.4464 | 7055.0836 | 7144.9948 | 7135.6271 |
| 5.4574 | 7067.1337 | 7121.1268 | 7111.6178 |
| 5.4684 | 6995.2094 | 7097.2619 | 7087.6085 |
| 5.4794 | 6925.7414 | 7073.4005 | 7063.5992 |
| 5.4904 | 6919.6126 | 7049.5424 | 7039.5899 |
| 5.5014 | 6983.0929 | 7025.6878 | 7015.5805 |
| 5.5124 | 6974.0649 | 7001.8369 | 6991.5712 |
| 5.5234 | 6954.3938 | 6977.9898 | 6967.5619 |
| 5.5344 | 6949.7316 | 6965.1760 | 6943.5526 |
| 5.5454 | 6905.7163 | 6947.2679 | 6936.5040 |
| 5.5564 | 6907.5929 | 6940.3936 | 6929.4555 |
| 5.5674 | 6854.0619 | 6933.5234 | 6922.4070 |
| 5.5784 | 6817.9174 | 6926.6577 | 6915.3585 |
| 5.5894 | 6778.6116 | 6919.7964 | 6908.3099 |
| 5.6004 | 6874.4779 | 6912.9399 | 6901.2614 |
| 5.6114 | 6935.3520 | 6906.0882 | 6894.2129 |
| 5.6224 | 6853.4041 | 6899.2416 | 6887.1643 |
| 5.6334 | 6827.9100 | 6892.4001 | 6880.1158 |
| 5.6444 | 6842.9803 | 6885.5639 | 6873.0673 |
| 5.6554 | 6779.5590 | 6878.7333 | 6866.0188 |
| 5.6664 | 6790.8732 | 6871.9085 | 6858.9702 |
| 5.6774 | 6831.7409 | 6865.0896 | 6851.9217 |
| 5.6884 | 6825.7591 | 6858.2768 | 6844.8732 |
| 5.6994 | 6876.7522 | 6851.4705 | 6837.8246 |
| 5.7104 | 6810.4041 | 6844.6707 | 6830.7761 |
| 5.7214 | 6783.2065 | 6837.8778 | 6823.7276 |
| 5.7324 | 6793.3569 | 6831.0920 | 6816.6791 |
| 5.7434 | 6744.9430 | 6824.3135 | 6809.6305 |
| 5.7544 | 6803.3707 | 6817.5427 | 6802.5820 |
| 5.7654 | 6833.1136 | 6810.7799 | 6795.5335 |
| 5.7764 | 6965.9164 | 6804.0252 | 6788.4849 |
| 5.7874 | 6891.0069 | 6797.2792 | 6781.4364 |
| 5.7984 | 6768.1504 | 6790.5420 | 6774.3879 |
| 5.8094 | 6773.7394 | 6783.8141 | 6767.3394 |
| 5.8204 | 6833.3009 | 6777.0958 | 6760.2908 |
| 5.8314 | 6800.2832 | 6770.3875 | 6753.2423 |
| 5.8424 | 6685.8397 | 6763.6896 | 6746.1938 |
| 5.8534 | 6900.4066 | 6757.0026 | 6739.1452 |
| 5.8644 | 6775.9056 | 6750.3268 | 6732.0967 |
| 5.8754 | 6703.0015 | 6743.6628 | 6725.0482 |
| 5.8864 | 6883.8909 | 6737.0110 | 6717.9997 |
| 5.8974 | 6831.2478 | 6730.3721 | 6710.9511 |
| 5.9084 | 6881.6617 | 6723.7465 | 6703.9026 |
| 5.9194 | 6838.4154 | 6717.1347 | 6696.8541 |
| 5.9304 | 6808.3127 | 6710.5376 | 6689.8055 |
| 5.9414 | 6761.0423 | 6703.9556 | 6682.7570 |
| 5.9524 | 6832.3304 | 6697.3895 | 6675.7085 |
| 5.9634 | 6929.8599 | 6690.8400 | 6668.6600 |
| 5.9744 | 6828.7768 | 6684.3079 | 6661.6114 |
| 5.9854 | 6784.5551 | 6677.7939 | 6654.5629 |
| 5.9964 | 6933.1770 | 6671.2990 | 6647.5144 |
| 6.0074 | 6992.1657 | 6664.8240 | 6640.4658 |
| 6.0184 | 6925.4081 | 6658.3700 | 6633.4173 |
| 6.0294 | 6944.8230 | 6651.9379 | 6626.3688 |
| 6.0404 | 6864.5704 | 6645.5288 | 6619.3203 |
| 6.0514 | 7142.4287 | 6639.1439 | 6612.2717 |
| 6.0624 | 6962.4130 | 6632.3990 | 6605.2232 |
| 6.0734 | 7047.5049 | 6625.8591 | 6597.5820 |
| 6.0844 | 7003.5900 | 6618.9617 | 6589.9407 |
| 6.0954 | 7039.8186 | 6612.0940 | 6582.2995 |
| 6.1064 | 7037.3992 | 6605.2575 | 6574.6583 |
| 6.1174 | 7019.6224 | 6598.4539 | 6567.0170 |
| 6.1284 | 7075.4366 | 6591.6850 | 6559.3758 |
| 6.1394 | 6973.9651 | 6584.9527 | 6551.7346 |
| 6.1504 | 6888.7571 | 6578.2591 | 6544.0933 |
| 6.1614 | 6981.8407 | 6571.6064 | 6536.4521 |
| 6.1724 | 7075.8230 | 6564.9970 | 6528.8109 |
| 6.1834 | 7160.6820 | 6558.5862 | 6521.1696 |
| 6.1944 | 7301.8495 | 6552.4479 | 6513.5284 |
| 6.2054 | 7144.9671 | 6546.0654 | 6505.8872 |
| 6.2164 | 7190.7847 | 6539.8495 | 6498.2459 |
| 6.2274 | 7245.6873 | 6533.5057 | 6490.6047 |
| 6.2384 | 7331.6598 | 6527.2238 | 6482.9635 |
| 6.2494 | 7385.8333 | 6521.0077 | 6475.3222 |
| 6.2604 | 7360.9646 | 6514.8618 | 6467.6810 |
| 6.2714 | 7306.2011 | 6508.7907 | 6460.0398 |
| 6.2824 | 7243.7817 | 6502.7995 | 6452.3985 |
| 6.2934 | 7348.7124 | 6496.8936 | 6444.7573 |
| 6.3044 | 7492.4435 | 6491.0790 | 6437.1160 |
| 6.3154 | 7481.5374 | 6485.3622 | 6429.4748 |
| 6.3264 | 7498.5723 | 6479.7502 | 6421.8336 |
| 6.3374 | 7494.1263 | 6474.2507 | 6414.1923 |
| 6.3484 | 7550.9194 | 6468.8722 | 6406.5511 |
| 6.3594 | 7712.8407 | 6463.6238 | 6398.9099 |
| 6.3704 | 7764.3677 | 6458.5157 | 6391.2686 |
| 6.3814 | 7738.7817 | 6453.5588 | 6383.6274 |
| 6.3924 | 7701.4336 | 6448.7654 | 6375.9862 |
| 6.4034 | 7666.8294 | 6444.1489 | 6368.3449 |
| 6.4144 | 7731.3638 | 6439.7240 | 6360.7037 |
| 6.4254 | 7846.8245 | 6435.5072 | 6353.0625 |
| 6.4364 | 7902.7611 | 6431.5165 | 6345.4212 |
| 6.4474 | 7928.3038 | 6427.7720 | 6337.7800 |
| 6.4584 | 7984.8142 | 6424.2961 | 6330.1388 |
| 6.4694 | 8083.7222 | 6421.1140 | 6322.4975 |
| 6.4804 | 8093.2969 | 6418.2535 | 6314.8563 |
| 6.4914 | 8179.5089 | 6415.7463 | 6307.2151 |
| 6.5024 | 8331.0512 | 6413.6284 | 6299.5738 |
| 6.5134 | 8341.3869 | 6411.9405 | 6291.9326 |
| 6.5244 | 8320.5192 | 6410.7302 | 6284.2914 |
| 6.5354 | 8477.6943 | 6410.0527 | 6276.6501 |
| 6.5464 | 8473.0875 | 6409.9740 | 6269.0089 |
| 6.5574 | 8437.2035 | 6410.5738 | 6261.3677 |
| 6.5684 | 8489.8997 | 6411.9504 | 6253.7264 |
| 6.5794 | 8711.2847 | 6414.2273 | 6246.0852 |
| 6.5904 | 8777.5398 | 6417.1794 | 6238.4440 |
| 6.6014 | 8720.1170 | 6421.5713 | 6230.2138 |
| 6.6124 | 8802.5172 | 6427.1100 | 6221.9836 |
| 6.6234 | 8912.7124 | 6434.5286 | 6213.7534 |
| 6.6344 | 8862.5595 | 6444.2854 | 6205.5232 |
| 6.6454 | 8861.1332 | 6456.9767 | 6197.2930 |
| 6.6564 | 9002.3599 | 6473.3696 | 6189.0628 |
| 6.6674 | 9125.5782 | 6494.4374 | 6180.8326 |
| 6.6784 | 9220.1416 | 6521.3923 | 6172.6024 |
| 6.6894 | 9284.8319 | 6555.7131 | 6164.3722 |
| 6.7004 | 9338.4268 | 6599.1601 | 6156.1420 |
| 6.7114 | 9410.9784 | 6653.7709 | 6147.9118 |
| 6.7224 | 9315.2507 | 6721.8313 | 6139.6816 |
| 6.7334 | 9468.6967 | 6805.8114 | 6131.4514 |
| 6.7444 | 9585.5605 | 6908.2662 | 6123.2212 |
| 6.7554 | 9536.6519 | 7031.6942 | 6114.9910 |
| 6.7664 | 9514.6686 | 7178.3586 | 6106.7608 |
| 6.7774 | 9560.9853 | 7350.0732 | 6098.5306 |
| 6.7884 | 9599.6637 | 7547.9607 | 6090.3004 |
| 6.7994 | 9612.1308 | 7772.1877 | 6082.0702 |
| 6.8104 | 9652.9735 | 8021.6772 | 6073.8400 |
| 6.8214 | 9838.6637 | 8293.7909 | 6065.6098 |
| 6.8324 | 9823.7345 | 8583.9661 | 6057.3796 |
| 6.8434 | 9749.1564 | 8885.3001 | 6049.1494 |
| 6.8544 | 9805.4808 | 9188.1167 | 6040.9192 |
| 6.8654 | 9788.5831 | 9479.6476 | 6032.6890 |
| 6.8764 | 9694.3432 | 9744.1162 | 6024.4588 |
| 6.8874 | 9868.1770 | 9963.6401 | 6016.2286 |
| 6.8984 | 9745.8751 | 10120.2917 | 6007.9984 |
| 6.9094 | 9695.2164 | 10199.1992 | 5999.7682 |
| 6.9204 | 9809.6283 | 10191.8407 | 5991.5380 |
| 6.9314 | 9663.6220 | 10098.1901 | 5983.3078 |
| 6.9424 | 9691.4581 | 9926.6957 | 5975.0776 |
| 6.9534 | 9478.2890 | 9692.1215 | 5966.8474 |
| 6.9644 | 9362.9705 | 9412.2906 | 5958.6172 |
| 6.9754 | 9303.2090 | 9105.0281 | 5950.3871 |
| 6.9864 | 9376.0000 | 8786.1146 | 5942.1569 |
| 6.9974 | 9346.3421 | 8468.3674 | 5933.9267 |
| 7.0084 | 9207.0324 | 8161.5311 | 5925.6965 |
| 7.0194 | 9078.0295 | 7872.5773 | 5917.4663 |
| 7.0304 | 8984.4424 | 7606.1294 | 5909.2361 |
| 7.0414 | 8824.9907 | 7364.8752 | 5901.0059 |
| 7.0524 | 8898.0295 | 7149.9311 | 5892.7757 |
| 7.0634 | 8899.6548 | 6961.1607 | 5884.5455 |
| 7.0744 | 8796.5644 | 6797.4646 | 5876.3153 |
| 7.0854 | 8690.1503 | 6657.0455 | 5868.0851 |
| 7.0964 | 8490.0896 | 6537.6513 | 5859.8549 |
| 7.1074 | 8540.8883 | 6436.7894 | 5851.6247 |
| 7.1184 | 8344.6076 | 6351.5445 | 5843.3945 |
| 7.1294 | 8277.6922 | 6279.9754 | 5834.6064 |
| 7.1404 | 8181.5594 | 6219.2626 | 5825.8183 |
| 7.1514 | 8124.5664 | 6167.7258 | 5817.0301 |
| 7.1624 | 8071.8741 | 6123.5989 | 5808.2420 |
| 7.1734 | 7843.6764 | 6085.3966 | 5799.4539 |
| 7.1844 | 7801.2213 | 6051.9004 | 5790.6658 |
| 7.1954 | 7775.3455 | 6022.1315 | 5781.8777 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 18 ETOSHA 22 SSCRT 0-0.5CM S4 | 5.0064 | 84.9874 | 0.0110 | 8/23/2023 2:35:22 PM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 6.9093 | 3783.21 | 0.1948 | 12.78315 | 13.77 |
| 8.7873 | 561.43 | 0.2598 | 10.05499 | 2.04 |
| 11.6850 | 191.30 | 0.3464 | 7.56724 | 0.70 |
| 13.5368 | 100.66 | 0.5196 | 6.53593 | 0.37 |
| 15.8193 | 7416.08 | 0.1299 | 5.59763 | 27.00 |
| 18.3037 | 1152.21 | 0.0866 | 4.84307 | 4.20 |
| 19.7996 | 2673.34 | 0.0866 | 4.48042 | 9.73 |
| 20.8332 | 2552.53 | 0.0649 | 4.26041 | 9.29 |
| 21.3328 | 549.25 | 0.2598 | 4.16174 | 2.00 |
| 22.5129 | 192.84 | 0.1299 | 3.94619 | 0.70 |
| 23.0233 | 1349.61 | 0.0649 | 3.85985 | 4.91 |
| 23.4646 | 1297.23 | 0.1082 | 3.78825 | 4.72 |
| 24.2742 | 462.04 | 0.0866 | 3.66370 | 1.68 |
| 25.9926 | 10244.33 | 0.1407 | 3.42526 | 37.30 |
| 26.6282 | 27465.23 | 0.0660 | 3.34492 | 100.00 |
| 26.7069 | 12744.02 | 0.0264 | 3.33525 | 46.40 |
| 27.0758 | 1061.85 | 0.1320 | 3.29063 | 3.87 |
| 27.5825 | 1095.05 | 0.1848 | 3.23132 | 3.99 |
| 29.3655 | 12576.44 | 0.1056 | 3.03905 | 45.79 |
| 29.4470 | 10771.98 | 0.0660 | 3.03083 | 39.22 |
| 29.7628 | 826.90 | 0.1584 | 2.99939 | 3.01 |
| 30.5811 | 4802.41 | 0.1320 | 2.92096 | 17.49 |
| 31.6556 | 3546.69 | 0.1056 | 2.82423 | 12.91 |
| 32.3244 | 243.19 | 0.1584 | 2.76730 | 0.89 |
| 33.3214 | 1217.42 | 0.1320 | 2.68675 | 4.43 |
| 34.3453 | 1346.43 | 0.2112 | 2.60895 | 4.90 |
| 34.7078 | 2065.26 | 0.2112 | 2.58253 | 7.52 |
| 35.9429 | 2624.91 | 0.2376 | 2.49657 | 9.56 |
| 36.5465 | 748.72 | 0.1584 | 2.45671 | 2.73 |
| 37.0628 | 1018.67 | 0.1584 | 2.42366 | 3.71 |
| 39.3679 | 2039.75 | 0.0924 | 2.28690 | 7.43 |
| 40.5639 | 614.63 | 0.2112 | 2.22219 | 2.24 |
| 41.6337 | 221.88 | 0.2640 | 2.16753 | 0.81 |
| 42.4240 | 268.03 | 0.1584 | 2.12896 | 0.98 |
| 43.1192 | 1516.46 | 0.2640 | 2.09623 | 5.52 |
| 45.4105 | 1326.83 | 0.0792 | 1.99564 | 4.83 |
| 47.0958 | 607.82 | 0.2112 | 1.92808 | 2.21 |
| 47.4296 | 1666.36 | 0.1320 | 1.91529 | 6.07 |
| 47.8464 | 1050.42 | 0.1584 | 1.89957 | 3.82 |
| 48.4402 | 1496.89 | 0.1320 | 1.87767 | 5.45 |
| 48.5631 | 1726.80 | 0.1056 | 1.87320 | 6.29 |
| 50.0527 | 530.03 | 0.1188 | 1.82089 | 1.93 |
| 50.8105 | 246.83 | 0.3696 | 1.79549 | 0.90 |
| 52.5704 | 1228.41 | 0.2112 | 1.73945 | 4.47 |
| 53.4398 | 394.02 | 0.3168 | 1.71319 | 1.43 |
| 54.3420 | 368.29 | 0.3696 | 1.68685 | 1.34 |
| 54.8483 | 1318.65 | 0.0660 | 1.67248 | 4.80 |
| 55.0029 | 589.67 | 0.0792 | 1.66814 | 2.15 |
| 56.4860 | 369.78 | 0.2640 | 1.62781 | 1.35 |
| 57.3938 | 613.60 | 0.3168 | 1.60420 | 2.23 |
| 57.8472 | 456.47 | 0.1584 | 1.59270 | 1.66 |
| 59.9106 | 572.31 | 0.1320 | 1.54268 | 2.08 |
| 60.6547 | 931.10 | 0.3696 | 1.52553 | 3.39 |
| 61.3948 | 655.54 | 0.4224 | 1.50890 | 2.39 |
| 62.9971 | 185.40 | 0.3168 | 1.47432 | 0.68 |
| 64.6334 | 432.12 | 0.1584 | 1.44089 | 1.57 |
| 66.1737 | 481.35 | 0.3168 | 1.41104 | 1.75 |
| 67.6555 | 303.55 | 0.2112 | 1.38369 | 1.11 |
| 68.0693 | 577.20 | 0.0792 | 1.37629 | 2.10 |
| 68.2444 | 541.76 | 0.0660 | 1.37318 | 1.97 |
| 69.1682 | 460.63 | 0.3696 | 1.35708 | 1.68 |
| 72.3075 | 312.88 | 0.3168 | 1.30569 | 1.14 |
| 73.8404 | 236.22 | 0.4224 | 1.28233 | 0.86 |
| 75.2891 | 391.18 | 0.1848 | 1.26121 | 1.42 |
| 77.2356 | 54.64 | 0.6336 | 1.23421 | 0.20 |
| 78.2371 | 253.86 | 0.2112 | 1.22090 | 0.92 |
| 80.0064 | 271.02 | 0.0792 | 1.19829 | 0.99 |
| 81.4553 | 563.02 | 0.1056 | 1.18060 | 2.05 |
| 82.7262 | 117.20 | 0.3168 | 1.16566 | 0.43 |
| 83.9385 | 299.00 | 0.4224 | 1.15188 | 1.09 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 01-075-8690 | 63 | Sodium Aluminum Silicate Hydrate | Na1.71 ( ( Al1.806 Si4.194 ) O12 ) ( H2 O )2.16 | Analcime | 15 |
| * | 01-072-1937 | 59 | Calcium Carbonate | Ca ( C O3 ) | Calcite | 14 |
| * | 01-075-8320 | 36 | Silicon Oxide | Si O2 | Quartz | 23 |
| * | 01-085-8594 | 36 | Sodium Chloride | Na Cl | Halite | 2 |
| * | 01-082-8023 | 22 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 2 |
| * | 04-013-9383 | 22 | Potassium Magnesium Aluminum Silicate Fluoride Hydroxide | K Mg3 Al Si3 O10 ( O H ) F | Phlogopite-2M1 | 11 |
| * | 01-087-0680 | 22 | Potassium Sodium Aluminum Silicate | ( K0.86 Na0.14 ) ( Al Si3 O8 ) | Sanidine | 8 |
| * | 04-018-6570 | 15 | Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide | K0.97 ( H3 O )0.03 Mg0.4 Al2.2 Si3.4 O10 ( O H )2 | Muscovite-2M1 | 26 |

Anchor Scan Parameters

Dataset Name	18 ETOSHA 22 SSCRT 0-0.5CM S4

File name	C:\aeris_data\XRD data\Goldstein\18 ETOSHA 22 SSCRT 0-0.5CM S4.xrdml

Sample Identification	18 ETOSHA 22 SSCRT 0-0.5CM S4

Measurement Start Date/Time	8/23/2023 2:35:22 PM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	5.0064

End Position [°2θ]	84.9874

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.4584

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes