Etosha 18 Rip 0-2cm replicate

Graphics

Graphics

Graphics

Quantitative Results

Phase Calcium Carbonate

Weight fraction/ %	10.0

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	34.0

Phase Sodium Chloride

Weight fraction/ %	2.0

Phase Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide

Weight fraction/ %	32.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	5.0

Phase Cadmium Iron Oxide Hydroxide

Weight fraction/ %	2.0

Phase Magnesium Aluminum Iron Silicon Oxide Hydroxide Hydrate

Weight fraction/ %	2.0

Phase Potassium Aluminum Silicate

Weight fraction/ %	13.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Calcium Carbonate | Sodium Aluminum Silicate Hydrate | Sodium Chloride | Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide | Sodium Magnesium Silicon Oxide Hydrate | Cadmium Iron Oxide Hydroxide | Magnesium Aluminum Iron Silicon Oxide Hydroxide Hydrate | Potassium Aluminum Silicate |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1R ETOSHA 18 RIP 0-2CM REPLICATE | 10.0 | 34.0 | 2.0 | 32.0 | 5.0 | 2.0 | 2.0 | 13.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 5.0064 | 8844.0000 | 8832.7411 | 8844.0000 |
| 5.0174 | 8685.9263 | 8819.9650 | 8819.9650 |
| 5.0284 | 8676.2635 | 8795.9300 | 8795.9300 |
| 5.0394 | 8535.5590 | 8771.8950 | 8771.8950 |
| 5.0504 | 8727.9852 | 8747.8599 | 8747.8599 |
| 5.0614 | 8624.6087 | 8723.8249 | 8723.8249 |
| 5.0724 | 8533.3422 | 8699.7899 | 8699.7899 |
| 5.0834 | 8611.1932 | 8675.7549 | 8675.7549 |
| 5.0944 | 8576.6608 | 8651.7199 | 8651.7199 |
| 5.1054 | 8434.7832 | 8627.6849 | 8627.6849 |
| 5.1164 | 8411.6028 | 8603.6499 | 8603.6499 |
| 5.1274 | 8308.0231 | 8579.6149 | 8579.6149 |
| 5.1384 | 8258.0324 | 8555.5798 | 8555.5798 |
| 5.1494 | 8292.6013 | 8531.5448 | 8531.5448 |
| 5.1604 | 8415.8122 | 8507.5098 | 8507.5098 |
| 5.1714 | 8264.9041 | 8483.4748 | 8483.4748 |
| 5.1824 | 8208.8417 | 8459.4398 | 8459.4398 |
| 5.1934 | 8322.9410 | 8435.4048 | 8435.4048 |
| 5.2044 | 8241.6903 | 8411.3698 | 8411.3698 |
| 5.2154 | 8171.1563 | 8387.3347 | 8387.3347 |
| 5.2264 | 8041.8063 | 8363.2997 | 8363.2997 |
| 5.2374 | 8154.6106 | 8339.2647 | 8339.2647 |
| 5.2484 | 8069.7866 | 8315.2297 | 8315.2297 |
| 5.2594 | 8017.8506 | 8291.1947 | 8291.1947 |
| 5.2704 | 8172.5575 | 8267.1597 | 8267.1597 |
| 5.2814 | 8049.2345 | 8243.1247 | 8243.1247 |
| 5.2924 | 7956.0777 | 8219.0897 | 8219.0897 |
| 5.3034 | 7879.5177 | 8195.0546 | 8195.0546 |
| 5.3144 | 8125.5320 | 8171.0196 | 8171.0196 |
| 5.3254 | 8055.3844 | 8146.9846 | 8146.9846 |
| 5.3364 | 7840.2684 | 8122.9496 | 8122.9496 |
| 5.3474 | 7878.8147 | 8098.9146 | 8098.9146 |
| 5.3584 | 7805.2193 | 8074.8796 | 8074.8796 |
| 5.3694 | 7741.2478 | 8050.8446 | 8050.8446 |
| 5.3804 | 7914.7463 | 8026.8095 | 8026.8095 |
| 5.3914 | 7884.1775 | 8002.7745 | 8002.7745 |
| 5.4024 | 7875.2035 | 7978.7395 | 7978.7395 |
| 5.4134 | 7835.1440 | 7954.7045 | 7954.7045 |
| 5.4244 | 7660.3304 | 7930.6695 | 7930.6695 |
| 5.4354 | 7657.5561 | 7906.6345 | 7906.6345 |
| 5.4464 | 7755.5251 | 7882.5995 | 7882.5995 |
| 5.4574 | 7808.4248 | 7858.5644 | 7858.5644 |
| 5.4684 | 7791.2773 | 7834.5294 | 7834.5294 |
| 5.4794 | 7671.6200 | 7810.4944 | 7810.4944 |
| 5.4904 | 7698.0905 | 7786.4594 | 7786.4594 |
| 5.5014 | 7666.9734 | 7762.4244 | 7762.4244 |
| 5.5124 | 7705.2085 | 7740.1898 | 7738.3894 |
| 5.5234 | 7754.8732 | 7719.7136 | 7714.3544 |
| 5.5344 | 7689.2419 | 7703.9310 | 7690.3194 |
| 5.5454 | 7697.3289 | 7690.0140 | 7681.7992 |
| 5.5564 | 7555.9144 | 7681.6162 | 7673.2791 |
| 5.5674 | 7516.9381 | 7673.2213 | 7664.7590 |
| 5.5784 | 7633.6136 | 7664.8292 | 7656.2389 |
| 5.5894 | 7697.5428 | 7656.4400 | 7647.7188 |
| 5.6004 | 7563.3097 | 7648.0538 | 7639.1987 |
| 5.6114 | 7552.8687 | 7639.6707 | 7630.6786 |
| 5.6224 | 7619.4798 | 7631.2908 | 7622.1585 |
| 5.6334 | 7559.6357 | 7622.9142 | 7613.6384 |
| 5.6444 | 7692.3884 | 7614.5410 | 7605.1182 |
| 5.6554 | 7687.2080 | 7606.1714 | 7596.5981 |
| 5.6664 | 7618.7021 | 7597.8054 | 7588.0780 |
| 5.6774 | 7577.0088 | 7589.4431 | 7579.5579 |
| 5.6884 | 7446.0727 | 7581.0847 | 7571.0378 |
| 5.6994 | 7447.4912 | 7572.7302 | 7562.5177 |
| 5.7104 | 7516.4238 | 7564.3800 | 7553.9976 |
| 5.7214 | 7498.4454 | 7556.0339 | 7545.4775 |
| 5.7324 | 7562.1977 | 7547.6923 | 7536.9574 |
| 5.7434 | 7559.2360 | 7539.3553 | 7528.4372 |
| 5.7544 | 7599.2970 | 7531.0229 | 7519.9171 |
| 5.7654 | 7403.6121 | 7522.6955 | 7511.3970 |
| 5.7764 | 7438.4110 | 7514.3731 | 7502.8769 |
| 5.7874 | 7510.2139 | 7506.0559 | 7494.3568 |
| 5.7984 | 7462.3628 | 7497.7442 | 7485.8367 |
| 5.8094 | 7589.5870 | 7489.6733 | 7477.3166 |
| 5.8204 | 7531.3274 | 7487.0079 | 7468.7965 |
| 5.8314 | 7585.7625 | 7478.9535 | 7460.2763 |
| 5.8424 | 7680.6755 | 7473.6331 | 7451.7562 |
| 5.8534 | 7572.4843 | 7465.5417 | 7443.2361 |
| 5.8644 | 7583.2566 | 7457.4632 | 7434.7160 |
| 5.8754 | 7447.0900 | 7449.3978 | 7426.1959 |
| 5.8864 | 7529.5290 | 7441.3463 | 7417.6758 |
| 5.8974 | 7507.1062 | 7433.3092 | 7409.1557 |
| 5.9084 | 7662.2036 | 7425.2871 | 7400.6356 |
| 5.9194 | 7811.6013 | 7417.2805 | 7392.1155 |
| 5.9304 | 7692.2743 | 7409.2902 | 7383.5953 |
| 5.9414 | 7611.8501 | 7401.3169 | 7375.0752 |
| 5.9524 | 7637.4710 | 7393.3612 | 7366.5551 |
| 5.9634 | 7757.3260 | 7385.4240 | 7358.0350 |
| 5.9744 | 7689.3107 | 7377.5061 | 7349.5149 |
| 5.9854 | 7498.4381 | 7369.6084 | 7340.9948 |
| 5.9964 | 7666.5663 | 7361.7317 | 7332.4747 |
| 6.0074 | 7546.4843 | 7353.8770 | 7323.9546 |
| 6.0184 | 7853.2605 | 7346.0453 | 7315.4345 |
| 6.0294 | 7737.7080 | 7338.2378 | 7306.9143 |
| 6.0404 | 7703.4553 | 7330.4555 | 7298.3942 |
| 6.0514 | 7663.2031 | 7322.6997 | 7289.8741 |
| 6.0624 | 7689.8614 | 7314.9243 | 7281.3540 |
| 6.0734 | 7671.5767 | 7307.1716 | 7272.7327 |
| 6.0844 | 7742.7198 | 7299.4021 | 7264.1115 |
| 6.0954 | 8002.1947 | 7291.6647 | 7255.4902 |
| 6.1064 | 7927.4916 | 7283.9610 | 7246.8689 |
| 6.1174 | 7799.9676 | 7276.2929 | 7238.2476 |
| 6.1284 | 7894.0443 | 7268.6622 | 7229.6264 |
| 6.1394 | 7868.1568 | 7261.0708 | 7221.0051 |
| 6.1504 | 7826.8191 | 7253.5209 | 7212.3838 |
| 6.1614 | 7933.5516 | 7246.0148 | 7203.7625 |
| 6.1724 | 7851.8456 | 7238.5548 | 7195.1413 |
| 6.1834 | 7893.5688 | 7231.1436 | 7186.5200 |
| 6.1944 | 8023.1947 | 7223.7840 | 7177.8987 |
| 6.2054 | 8105.4385 | 7216.4789 | 7169.2774 |
| 6.2164 | 8038.6972 | 7209.2316 | 7160.6562 |
| 6.2274 | 8079.8068 | 7202.0455 | 7152.0349 |
| 6.2384 | 8153.7346 | 7194.9244 | 7143.4136 |
| 6.2494 | 8265.2222 | 7187.8721 | 7134.7923 |
| 6.2604 | 8217.9941 | 7180.8931 | 7126.1711 |
| 6.2714 | 8236.5005 | 7173.9919 | 7117.5498 |
| 6.2824 | 8281.9017 | 7167.1737 | 7108.9285 |
| 6.2934 | 8394.8673 | 7160.4439 | 7100.3072 |
| 6.3044 | 8504.5428 | 7153.8084 | 7091.6860 |
| 6.3154 | 8496.2384 | 7147.2735 | 7083.0647 |
| 6.3264 | 8477.6785 | 7140.8464 | 7074.4434 |
| 6.3374 | 8484.6691 | 7134.5345 | 7065.8222 |
| 6.3484 | 8590.9283 | 7128.3463 | 7057.2009 |
| 6.3594 | 8614.8672 | 7122.2906 | 7048.5796 |
| 6.3704 | 8626.1741 | 7116.3775 | 7039.9583 |
| 6.3814 | 8756.2390 | 7110.6177 | 7031.3371 |
| 6.3924 | 8905.3009 | 7105.0232 | 7022.7158 |
| 6.4034 | 8960.6588 | 7099.6070 | 7014.0945 |
| 6.4144 | 9023.8034 | 7094.3837 | 7005.4732 |
| 6.4254 | 9145.9233 | 7089.3691 | 6996.8520 |
| 6.4364 | 9150.9557 | 7084.5809 | 6988.2307 |
| 6.4474 | 9298.9371 | 7080.0386 | 6979.6094 |
| 6.4584 | 9382.7463 | 7075.7639 | 6970.9881 |
| 6.4694 | 9451.9553 | 7071.7811 | 6962.3669 |
| 6.4804 | 9526.5860 | 7068.1173 | 6953.7456 |
| 6.4914 | 9433.8539 | 7064.8027 | 6945.1243 |
| 6.5024 | 9615.3973 | 7061.8712 | 6936.5030 |
| 6.5134 | 9926.5881 | 7059.3614 | 6927.8818 |
| 6.5244 | 9791.4424 | 7057.3163 | 6919.2605 |
| 6.5354 | 9892.0763 | 7055.7851 | 6910.6392 |
| 6.5464 | 10087.1574 | 7054.8235 | 6902.0179 |
| 6.5574 | 10148.5929 | 7054.4952 | 6893.3967 |
| 6.5684 | 10363.6923 | 7054.8730 | 6884.7754 |
| 6.5794 | 10493.3368 | 7056.0409 | 6876.1541 |
| 6.5904 | 10586.6814 | 7058.0469 | 6867.5328 |
| 6.6014 | 10543.2950 | 7061.0457 | 6858.8074 |
| 6.6124 | 10792.7444 | 7065.1258 | 6850.0820 |
| 6.6234 | 10909.6003 | 7070.7520 | 6841.3566 |
| 6.6344 | 10768.6519 | 7078.2224 | 6832.6311 |
| 6.6454 | 11208.8792 | 7086.8703 | 6823.9057 |
| 6.6564 | 11174.2330 | 7097.6432 | 6815.1803 |
| 6.6674 | 11534.3212 | 7110.3436 | 6806.4548 |
| 6.6784 | 11572.9528 | 7125.6653 | 6797.7294 |
| 6.6894 | 11515.2876 | 7144.0795 | 6789.0040 |
| 6.7004 | 11546.3914 | 7166.1941 | 6780.2786 |
| 6.7114 | 11730.2124 | 7192.8310 | 6771.5531 |
| 6.7224 | 11776.5221 | 7225.1663 | 6762.8277 |
| 6.7334 | 12014.2130 | 7264.9792 | 6754.1023 |
| 6.7444 | 12270.3226 | 7315.0679 | 6745.3768 |
| 6.7554 | 12262.0973 | 7379.8896 | 6736.6514 |
| 6.7664 | 12385.6874 | 7466.4383 | 6727.9260 |
| 6.7774 | 12480.0551 | 7585.2673 | 6719.2006 |
| 6.7884 | 12476.0531 | 7751.3890 | 6710.4751 |
| 6.7994 | 12555.1721 | 7984.5739 | 6701.7497 |
| 6.8104 | 12604.8269 | 8308.4318 | 6693.0243 |
| 6.8214 | 12595.7095 | 8747.7184 | 6684.2989 |
| 6.8324 | 12660.3216 | 9323.6298 | 6675.5734 |
| 6.8434 | 12787.9469 | 10047.2750 | 6666.8480 |
| 6.8544 | 12805.7788 | 10911.5987 | 6658.1226 |
| 6.8654 | 12831.5886 | 11881.4621 | 6649.3971 |
| 6.8764 | 12997.9469 | 12881.8875 | 6640.6717 |
| 6.8874 | 12905.2124 | 13791.0754 | 6631.9463 |
| 6.8984 | 12800.7610 | 14459.5869 | 6623.2209 |
| 6.9094 | 12728.3682 | 14772.7545 | 6614.4954 |
| 6.9204 | 12747.2921 | 14718.9147 | 6605.7700 |
| 6.9314 | 12886.1136 | 14396.2020 | 6597.0446 |
| 6.9424 | 12835.8613 | 13955.7700 | 6588.3191 |
| 6.9534 | 12692.0102 | 13536.0041 | 6579.5937 |
| 6.9644 | 12450.4101 | 13227.7594 | 6570.8683 |
| 6.9754 | 12501.7797 | 13070.2733 | 6562.1429 |
| 6.9864 | 12353.3540 | 13059.0579 | 6553.4174 |
| 6.9974 | 12381.1966 | 13154.8775 | 6544.6920 |
| 7.0084 | 12278.1898 | 13293.2221 | 6535.9666 |
| 7.0194 | 12277.3495 | 13397.2054 | 6527.2412 |
| 7.0304 | 12126.3048 | 13395.2123 | 6518.5157 |
| 7.0414 | 11931.5048 | 13239.5624 | 6509.7903 |
| 7.0524 | 11773.5516 | 12918.0242 | 6501.0649 |
| 7.0634 | 11656.4404 | 12452.1987 | 6492.3394 |
| 7.0744 | 11412.4601 | 11884.9192 | 6483.6140 |
| 7.0854 | 11213.3273 | 11264.8235 | 6474.8886 |
| 7.0964 | 11038.4592 | 10635.2002 | 6466.1632 |
| 7.1074 | 11060.8397 | 10029.1183 | 6457.4377 |
| 7.1184 | 10931.2300 | 9468.9665 | 6448.7123 |
| 7.1294 | 10654.1149 | 8968.0933 | 6439.8828 |
| 7.1404 | 10426.2448 | 8532.5037 | 6431.0533 |
| 7.1514 | 10326.9439 | 8162.7546 | 6422.2238 |
| 7.1624 | 10229.8672 | 7855.3365 | 6413.3943 |
| 7.1734 | 10004.1955 | 7604.0836 | 6404.5648 |
| 7.1844 | 9776.4779 | 7401.3741 | 6395.7353 |
| 7.1954 | 9825.6470 | 7239.1274 | 6386.9057 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 1R ETOSHA 18 RIP 0-2CM REPLICATE | 5.0064 | 84.9874 | 0.0110 | 8/23/2023 11:24:08 AM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 6.9004 | 6219.35 | 0.1082 | 12.79970 | 50.30 |
| 7.0290 | 5629.85 | 0.1515 | 12.56586 | 45.53 |
| 8.7873 | 951.71 | 0.2165 | 10.05501 | 7.70 |
| 11.5994 | 441.15 | 0.1732 | 7.62289 | 3.57 |
| 15.8347 | 8594.03 | 0.1191 | 5.59225 | 69.50 |
| 17.7147 | 255.67 | 0.3031 | 5.00277 | 2.07 |
| 18.3395 | 1498.46 | 0.0433 | 4.83369 | 12.12 |
| 19.8283 | 3792.78 | 0.2165 | 4.47400 | 30.67 |
| 20.9695 | 1105.63 | 0.1082 | 4.23301 | 8.94 |
| 21.3713 | 883.98 | 0.2598 | 4.15434 | 7.15 |
| 22.5164 | 178.79 | 0.1299 | 3.94559 | 1.45 |
| 23.0731 | 817.70 | 0.1082 | 3.85163 | 6.61 |
| 23.4510 | 1351.40 | 0.1299 | 3.79042 | 10.93 |
| 24.3104 | 972.21 | 0.0866 | 3.65832 | 7.86 |
| 25.2804 | 765.05 | 0.3031 | 3.52012 | 6.19 |
| 26.0217 | 12365.61 | 0.1407 | 3.42150 | 100.00 |
| 26.6553 | 2914.18 | 0.0433 | 3.34158 | 23.57 |
| 26.8615 | 1842.26 | 0.0649 | 3.31640 | 14.90 |
| 27.0956 | 1389.90 | 0.1082 | 3.28827 | 11.24 |
| 27.6484 | 1218.51 | 0.1082 | 3.22377 | 9.85 |
| 29.3955 | 6520.22 | 0.1082 | 3.03602 | 52.73 |
| 29.8059 | 993.69 | 0.0866 | 2.99515 | 8.04 |
| 30.5851 | 5738.53 | 0.1299 | 2.92059 | 46.41 |
| 31.7013 | 2302.74 | 0.0541 | 2.82025 | 18.62 |
| 32.0397 | 568.39 | 0.1515 | 2.79124 | 4.60 |
| 32.3425 | 224.51 | 0.1299 | 2.76579 | 1.82 |
| 33.3253 | 1566.52 | 0.1732 | 2.68644 | 12.67 |
| 34.3637 | 1710.11 | 0.1299 | 2.60760 | 13.83 |
| 34.8176 | 2874.64 | 0.2165 | 2.57463 | 23.25 |
| 35.9962 | 2191.24 | 0.0866 | 2.49299 | 17.72 |
| 37.1388 | 1428.98 | 0.0866 | 2.41888 | 11.56 |
| 39.4080 | 1109.97 | 0.1515 | 2.28466 | 8.98 |
| 40.5342 | 761.51 | 0.1515 | 2.22375 | 6.16 |
| 41.6451 | 264.97 | 0.2165 | 2.16696 | 2.14 |
| 43.1614 | 775.95 | 0.0649 | 2.09428 | 6.28 |
| 45.4387 | 856.32 | 0.0866 | 1.99447 | 6.92 |
| 47.1247 | 404.95 | 0.1515 | 1.92697 | 3.27 |
| 47.4976 | 866.11 | 0.1732 | 1.91271 | 7.00 |
| 47.8554 | 1123.64 | 0.0866 | 1.89924 | 9.09 |
| 48.4883 | 927.45 | 0.0866 | 1.87592 | 7.50 |
| 48.8177 | 704.52 | 0.1299 | 1.86402 | 5.70 |
| 50.8011 | 206.07 | 0.3031 | 1.79580 | 1.67 |
| 52.5693 | 1484.25 | 0.1515 | 1.73949 | 12.00 |
| 53.4762 | 519.85 | 0.2165 | 1.71211 | 4.20 |
| 54.3812 | 660.60 | 0.2165 | 1.68573 | 5.34 |
| 55.3089 | 288.25 | 0.2598 | 1.65963 | 2.33 |
| 56.4614 | 317.80 | 0.2598 | 1.62846 | 2.57 |
| 57.4722 | 432.38 | 0.1732 | 1.60220 | 3.50 |
| 57.8877 | 537.44 | 0.1732 | 1.59168 | 4.35 |
| 60.6373 | 909.43 | 0.3464 | 1.52592 | 7.35 |
| 61.3994 | 955.41 | 0.3031 | 1.50880 | 7.73 |
| 62.8184 | 211.25 | 0.2165 | 1.47808 | 1.71 |
| 64.7305 | 218.32 | 0.4330 | 1.43896 | 1.77 |
| 66.0843 | 494.54 | 0.3464 | 1.41273 | 4.00 |
| 67.7276 | 237.26 | 0.1299 | 1.38239 | 1.92 |
| 68.4579 | 218.72 | 0.2598 | 1.36942 | 1.77 |
| 69.1969 | 630.73 | 0.2165 | 1.35659 | 5.10 |
| 72.3906 | 496.15 | 0.4330 | 1.30440 | 4.01 |
| 73.8126 | 387.15 | 0.1732 | 1.28275 | 3.13 |
| 75.2565 | 413.99 | 0.0792 | 1.26168 | 3.35 |
| 78.2475 | 332.18 | 0.2165 | 1.22076 | 2.69 |
| 81.2693 | 186.11 | 0.4330 | 1.18283 | 1.51 |
| 82.7262 | 151.83 | 0.3464 | 1.16566 | 1.23 |
| 83.8362 | 122.12 | 0.4330 | 1.15303 | 0.99 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 01-083-1762 | 51 | Calcium Carbonate | Ca ( C O3 ) | Calcite | 10 |
| * | 01-083-1730 | 71 | Sodium Aluminum Silicate Hydrate | Na14.96 Al15.36 Si32.64 O96 ( H2 O )16 | Analcime | 34 |
| * | 01-070-2509 | 42 | Sodium Chloride | Na Cl | Halite, syn | 2 |
| * | 04-018-6570 | 26 | Potassium Hydronium Magnesium Aluminum Silicon Oxide Hydroxide | K0.97 ( H3 O )0.03 Mg0.4 Al2.2 Si3.4 O10 ( O H )2 | Muscovite-2M1 | 32 |
| * | 01-082-8023 | 33 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 5 |
| * | 04-013-2829 | 7 | Cadmium Iron Oxide Hydroxide | Cd0.1 Fe0.9 O0.9 ( O H )1.1 | Goethite, Cd-bearing, syn | 2 |
| * | 04-018-3208 | 9 | Magnesium Aluminum Iron Silicon Oxide Hydroxide Hydrate | Mg1.0 Fe0.08 Al1.0 Si3.99 O10.2 ( O H )0.8 ( H2 O )3.3 | Palygorskite-M | 2 |
| * | 01-089-2650 | 17 | Potassium Aluminum Silicate | K ( Al Si3 O8 ) | Sanidine | 13 |

Anchor Scan Parameters

Dataset Name	1R ETOSHA 18 RIP 0-2CM REPLICATE

File name	C:\aeris_data\XRD data\Goldstein\1R ETOSHA 18 RIP 0-2CM REPLICATE.xrdml

Sample Identification	1R ETOSHA 18 RIP 0-2CM REPLICATE

Measurement Start Date/Time	8/23/2023 11:24:08 AM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	5.0064

End Position [°2θ]	84.9874

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.4584

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes