Etosha 18 SS 0-2 cm S1

Graphics

Graphics

Graphics

Quantitative Results

Phase Calcium Carbonate

Weight fraction/ %	10.0

Phase Sodium Chloride

Weight fraction/ %	3.0

Phase Potassium Magnesium Aluminum Fluoride Silicate Hydroxide

Weight fraction/ %	8.0

Phase Potassium Aluminum Silicon Oxide

Weight fraction/ %	10.0

Phase Potassium Sodium Calcium Aluminum Silicon Oxide

Weight fraction/ %	10.0

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	23.0

Phase Potassium Sodium Magnesium Aluminum Iron Silicon Titanium Oxide Fluoride Hydroxide

Weight fraction/ %	31.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	5.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Calcium Carbonate | Sodium Chloride | Potassium Magnesium Aluminum Fluoride Silicate Hydroxide | Potassium Aluminum Silicon Oxide | Potassium Sodium Calcium Aluminum Silicon Oxide | Sodium Aluminum Silicate Hydrate | Potassium Sodium Magnesium Aluminum Iron Silicon Titanium Oxide Fluoride Hydroxide | Sodium Magnesium Silicon Oxide Hydrate |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 ETOSHA 18 SS 0-2CM S1 | 10.0 | 3.0 | 8.0 | 10.0 | 10.0 | 23.0 | 31.0 | 5.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 5.0064 | 8856.0000 | 8852.2112 | 8856.0000 |
| 5.0174 | 8707.8368 | 8844.0809 | 8828.7207 |
| 5.0284 | 8538.9902 | 8816.9700 | 8801.4414 |
| 5.0394 | 8731.9484 | 8789.8620 | 8774.1622 |
| 5.0504 | 8603.1465 | 8762.7570 | 8746.8829 |
| 5.0614 | 8666.3353 | 8735.6549 | 8719.6036 |
| 5.0724 | 8691.6018 | 8708.5559 | 8692.3243 |
| 5.0834 | 8552.6544 | 8681.4600 | 8665.0450 |
| 5.0944 | 8448.7591 | 8654.3673 | 8637.7657 |
| 5.1054 | 8329.7965 | 8627.2779 | 8610.4865 |
| 5.1164 | 8477.7030 | 8600.1918 | 8583.2072 |
| 5.1274 | 8330.4007 | 8573.1092 | 8555.9279 |
| 5.1384 | 8289.9440 | 8546.0300 | 8528.6486 |
| 5.1494 | 8392.3053 | 8518.9545 | 8501.3693 |
| 5.1604 | 8272.3186 | 8491.8827 | 8474.0900 |
| 5.1714 | 8170.0280 | 8464.8146 | 8446.8108 |
| 5.1824 | 8174.2802 | 8437.7504 | 8419.5315 |
| 5.1934 | 8187.5959 | 8410.6902 | 8392.2522 |
| 5.2044 | 8278.4779 | 8383.6340 | 8364.9729 |
| 5.2154 | 8152.5570 | 8356.5820 | 8337.6936 |
| 5.2264 | 8105.9046 | 8329.5343 | 8310.4143 |
| 5.2374 | 8084.1947 | 8302.4910 | 8283.1351 |
| 5.2484 | 8106.0560 | 8275.4522 | 8255.8558 |
| 5.2594 | 8097.7768 | 8248.4180 | 8228.5765 |
| 5.2704 | 7995.0177 | 8221.3885 | 8201.2972 |
| 5.2814 | 7929.2989 | 8194.3639 | 8174.0179 |
| 5.2924 | 8053.1455 | 8167.3442 | 8146.7386 |
| 5.3034 | 7992.7566 | 8140.3297 | 8119.4594 |
| 5.3144 | 7939.2665 | 8113.3204 | 8092.1801 |
| 5.3254 | 7937.4558 | 8086.3165 | 8064.9008 |
| 5.3364 | 7922.3215 | 8059.3182 | 8037.6215 |
| 5.3474 | 7840.3358 | 8032.3256 | 8010.3422 |
| 5.3584 | 7837.2212 | 8005.3388 | 7983.0629 |
| 5.3694 | 7860.2463 | 7978.3580 | 7955.7837 |
| 5.3804 | 7913.2252 | 7951.3834 | 7928.5044 |
| 5.3914 | 7913.6224 | 7924.4151 | 7901.2251 |
| 5.4024 | 7928.9026 | 7897.4534 | 7873.9458 |
| 5.4134 | 7721.0216 | 7870.4984 | 7846.6665 |
| 5.4244 | 7713.6028 | 7843.5503 | 7819.3872 |
| 5.4354 | 7825.1386 | 7816.6094 | 7792.1080 |
| 5.4464 | 7718.4680 | 7789.6757 | 7764.8287 |
| 5.4574 | 7677.9056 | 7762.7496 | 7737.5494 |
| 5.4684 | 7666.0000 | 7735.8312 | 7710.2701 |
| 5.4794 | 7673.3992 | 7708.9208 | 7682.9908 |
| 5.4904 | 7683.7856 | 7682.0186 | 7655.7115 |
| 5.5014 | 7667.0885 | 7655.1249 | 7628.4323 |
| 5.5124 | 7637.9961 | 7628.2400 | 7601.1530 |
| 5.5234 | 7643.5973 | 7601.3640 | 7573.8737 |
| 5.5344 | 7521.6666 | 7588.1196 | 7546.5944 |
| 5.5454 | 7456.7040 | 7567.2157 | 7538.8907 |
| 5.5564 | 7524.7788 | 7559.9440 | 7531.1869 |
| 5.5674 | 7601.1328 | 7552.6824 | 7523.4831 |
| 5.5784 | 7541.7168 | 7545.4314 | 7515.7794 |
| 5.5894 | 7602.4395 | 7538.1912 | 7508.0756 |
| 5.6004 | 7511.6637 | 7530.9621 | 7500.3719 |
| 5.6114 | 7556.3294 | 7523.7447 | 7492.6681 |
| 5.6224 | 7562.3776 | 7516.5392 | 7484.9644 |
| 5.6334 | 7528.4911 | 7509.3460 | 7477.2606 |
| 5.6444 | 7608.1200 | 7502.1656 | 7469.5568 |
| 5.6554 | 7607.1917 | 7494.9983 | 7461.8531 |
| 5.6664 | 7492.9675 | 7487.8447 | 7454.1493 |
| 5.6774 | 7451.0020 | 7480.7052 | 7446.4456 |
| 5.6884 | 7551.1141 | 7473.5803 | 7438.7418 |
| 5.6994 | 7703.7965 | 7466.4705 | 7431.0381 |
| 5.7104 | 7503.0118 | 7459.3764 | 7423.3343 |
| 5.7214 | 7446.1903 | 7452.2984 | 7415.6305 |
| 5.7324 | 7366.8790 | 7445.2372 | 7407.9268 |
| 5.7434 | 7535.7581 | 7438.1934 | 7400.2230 |
| 5.7544 | 7567.6421 | 7431.1676 | 7392.5193 |
| 5.7654 | 7586.3540 | 7424.1605 | 7384.8155 |
| 5.7764 | 7589.1396 | 7417.1728 | 7377.1118 |
| 5.7874 | 7438.9016 | 7410.2052 | 7369.4080 |
| 5.7984 | 7442.6637 | 7403.2585 | 7361.7042 |
| 5.8094 | 7669.4145 | 7396.3335 | 7354.0005 |
| 5.8204 | 7520.3687 | 7389.4310 | 7346.2967 |
| 5.8314 | 7431.0973 | 7382.5519 | 7338.5930 |
| 5.8424 | 7598.7463 | 7375.6971 | 7330.8892 |
| 5.8534 | 7609.1072 | 7368.8677 | 7323.1855 |
| 5.8644 | 7588.8673 | 7362.0646 | 7315.4817 |
| 5.8754 | 7550.1313 | 7355.2888 | 7307.7779 |
| 5.8864 | 7586.3648 | 7348.5416 | 7300.0742 |
| 5.8974 | 7677.5974 | 7341.8241 | 7292.3704 |
| 5.9084 | 7641.7325 | 7335.1375 | 7284.6667 |
| 5.9194 | 7608.9877 | 7328.4833 | 7276.9629 |
| 5.9304 | 7654.9882 | 7321.8626 | 7269.2592 |
| 5.9414 | 7596.7001 | 7315.2771 | 7261.5554 |
| 5.9524 | 7630.0344 | 7308.7282 | 7253.8516 |
| 5.9634 | 7585.2979 | 7302.2177 | 7246.1479 |
| 5.9744 | 7637.3687 | 7295.7471 | 7238.4441 |
| 5.9854 | 7585.7380 | 7289.3183 | 7230.7404 |
| 5.9964 | 7692.8407 | 7282.9332 | 7223.0366 |
| 6.0074 | 7660.6687 | 7276.5938 | 7215.3329 |
| 6.0184 | 7792.4838 | 7270.3024 | 7207.6291 |
| 6.0294 | 7701.8658 | 7264.0611 | 7199.9253 |
| 6.0404 | 7724.7266 | 7257.8724 | 7192.2216 |
| 6.0514 | 7647.6057 | 7251.7388 | 7184.5178 |
| 6.0624 | 7630.7286 | 7245.4101 | 7176.8141 |
| 6.0734 | 7814.7591 | 7239.3720 | 7168.8345 |
| 6.0844 | 7896.0029 | 7233.1448 | 7160.8548 |
| 6.0954 | 7814.8496 | 7226.9846 | 7152.8752 |
| 6.1064 | 7888.6283 | 7220.8948 | 7144.8956 |
| 6.1174 | 7830.3436 | 7214.8792 | 7136.9160 |
| 6.1284 | 7830.5133 | 7208.9417 | 7128.9364 |
| 6.1394 | 8009.4700 | 7203.0864 | 7120.9567 |
| 6.1504 | 8077.2783 | 7197.3178 | 7112.9771 |
| 6.1614 | 8037.3215 | 7191.6408 | 7104.9975 |
| 6.1724 | 7975.8565 | 7186.0603 | 7097.0179 |
| 6.1834 | 8058.2729 | 7180.5819 | 7089.0383 |
| 6.1944 | 8043.0885 | 7175.2114 | 7081.0586 |
| 6.2054 | 8117.9312 | 7169.9551 | 7073.0790 |
| 6.2164 | 8236.8859 | 7164.8198 | 7065.0994 |
| 6.2274 | 8270.7641 | 7159.8126 | 7057.1198 |
| 6.2384 | 8405.3166 | 7154.9413 | 7049.1402 |
| 6.2494 | 8274.1111 | 7150.2144 | 7041.1605 |
| 6.2604 | 8289.4956 | 7145.6408 | 7033.1809 |
| 6.2714 | 8337.1731 | 7141.2303 | 7025.2013 |
| 6.2824 | 8352.6047 | 7136.9933 | 7017.2217 |
| 6.2934 | 8456.4779 | 7132.9413 | 7009.2421 |
| 6.3044 | 8477.2359 | 7129.0865 | 7001.2624 |
| 6.3154 | 8498.0610 | 7125.4422 | 6993.2828 |
| 6.3264 | 8639.1003 | 7122.0229 | 6985.3032 |
| 6.3374 | 8656.9759 | 7118.8443 | 6977.3236 |
| 6.3484 | 8706.9715 | 7115.9234 | 6969.3440 |
| 6.3594 | 8744.1888 | 7113.2788 | 6961.3643 |
| 6.3704 | 8815.9391 | 7110.9310 | 6953.3847 |
| 6.3814 | 8936.7567 | 7108.9020 | 6945.4051 |
| 6.3924 | 9107.3186 | 7107.2162 | 6937.4255 |
| 6.4034 | 9159.8058 | 7105.9005 | 6929.4459 |
| 6.4144 | 9107.0826 | 7104.9843 | 6921.4662 |
| 6.4254 | 9244.6564 | 7104.5005 | 6913.4866 |
| 6.4364 | 9508.0355 | 7104.4854 | 6905.5070 |
| 6.4474 | 9472.6705 | 7104.9801 | 6897.5274 |
| 6.4584 | 9474.4956 | 7106.0308 | 6889.5478 |
| 6.4694 | 9498.2645 | 7107.6901 | 6881.5681 |
| 6.4804 | 9535.6421 | 7110.0189 | 6873.5885 |
| 6.4914 | 9763.7877 | 7113.0883 | 6865.6089 |
| 6.5024 | 9798.1701 | 7116.9821 | 6857.6293 |
| 6.5134 | 9970.1623 | 7121.8007 | 6849.6497 |
| 6.5244 | 9984.9410 | 7127.6659 | 6841.6700 |
| 6.5354 | 10082.4814 | 7134.7268 | 6833.6904 |
| 6.5464 | 10245.1121 | 7143.1678 | 6825.7108 |
| 6.5574 | 10268.6740 | 7153.2181 | 6817.7312 |
| 6.5684 | 10554.1692 | 7165.1638 | 6809.7516 |
| 6.5794 | 10647.1814 | 7179.3621 | 6801.7719 |
| 6.5904 | 10664.2478 | 7195.9987 | 6793.7923 |
| 6.6014 | 10896.0566 | 7216.1206 | 6785.5297 |
| 6.6124 | 10908.1524 | 7239.9123 | 6777.2671 |
| 6.6234 | 11095.8894 | 7268.4620 | 6769.0045 |
| 6.6344 | 11051.4444 | 7302.7695 | 6760.7419 |
| 6.6454 | 11341.0999 | 7344.0251 | 6752.4793 |
| 6.6564 | 11448.7139 | 7393.6250 | 6744.2167 |
| 6.6674 | 11480.1106 | 7453.1800 | 6735.9541 |
| 6.6784 | 11594.2665 | 7524.5146 | 6727.6915 |
| 6.6894 | 11888.3673 | 7609.6532 | 6719.4289 |
| 6.7004 | 12056.3521 | 7710.7906 | 6711.1663 |
| 6.7114 | 12084.6716 | 7830.2446 | 6702.9037 |
| 6.7224 | 12179.5753 | 7970.3886 | 6694.6411 |
| 6.7334 | 12202.8751 | 8133.5635 | 6686.3785 |
| 6.7444 | 12533.6953 | 8321.9698 | 6678.1160 |
| 6.7554 | 12249.5855 | 8537.5415 | 6669.8534 |
| 6.7664 | 12469.8762 | 8781.8043 | 6661.5908 |
| 6.7774 | 12478.0000 | 9055.7209 | 6653.3282 |
| 6.7884 | 12613.7877 | 9359.5259 | 6645.0656 |
| 6.7994 | 12608.7797 | 9692.5494 | 6636.8030 |
| 6.8104 | 12549.5468 | 10053.0277 | 6628.5404 |
| 6.8214 | 12834.2522 | 10437.8934 | 6620.2778 |
| 6.8324 | 12836.8721 | 10842.5382 | 6612.0152 |
| 6.8434 | 12693.7881 | 11260.5475 | 6603.7526 |
| 6.8544 | 12763.0797 | 11683.4214 | 6595.4900 |
| 6.8654 | 13007.6651 | 12100.3350 | 6587.2274 |
| 6.8764 | 12667.3698 | 12498.0463 | 6578.9648 |
| 6.8874 | 12901.7168 | 12861.1192 | 6570.7022 |
| 6.8984 | 12958.1485 | 13172.6581 | 6562.4396 |
| 6.9094 | 12936.2527 | 13415.6903 | 6554.1770 |
| 6.9204 | 12919.4218 | 13575.1366 | 6545.9144 |
| 6.9314 | 12814.2635 | 13640.0261 | 6537.6518 |
| 6.9424 | 12851.9233 | 13605.3618 | 6529.3892 |
| 6.9534 | 12706.7005 | 13473.0311 | 6521.1266 |
| 6.9644 | 12526.5930 | 13251.4379 | 6512.8640 |
| 6.9754 | 12576.7851 | 12953.9989 | 6504.6014 |
| 6.9864 | 12406.7256 | 12597.0209 | 6496.3388 |
| 6.9974 | 12191.4213 | 12197.5831 | 6488.0762 |
| 7.0084 | 12085.3982 | 11771.8815 | 6479.8136 |
| 7.0194 | 12097.5251 | 11334.2115 | 6471.5510 |
| 7.0304 | 11972.3480 | 10896.5267 | 6463.2884 |
| 7.0414 | 11666.9016 | 10468.4013 | 6455.0258 |
| 7.0524 | 11613.0148 | 10057.2092 | 6446.7632 |
| 7.0634 | 11467.2997 | 9668.3882 | 6438.5006 |
| 7.0744 | 11095.8289 | 9305.7130 | 6430.2380 |
| 7.0854 | 11099.6592 | 8971.5446 | 6421.9754 |
| 7.0964 | 10903.9518 | 8667.0520 | 6413.7128 |
| 7.1074 | 10740.9361 | 8392.4108 | 6405.4502 |
| 7.1184 | 10613.6607 | 8146.7272 | 6397.1876 |
| 7.1294 | 10479.0418 | 7929.2183 | 6388.6432 |
| 7.1404 | 10367.4139 | 7737.6347 | 6380.0988 |
| 7.1514 | 10227.7655 | 7570.1462 | 6371.5544 |
| 7.1624 | 10070.1956 | 7424.4661 | 6363.0100 |
| 7.1734 | 9867.1971 | 7298.2262 | 6354.4656 |
| 7.1844 | 9813.5487 | 7189.0746 | 6345.9212 |
| 7.1954 | 9632.7383 | 7094.7527 | 6337.3768 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 2 ETOSHA 18 SS 0-2CM S1 | 5.0064 | 84.9874 | 0.0110 | 8/22/2023 11:34:21 AM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 6.9283 | 6367.76 | 0.2381 | 12.74821 | 51.87 |
| 8.7972 | 1021.09 | 0.3897 | 10.04366 | 8.32 |
| 11.5994 | 408.55 | 0.3031 | 7.62290 | 3.33 |
| 13.6102 | 125.78 | 0.5196 | 6.50085 | 1.02 |
| 15.8461 | 8464.75 | 0.0866 | 5.58825 | 68.95 |
| 17.6846 | 217.67 | 0.3464 | 5.01120 | 1.77 |
| 18.3103 | 1483.90 | 0.1082 | 4.84134 | 12.09 |
| 19.8595 | 3678.29 | 0.3031 | 4.46704 | 29.96 |
| 20.9558 | 992.23 | 0.1299 | 4.23575 | 8.08 |
| 21.3446 | 827.52 | 0.2598 | 4.15946 | 6.74 |
| 22.5125 | 136.73 | 0.1299 | 3.94627 | 1.11 |
| 23.0565 | 680.53 | 0.1082 | 3.85437 | 5.54 |
| 23.5094 | 1368.12 | 0.0866 | 3.78113 | 11.14 |
| 24.2952 | 570.63 | 0.1299 | 3.66058 | 4.65 |
| 25.9915 | 12277.04 | 0.1299 | 3.42540 | 100.00 |
| 26.7971 | 1490.11 | 0.0866 | 3.32421 | 12.14 |
| 27.0998 | 996.15 | 0.1082 | 3.28778 | 8.11 |
| 27.6122 | 943.76 | 0.1082 | 3.22791 | 7.69 |
| 29.3960 | 6495.65 | 0.1082 | 3.03597 | 52.91 |
| 29.7740 | 689.04 | 0.1082 | 2.99828 | 5.61 |
| 30.5812 | 5508.02 | 0.1082 | 2.92096 | 44.86 |
| 31.6947 | 2704.82 | 0.0758 | 2.82083 | 22.03 |
| 33.3157 | 1521.14 | 0.0758 | 2.68719 | 12.39 |
| 34.3470 | 1627.64 | 0.2165 | 2.60883 | 13.26 |
| 34.7601 | 2733.21 | 0.2165 | 2.57877 | 22.26 |
| 35.9163 | 2520.05 | 0.1299 | 2.49836 | 20.53 |
| 37.1176 | 1285.45 | 0.1732 | 2.42021 | 10.47 |
| 39.4208 | 1194.92 | 0.1299 | 2.28395 | 9.73 |
| 40.5327 | 802.97 | 0.1732 | 2.22382 | 6.54 |
| 41.6315 | 207.74 | 0.1732 | 2.16763 | 1.69 |
| 43.1775 | 852.00 | 0.1082 | 2.09353 | 6.94 |
| 45.4130 | 1040.79 | 0.0866 | 1.99554 | 8.48 |
| 47.5010 | 882.58 | 0.1732 | 1.91257 | 7.19 |
| 47.8406 | 1140.53 | 0.1082 | 1.89979 | 9.29 |
| 48.4558 | 950.52 | 0.0649 | 1.87710 | 7.74 |
| 48.8443 | 556.19 | 0.1299 | 1.86307 | 4.53 |
| 50.1120 | 1165.48 | 0.0528 | 1.81887 | 9.49 |
| 50.2465 | 578.14 | 0.0396 | 1.81432 | 4.71 |
| 50.7636 | 110.24 | 0.3168 | 1.79704 | 0.90 |
| 52.5820 | 1382.83 | 0.0792 | 1.73910 | 11.26 |
| 53.4461 | 450.11 | 0.2640 | 1.71300 | 3.67 |
| 54.3628 | 598.31 | 0.2112 | 1.68626 | 4.87 |
| 56.4618 | 269.26 | 0.3168 | 1.62845 | 2.19 |
| 57.3970 | 320.54 | 0.2640 | 1.60412 | 2.61 |
| 57.8633 | 480.58 | 0.3168 | 1.59230 | 3.91 |
| 60.6751 | 815.65 | 0.6336 | 1.52506 | 6.64 |
| 61.3519 | 860.21 | 0.4224 | 1.50985 | 7.01 |
| 62.9202 | 197.12 | 0.4224 | 1.47594 | 1.61 |
| 64.7047 | 288.93 | 0.2640 | 1.43948 | 2.35 |
| 66.1593 | 527.64 | 0.2376 | 1.41131 | 4.30 |
| 68.4524 | 150.69 | 0.3168 | 1.36951 | 1.23 |
| 69.1902 | 565.97 | 0.2640 | 1.35670 | 4.61 |
| 72.3836 | 450.31 | 0.4224 | 1.30451 | 3.67 |
| 73.8238 | 321.47 | 0.4224 | 1.28258 | 2.62 |
| 75.2479 | 355.49 | 0.2112 | 1.26180 | 2.90 |
| 75.5921 | 222.28 | 0.8448 | 1.25691 | 1.81 |
| 78.2506 | 395.10 | 0.3168 | 1.22072 | 3.22 |
| 81.1625 | 317.49 | 0.1584 | 1.18412 | 2.59 |
| 83.9196 | 178.21 | 0.3168 | 1.15209 | 1.45 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 01-078-4614 | 51 | Calcium Carbonate | Ca ( C O3 ) | Calcite, syn | 10 |
| * | 01-085-8594 | 35 | Sodium Chloride | Na Cl | Halite | 3 |
| * | 00-034-0159 | 25 | Potassium Magnesium Aluminum Fluoride Silicate Hydroxide | K Mg3 Si3 Al O10 ( F , O H )2 | Phlogopite-1M | 8 |
| * | 04-009-3609 | 20 | Potassium Aluminum Silicon Oxide | K Al Si3 O8 | Orthoclase | 10 |
| * | 04-015-8439 | 14 | Potassium Sodium Calcium Aluminum Silicon Oxide | K0.65 Na0.31 Ca0.04 Al Si2.99 O8 | Sanidine | 10 |
| * | 04-025-0077 | 72 | Sodium Aluminum Silicate Hydrate | Na8 Al8 Si16 O48 ( H2 O )8 | Analcime 1C | 23 |
| * | 04-015-8225 | 21 | Potassium Sodium Magnesium Aluminum Iron Silicon Titanium Oxide Fluoride Hydroxide | K Na0.05 Mg0.07 Ti0.03 Fe0.09 Al2.92 Si2.97 O10.13 ( O H )1.8 F0.07 | Muscovite-2M1 | 31 |
| * | 01-082-8023 | 32 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 5 |

Anchor Scan Parameters

Dataset Name	2 ETOSHA 18 SS 0-2CM S1

File name	C:\aeris_data\XRD data\2 ETOSHA 18 SS 0-2CM S1.xrdml

Sample Identification	2 ETOSHA 18 SS 0-2CM S1

Measurement Start Date/Time	8/22/2023 11:34:21 AM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	5.0064

End Position [°2θ]	84.9874

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.4584

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes