Graphics

Graphics

Graphics

Quantitative Results

Phase Calcium Carbonate

Weight fraction/ %	16.0

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	5.0

Phase Potassium Aluminum Silicate Hydroxide

Weight fraction/ %	50.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	3.0

Phase Silicon Oxide

Weight fraction/ %	4.0

Phase Iron Oxide Hydroxide

Weight fraction/ %	4.0

Phase Potassium Sodium Aluminum Silicate

Weight fraction/ %	17.0

Phase Sodium Chloride

Weight fraction/ %	2.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Calcium Carbonate | Sodium Aluminum Silicate Hydrate | Potassium Aluminum Silicate Hydroxide | Sodium Magnesium Silicon Oxide Hydrate | Silicon Oxide | Iron Oxide Hydroxide | Potassium Sodium Aluminum Silicate | Sodium Chloride |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RS1 | 16.0 | 5.0 | 50.0 | 3.0 | 4.0 | 4.0 | 17.0 | 2.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 6.0000 | 94.0000 | 97.1779 | 94.0000 |
| 6.0200 | 103.0000 | 97.1996 | 93.8643 |
| 6.0400 | 87.0000 | 97.1807 | 93.7286 |
| 6.0600 | 114.0000 | 97.1680 | 93.5929 |
| 6.0800 | 115.0000 | 97.1623 | 93.4572 |
| 6.1000 | 104.0000 | 97.1639 | 93.3214 |
| 6.1200 | 91.0000 | 97.1736 | 93.1857 |
| 6.1400 | 88.0000 | 97.1921 | 93.0500 |
| 6.1600 | 106.0000 | 97.2204 | 92.9143 |
| 6.1800 | 102.0000 | 97.2596 | 92.7786 |
| 6.2000 | 114.0000 | 97.3107 | 92.6429 |
| 6.2200 | 100.0000 | 97.3754 | 92.5072 |
| 6.2400 | 103.0000 | 97.4554 | 92.3715 |
| 6.2600 | 95.0000 | 97.5527 | 92.2357 |
| 6.2800 | 109.0000 | 97.6698 | 92.1000 |
| 6.3000 | 94.0000 | 97.8097 | 91.9643 |
| 6.3200 | 102.0000 | 97.9680 | 91.8286 |
| 6.3400 | 100.0000 | 98.1496 | 91.6700 |
| 6.3600 | 104.0000 | 98.3587 | 91.5114 |
| 6.3800 | 115.0000 | 98.6088 | 91.3529 |
| 6.4000 | 104.0000 | 98.9068 | 91.1943 |
| 6.4200 | 96.0000 | 99.2603 | 91.0357 |
| 6.4400 | 114.0000 | 99.6781 | 90.8771 |
| 6.4600 | 107.0000 | 100.1705 | 90.7186 |
| 6.4800 | 126.0000 | 100.7488 | 90.5600 |
| 6.5000 | 116.0000 | 101.4256 | 90.4014 |
| 6.5200 | 121.0000 | 102.2148 | 90.2428 |
| 6.5400 | 104.0000 | 103.1315 | 90.0843 |
| 6.5600 | 140.0000 | 104.1920 | 89.9257 |
| 6.5800 | 133.0000 | 105.4132 | 89.7671 |
| 6.6000 | 118.0000 | 106.8128 | 89.6085 |
| 6.6200 | 132.0000 | 108.4087 | 89.4500 |
| 6.6400 | 146.0000 | 110.2107 | 89.2914 |
| 6.6600 | 158.0000 | 112.2364 | 89.1093 |
| 6.6800 | 151.0000 | 114.5012 | 88.9271 |
| 6.7000 | 164.0000 | 117.0273 | 88.7450 |
| 6.7200 | 165.0000 | 119.8263 | 88.5629 |
| 6.7400 | 145.0000 | 122.9065 | 88.3807 |
| 6.7600 | 153.0000 | 126.2724 | 88.1986 |
| 6.7800 | 166.0000 | 129.9238 | 88.0165 |
| 6.8000 | 183.0000 | 133.8546 | 87.8343 |
| 6.8200 | 162.0000 | 138.0526 | 87.6522 |
| 6.8400 | 183.0000 | 142.4981 | 87.4701 |
| 6.8600 | 185.0000 | 147.1627 | 87.2879 |
| 6.8800 | 196.0000 | 152.0088 | 87.1058 |
| 6.9000 | 192.0000 | 156.9876 | 86.9237 |
| 6.9200 | 174.0000 | 162.0383 | 86.7415 |
| 6.9400 | 172.0000 | 167.0864 | 86.5594 |
| 6.9600 | 178.0000 | 172.0430 | 86.3773 |
| 6.9800 | 190.0000 | 176.8043 | 86.1951 |
| 7.0000 | 179.0000 | 181.2532 | 86.0130 |
| 7.0200 | 182.0000 | 185.2620 | 85.8309 |
| 7.0400 | 205.0000 | 188.6984 | 85.6487 |
| 7.0600 | 186.0000 | 191.4336 | 85.4666 |
| 7.0800 | 188.0000 | 193.3533 | 85.2845 |
| 7.1000 | 184.0000 | 194.3689 | 85.1023 |
| 7.1200 | 184.0000 | 194.4272 | 84.9202 |
| 7.1400 | 172.0000 | 193.5174 | 84.7381 |
| 7.1600 | 159.0000 | 191.6721 | 84.5559 |
| 7.1800 | 173.0000 | 188.9636 | 84.3738 |
| 7.2000 | 171.0000 | 185.4950 | 84.1917 |
| 7.2200 | 146.0000 | 181.3892 | 84.0095 |
| 7.2400 | 139.0000 | 176.7780 | 83.8274 |
| 7.2600 | 154.0000 | 171.7923 | 83.6453 |
| 7.2800 | 173.0000 | 166.5469 | 83.4631 |
| 7.3000 | 141.0000 | 161.1532 | 83.2574 |
| 7.3200 | 143.0000 | 155.7068 | 83.0517 |
| 7.3400 | 142.0000 | 150.2972 | 82.8461 |
| 7.3600 | 108.0000 | 144.9919 | 82.6404 |
| 7.3800 | 105.0000 | 139.8455 | 82.4347 |
| 7.4000 | 92.0000 | 134.9010 | 82.2290 |
| 7.4200 | 102.0000 | 130.1911 | 82.0233 |
| 7.4400 | 126.0000 | 125.7396 | 81.8176 |
| 7.4600 | 127.0000 | 121.5624 | 81.6119 |
| 7.4800 | 116.0000 | 117.6684 | 81.4062 |
| 7.5000 | 93.0000 | 114.0606 | 81.2005 |
| 7.5200 | 86.0000 | 110.7369 | 80.9948 |
| 7.5400 | 104.0000 | 107.6907 | 80.7891 |
| 7.5600 | 113.0000 | 104.9118 | 80.5835 |
| 7.5800 | 89.0000 | 102.3873 | 80.3778 |
| 7.6000 | 105.0000 | 100.0937 | 80.1721 |
| 7.6200 | 84.0000 | 98.0152 | 79.9421 |
| 7.6400 | 103.0000 | 96.1336 | 79.7122 |
| 7.6600 | 106.0000 | 94.4392 | 79.4822 |
| 7.6800 | 98.0000 | 92.9142 | 79.2523 |
| 7.7000 | 103.0000 | 91.5413 | 79.0223 |
| 7.7200 | 94.0000 | 90.3037 | 78.7924 |
| 7.7400 | 73.0000 | 89.1859 | 78.5625 |
| 7.7600 | 90.0000 | 88.1734 | 78.3325 |
| 7.7800 | 76.0000 | 87.2528 | 78.1026 |
| 7.8000 | 93.0000 | 86.4122 | 77.8726 |
| 7.8200 | 89.0000 | 85.6408 | 77.6427 |
| 7.8400 | 76.0000 | 84.9292 | 77.4127 |
| 7.8600 | 77.0000 | 84.2691 | 77.1828 |
| 7.8800 | 84.0000 | 83.6533 | 76.9528 |
| 7.9000 | 80.0000 | 83.0755 | 76.7229 |
| 7.9200 | 80.0000 | 82.5215 | 76.4929 |
| 7.9400 | 85.0000 | 81.9876 | 76.2368 |
| 7.9600 | 84.0000 | 81.4691 | 75.9807 |
| 7.9800 | 75.0000 | 80.9719 | 75.7246 |
| 8.0000 | 72.0000 | 80.4932 | 75.4685 |
| 8.0200 | 73.0000 | 80.0307 | 75.2124 |
| 8.0400 | 83.0000 | 79.5826 | 74.9563 |
| 8.0600 | 93.0000 | 79.1472 | 74.7002 |
| 8.0800 | 72.0000 | 78.7233 | 74.4440 |
| 8.1000 | 64.0000 | 78.3096 | 74.1879 |
| 8.1200 | 86.0000 | 77.9052 | 73.9318 |
| 8.1400 | 69.0000 | 77.5093 | 73.6757 |
| 8.1600 | 74.0000 | 77.1211 | 73.4196 |
| 8.1800 | 71.0000 | 76.7401 | 73.1635 |
| 8.2000 | 94.0000 | 76.3656 | 72.9074 |
| 8.2200 | 70.0000 | 75.9972 | 72.6513 |
| 8.2400 | 83.0000 | 75.6244 | 72.3951 |
| 8.2600 | 75.0000 | 75.2475 | 72.1095 |
| 8.2800 | 72.0000 | 74.8655 | 71.8239 |
| 8.3000 | 66.0000 | 74.4881 | 71.5382 |
| 8.3200 | 87.0000 | 74.1150 | 71.2526 |
| 8.3400 | 57.0000 | 73.7460 | 70.9669 |
| 8.3600 | 72.0000 | 73.3808 | 70.6813 |
| 8.3800 | 83.0000 | 73.0193 | 70.3956 |
| 8.4000 | 82.0000 | 72.6611 | 70.1100 |
| 8.4200 | 89.0000 | 72.3061 | 69.8243 |
| 8.4400 | 104.0000 | 71.9542 | 69.5387 |
| 8.4600 | 92.0000 | 71.6051 | 69.2531 |
| 8.4800 | 80.0000 | 71.2587 | 68.9674 |
| 8.5000 | 74.0000 | 70.9149 | 68.6818 |
| 8.5200 | 68.0000 | 70.5735 | 68.3961 |
| 8.5400 | 80.0000 | 70.2344 | 68.1105 |
| 8.5600 | 76.0000 | 69.8877 | 67.8248 |
| 8.5800 | 93.0000 | 69.5341 | 67.5105 |
| 8.6000 | 75.0000 | 69.1726 | 67.1962 |
| 8.6200 | 85.0000 | 68.8130 | 66.8820 |
| 8.6400 | 100.0000 | 68.4552 | 66.5677 |
| 8.6600 | 80.0000 | 68.0991 | 66.2534 |
| 8.6800 | 70.0000 | 67.7446 | 65.9391 |
| 8.7000 | 73.0000 | 67.3917 | 65.6248 |
| 8.7200 | 72.0000 | 67.0402 | 65.3105 |
| 8.7400 | 97.0000 | 66.6902 | 64.9962 |
| 8.7600 | 79.0000 | 66.3415 | 64.6819 |
| 8.7800 | 76.0000 | 65.9941 | 64.3676 |
| 8.8000 | 88.0000 | 65.6479 | 64.0533 |
| 8.8200 | 92.0000 | 65.3029 | 63.7390 |
| 8.8400 | 72.0000 | 64.9591 | 63.4247 |
| 8.8600 | 78.0000 | 64.6163 | 63.1104 |
| 8.8800 | 86.0000 | 64.2653 | 62.7961 |
| 8.9000 | 95.0000 | 63.9070 | 62.4550 |
| 8.9200 | 71.0000 | 63.5403 | 62.1139 |
| 8.9400 | 61.0000 | 63.1747 | 61.7727 |
| 8.9600 | 81.0000 | 62.8098 | 61.4316 |
| 8.9800 | 78.0000 | 62.4459 | 61.0905 |
| 9.0000 | 71.0000 | 62.0828 | 60.7493 |
| 9.0200 | 75.0000 | 61.7204 | 60.4082 |
| 9.0400 | 86.0000 | 61.3588 | 60.0671 |
| 9.0600 | 74.0000 | 60.9980 | 59.7259 |
| 9.0800 | 61.0000 | 60.6379 | 59.3848 |
| 9.1000 | 65.0000 | 60.2784 | 59.0437 |
| 9.1200 | 70.0000 | 59.9197 | 58.7025 |
| 9.1400 | 62.0000 | 59.5615 | 58.3614 |
| 9.1600 | 71.0000 | 59.2040 | 58.0203 |
| 9.1800 | 56.0000 | 58.8471 | 57.6791 |
| 9.2000 | 72.0000 | 58.4822 | 57.3380 |
| 9.2200 | 73.0000 | 58.1101 | 56.9719 |
| 9.2400 | 87.0000 | 57.7299 | 56.6058 |
| 9.2600 | 61.0000 | 57.3503 | 56.2397 |
| 9.2800 | 60.0000 | 56.9712 | 55.8736 |
| 9.3000 | 50.0000 | 56.5925 | 55.5075 |
| 9.3200 | 66.0000 | 56.2144 | 55.1414 |
| 9.3400 | 61.0000 | 55.8368 | 54.7753 |
| 9.3600 | 53.0000 | 55.4596 | 54.4092 |
| 9.3800 | 60.0000 | 55.0829 | 54.0431 |
| 9.4000 | 69.0000 | 54.7067 | 53.6770 |
| 9.4200 | 45.0000 | 54.3309 | 53.3109 |
| 9.4400 | 69.0000 | 53.9555 | 52.9449 |
| 9.4600 | 59.0000 | 53.5805 | 52.5788 |
| 9.4800 | 57.0000 | 53.2059 | 52.2127 |
| 9.5000 | 57.0000 | 52.8318 | 51.8466 |
| 9.5200 | 47.0000 | 52.5160 | 51.4805 |
| 9.5400 | 56.0000 | 52.2538 | 51.2834 |
| 9.5600 | 41.0000 | 52.0499 | 51.0864 |
| 9.5800 | 53.0000 | 51.8463 | 50.8894 |
| 9.6000 | 63.0000 | 51.6432 | 50.6924 |
| 9.6200 | 56.0000 | 51.4404 | 50.4954 |
| 9.6400 | 62.0000 | 51.2380 | 50.2983 |
| 9.6600 | 61.0000 | 51.0360 | 50.1013 |
| 9.6800 | 46.0000 | 50.8343 | 49.9043 |
| 9.7000 | 55.0000 | 50.6330 | 49.7073 |
| 9.7200 | 48.0000 | 50.4320 | 49.5103 |
| 9.7400 | 49.0000 | 50.2314 | 49.3132 |
| 9.7600 | 48.0000 | 50.0312 | 49.1162 |
| 9.7800 | 61.0000 | 49.8313 | 48.9192 |
| 9.8000 | 53.0000 | 49.6318 | 48.7222 |
| 9.8200 | 41.0000 | 49.4326 | 48.5251 |
| 9.8400 | 50.0000 | 49.2767 | 48.3281 |
| 9.8600 | 52.0000 | 49.1607 | 48.2565 |
| 9.8800 | 46.0000 | 49.0879 | 48.1849 |
| 9.9000 | 55.0000 | 49.0156 | 48.1132 |
| 9.9200 | 53.0000 | 48.9436 | 48.0416 |
| 9.9400 | 57.0000 | 48.8720 | 47.9700 |
| 9.9600 | 51.0000 | 48.8007 | 47.8983 |
| 9.9800 | 58.0000 | 48.7298 | 47.8267 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | RS1 | 6.0000 | 55.0000 | 0.0200 | 9/25/2019 12:23:00 PM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 7.1090 | 97.75 | 0.5510 | 12.42452 | 8.97 |
| 11.8561 | 11.89 | 0.9446 | 7.45840 | 1.09 |
| 15.9765 | 324.77 | 0.0787 | 5.54292 | 29.78 |
| 18.4104 | 62.63 | 0.1181 | 4.81525 | 5.74 |
| 19.9758 | 154.72 | 0.4723 | 4.44129 | 14.19 |
| 21.4291 | 35.51 | 0.4723 | 4.14325 | 3.26 |
| 23.6003 | 61.57 | 0.1968 | 3.76676 | 5.65 |
| 26.1422 | 710.38 | 0.1968 | 3.40599 | 65.15 |
| 26.7444 | 1090.39 | 0.1181 | 3.33065 | 100.00 |
| 29.5468 | 513.64 | 0.1574 | 3.02081 | 47.11 |
| 30.7108 | 404.44 | 0.1771 | 2.90892 | 37.09 |
| 31.8249 | 80.32 | 0.1181 | 2.80959 | 7.37 |
| 33.4352 | 108.89 | 0.1574 | 2.67786 | 9.99 |
| 34.8569 | 235.06 | 0.7085 | 2.57183 | 21.56 |
| 36.1098 | 261.47 | 0.1968 | 2.48541 | 23.98 |
| 37.2478 | 125.85 | 0.2362 | 2.41205 | 11.54 |
| 39.5557 | 107.27 | 0.1968 | 2.27647 | 9.84 |
| 40.7581 | 76.51 | 0.3149 | 2.21204 | 7.02 |
| 43.2932 | 111.61 | 0.1574 | 2.08821 | 10.24 |
| 45.5385 | 62.96 | 0.2362 | 1.99033 | 5.77 |
| 47.6093 | 129.62 | 0.1181 | 1.90848 | 11.89 |
| 47.9588 | 131.16 | 0.1968 | 1.89538 | 12.03 |
| 48.5973 | 143.71 | 0.1574 | 1.87196 | 13.18 |
| 50.8666 | 21.34 | 0.4723 | 1.79365 | 1.96 |
| 52.6906 | 182.30 | 0.2755 | 1.73577 | 16.72 |
| 53.5962 | 42.19 | 0.2362 | 1.70856 | 3.87 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 01-072-4582 | 49 | Calcium Carbonate | Ca ( C O3 ) | Calcite | 16 |
| * | 00-041-1478 | 40 | Sodium Aluminum Silicate Hydrate | Na ( Si2 Al ) O6 · H2 O | Analcime | 5 |
| * | 04-011-5240 | 15 | Potassium Aluminum Silicate Hydroxide | K Al3 Si3 O10 ( O H )2 | Muscovite-2M1 | 50 |
| * | 01-082-8023 | 10 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 3 |
| * | 01-070-3755 | 15 | Silicon Oxide | Si O2 | Quartz | 4 |
| * | 01-073-9835 | 5 | Iron Oxide Hydroxide | Fe O ( O H ) | Goethite | 4 |
| * | 01-076-2756 | 12 | Potassium Sodium Aluminum Silicate | ( K0.8 Na0.2 ) ( Al Si3 O8 ) | Sanidine | 17 |
| * | 01-071-3741 | 21 | Sodium Chloride | Na Cl | Halite | 2 |

Anchor Scan Parameters

Dataset Name	RS1

File name	E:\xrd\XRD\Goldstien\Namibia\RS1.MDI

Comment	RS1, Bulk, lt 2mm, Etosha pan, Namibia, Goldstein

Measurement Start Date/Time	9/25/2019 12:23:00 PM

Raw Data Origin	Jade ASCII (scan) (.MDI)

Scan Axis	Gonio

Start Position [°2θ]	6.0000

End Position [°2θ]	55.0000

Step Size [°2θ]	0.0200

Scan Step Time [s]	1.0000

Scan Type	Pre-set time

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	1.0000

Specimen Length [mm]	10.00

Receiving Slit Size [mm]	0.1000

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	0 mA, 0 kV

Diffractometer Number	0

Goniometer Radius [mm]	240.00

Dist. Focus-Diverg. Slit [mm]	91.00

Incident Beam Monochromator	No

Spinning	No