11 Etosha 22 Msub 10-15 cm S1 400 C

Graphics

Graphics

Graphics

Quantitative Results

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	38.0

Phase Potassium Magnesium Aluminum Iron Silicon Titanium Oxide

Weight fraction/ %	27.0

Phase Magnesium Aluminum Iron Silicon Oxide Hydroxide Hydrate

Weight fraction/ %	21.0

Phase Magnesium Aluminum Iron Silicate Hydroxide Hydrate

Weight fraction/ %	9.0

Phase Uranyl Aluminum Phosphate Hydroxide Hydrate

Weight fraction/ %	5.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Sodium Aluminum Silicate Hydrate | Potassium Magnesium Aluminum Iron Silicon Titanium Oxide | Magnesium Aluminum Iron Silicon Oxide Hydroxide Hydrate | Magnesium Aluminum Iron Silicate Hydroxide Hydrate | Uranyl Aluminum Phosphate Hydroxide Hydrate | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide |
| --- | --- | --- | --- | --- | --- | --- |
| 11 Etosha22 Msub 10-15cm S1 heat400c | 38.0 | 27.0 | 21.0 | 9.0 | 5.0 | 0.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 2.0054 | 5458.0000 | 5449.2665 | 5458.0000 |
| 2.0164 | 5485.9307 | 5419.5372 | 5419.5372 |
| 2.0274 | 5398.4513 | 5381.0744 | 5381.0744 |
| 2.0384 | 5330.6209 | 5342.6116 | 5342.6116 |
| 2.0494 | 5171.4238 | 5304.1487 | 5304.1487 |
| 2.0604 | 5307.3181 | 5265.6859 | 5265.6859 |
| 2.0714 | 5189.1888 | 5227.2231 | 5227.2231 |
| 2.0824 | 5179.3441 | 5188.7603 | 5188.7603 |
| 2.0934 | 5174.3471 | 5150.2975 | 5150.2975 |
| 2.1044 | 5111.0398 | 5111.8347 | 5111.8347 |
| 2.1154 | 5203.7414 | 5073.3719 | 5073.3719 |
| 2.1264 | 4955.6809 | 5034.9090 | 5034.9090 |
| 2.1374 | 5014.2655 | 4996.4462 | 4996.4462 |
| 2.1484 | 4954.4848 | 4957.9834 | 4957.9834 |
| 2.1594 | 4932.2144 | 4919.5206 | 4919.5206 |
| 2.1704 | 4909.5752 | 4881.0578 | 4881.0578 |
| 2.1814 | 4852.0452 | 4842.5950 | 4842.5950 |
| 2.1924 | 4727.7153 | 4805.3720 | 4804.1322 |
| 2.2034 | 4822.7611 | 4771.1296 | 4771.1296 |
| 2.2144 | 4746.8323 | 4738.1270 | 4738.1270 |
| 2.2254 | 4722.8427 | 4705.1245 | 4705.1245 |
| 2.2364 | 4666.1622 | 4672.1219 | 4672.1219 |
| 2.2474 | 4675.3215 | 4639.1194 | 4639.1194 |
| 2.2584 | 4658.0211 | 4606.1168 | 4606.1168 |
| 2.2694 | 4632.0560 | 4573.1143 | 4573.1143 |
| 2.2804 | 4578.3127 | 4540.1117 | 4540.1117 |
| 2.2914 | 4533.8889 | 4507.1092 | 4507.1092 |
| 2.3024 | 4424.8097 | 4474.1066 | 4474.1066 |
| 2.3134 | 4409.5575 | 4441.1041 | 4441.1041 |
| 2.3244 | 4495.0890 | 4408.1015 | 4408.1015 |
| 2.3354 | 4420.7404 | 4375.0989 | 4375.0989 |
| 2.3464 | 4285.1839 | 4342.0964 | 4342.0964 |
| 2.3574 | 4249.8122 | 4309.0938 | 4309.0938 |
| 2.3684 | 4248.4956 | 4276.0913 | 4276.0913 |
| 2.3794 | 4227.5959 | 4246.5203 | 4243.0887 |
| 2.3904 | 4273.4302 | 4225.1992 | 4225.1992 |
| 2.4014 | 4247.8938 | 4207.3096 | 4207.3096 |
| 2.4124 | 4202.7212 | 4189.4201 | 4189.4201 |
| 2.4234 | 4169.3176 | 4171.5306 | 4171.5306 |
| 2.4344 | 4174.3643 | 4153.6410 | 4153.6410 |
| 2.4454 | 4135.1534 | 4135.7515 | 4135.7515 |
| 2.4564 | 4105.8186 | 4117.8619 | 4117.8619 |
| 2.4674 | 4099.0236 | 4099.9724 | 4099.9724 |
| 2.4784 | 4050.2434 | 4082.0828 | 4082.0828 |
| 2.4894 | 4050.3265 | 4064.1933 | 4064.1933 |
| 2.5004 | 4023.0265 | 4046.3037 | 4046.3037 |
| 2.5114 | 4027.9656 | 4028.4142 | 4028.4142 |
| 2.5224 | 4052.1554 | 4010.5247 | 4010.5247 |
| 2.5334 | 3974.5339 | 3992.6351 | 3992.6351 |
| 2.5444 | 3967.5787 | 3974.7456 | 3974.7456 |
| 2.5554 | 3913.5772 | 3956.8560 | 3956.8560 |
| 2.5664 | 3979.1003 | 3938.9665 | 3938.9665 |
| 2.5774 | 4003.9823 | 3921.0769 | 3921.0769 |
| 2.5884 | 3953.8972 | 3903.1874 | 3903.1874 |
| 2.5994 | 3883.2566 | 3885.2978 | 3885.2978 |
| 2.6104 | 3859.4081 | 3867.4083 | 3867.4083 |
| 2.6214 | 3798.6765 | 3849.5188 | 3849.5188 |
| 2.6324 | 3818.3407 | 3831.6292 | 3831.6292 |
| 2.6434 | 3765.5732 | 3813.7397 | 3813.7397 |
| 2.6544 | 3766.4572 | 3795.8501 | 3795.8501 |
| 2.6654 | 3832.5723 | 3777.9606 | 3777.9606 |
| 2.6764 | 3756.7812 | 3760.0710 | 3760.0710 |
| 2.6874 | 3738.7168 | 3742.1815 | 3742.1815 |
| 2.6984 | 3746.0973 | 3724.3577 | 3724.2919 |
| 2.7094 | 3742.2802 | 3706.5368 | 3706.4024 |
| 2.7204 | 3719.4292 | 3688.6660 | 3688.5129 |
| 2.7314 | 3674.2507 | 3670.7777 | 3670.6233 |
| 2.7424 | 3701.2340 | 3652.8895 | 3652.7338 |
| 2.7534 | 3622.0777 | 3636.0660 | 3634.8442 |
| 2.7644 | 3574.4690 | 3621.8020 | 3621.6435 |
| 2.7754 | 3611.1583 | 3608.6026 | 3608.4428 |
| 2.7864 | 3642.4346 | 3595.4033 | 3595.2421 |
| 2.7974 | 3562.8141 | 3582.2040 | 3582.0414 |
| 2.8084 | 3532.2606 | 3569.0047 | 3568.8406 |
| 2.8194 | 3660.0639 | 3555.8055 | 3555.6399 |
| 2.8304 | 3543.0221 | 3542.6062 | 3542.4392 |
| 2.8414 | 3503.0423 | 3529.4070 | 3529.2385 |
| 2.8524 | 3579.5521 | 3516.2078 | 3516.0378 |
| 2.8634 | 3512.0973 | 3503.0086 | 3502.8370 |
| 2.8744 | 3436.1755 | 3489.8095 | 3489.6363 |
| 2.8854 | 3470.3815 | 3476.6103 | 3476.4356 |
| 2.8964 | 3451.0885 | 3463.4112 | 3463.2349 |
| 2.9074 | 3546.0324 | 3450.2121 | 3450.0342 |
| 2.9184 | 3423.7380 | 3437.0130 | 3436.8334 |
| 2.9294 | 3416.7109 | 3423.8140 | 3423.6327 |
| 2.9404 | 3588.2080 | 3410.5969 | 3410.4320 |
| 2.9514 | 3604.4759 | 3397.3364 | 3397.1517 |
| 2.9624 | 3439.9292 | 3384.0578 | 3383.8714 |
| 2.9734 | 3341.2458 | 3370.7793 | 3370.5911 |
| 2.9844 | 3322.4759 | 3357.5008 | 3357.3108 |
| 2.9954 | 3532.3274 | 3344.2223 | 3344.0305 |
| 3.0064 | 3389.8673 | 3330.9438 | 3330.7502 |
| 3.0174 | 3362.4916 | 3317.6654 | 3317.4699 |
| 3.0284 | 3290.2920 | 3304.3870 | 3304.1896 |
| 3.0394 | 3297.0462 | 3291.1086 | 3290.9093 |
| 3.0504 | 3217.4710 | 3277.8302 | 3277.6290 |
| 3.0614 | 3327.1622 | 3264.5519 | 3264.3487 |
| 3.0724 | 3294.4621 | 3251.2736 | 3251.0684 |
| 3.0834 | 3292.4995 | 3237.9954 | 3237.7881 |
| 3.0944 | 3298.5088 | 3224.7171 | 3224.5078 |
| 3.1054 | 3232.7148 | 3211.4389 | 3211.2275 |
| 3.1164 | 3175.8638 | 3198.1608 | 3197.9472 |
| 3.1274 | 3227.8702 | 3184.8826 | 3184.6669 |
| 3.1384 | 3149.4041 | 3171.6045 | 3171.3866 |
| 3.1494 | 3163.3658 | 3158.3264 | 3158.1063 |
| 3.1604 | 3183.6873 | 3145.0484 | 3144.8260 |
| 3.1714 | 3104.5831 | 3131.7704 | 3131.5457 |
| 3.1824 | 3074.1091 | 3118.4924 | 3118.2654 |
| 3.1934 | 3109.9469 | 3105.2145 | 3104.9851 |
| 3.2044 | 3159.7261 | 3091.9366 | 3091.7048 |
| 3.2154 | 3093.1278 | 3078.6588 | 3078.4245 |
| 3.2264 | 3034.6327 | 3065.3810 | 3065.1442 |
| 3.2374 | 2994.3343 | 3052.1032 | 3051.8639 |
| 3.2484 | 3007.9444 | 3038.8254 | 3038.5836 |
| 3.2594 | 2957.5664 | 3025.5477 | 3025.3033 |
| 3.2704 | 3053.9907 | 3012.2701 | 3012.0230 |
| 3.2814 | 3016.0767 | 2998.9925 | 2998.7427 |
| 3.2924 | 2949.0089 | 2985.7149 | 2985.4623 |
| 3.3034 | 2949.4435 | 2972.4374 | 2972.1820 |
| 3.3144 | 2984.8009 | 2959.5570 | 2958.9017 |
| 3.3254 | 2955.3628 | 2947.6310 | 2947.3699 |
| 3.3364 | 2921.9789 | 2936.1021 | 2935.8381 |
| 3.3474 | 2949.0334 | 2924.5732 | 2924.3062 |
| 3.3584 | 2883.2684 | 2913.0444 | 2912.7744 |
| 3.3694 | 2908.0295 | 2901.5157 | 2901.2426 |
| 3.3804 | 2945.1268 | 2889.9870 | 2889.7107 |
| 3.3914 | 2916.9911 | 2878.4583 | 2878.1789 |
| 3.4024 | 2896.8294 | 2866.9297 | 2866.6471 |
| 3.4134 | 2873.0826 | 2855.4012 | 2855.1153 |
| 3.4244 | 2895.8894 | 2843.8727 | 2843.5834 |
| 3.4354 | 2856.2379 | 2832.3443 | 2832.0516 |
| 3.4464 | 2804.6785 | 2820.8159 | 2820.5198 |
| 3.4574 | 2790.0413 | 2809.2876 | 2808.9879 |
| 3.4684 | 2792.2512 | 2797.7594 | 2797.4561 |
| 3.4794 | 2857.1711 | 2786.2312 | 2785.9243 |
| 3.4904 | 2828.6858 | 2774.7031 | 2774.3924 |
| 3.5014 | 2832.5939 | 2763.1751 | 2762.8606 |
| 3.5124 | 2846.5806 | 2751.6471 | 2751.3288 |
| 3.5234 | 2795.5723 | 2740.1193 | 2739.7969 |
| 3.5344 | 2737.1603 | 2728.5914 | 2728.2651 |
| 3.5454 | 2716.9548 | 2717.0637 | 2716.7333 |
| 3.5564 | 2761.1814 | 2705.5360 | 2705.2014 |
| 3.5674 | 2732.5349 | 2694.0084 | 2693.6696 |
| 3.5784 | 2704.1204 | 2682.4809 | 2682.1378 |
| 3.5894 | 2656.1150 | 2670.9535 | 2670.6059 |
| 3.6004 | 2750.1618 | 2659.4262 | 2659.0741 |
| 3.6114 | 2677.5103 | 2647.8989 | 2647.5423 |
| 3.6224 | 2601.7861 | 2636.3718 | 2636.0104 |
| 3.6334 | 2718.5949 | 2624.8447 | 2624.4786 |
| 3.6444 | 2550.7974 | 2613.3178 | 2612.9468 |
| 3.6554 | 2567.5251 | 2601.7909 | 2601.4149 |
| 3.6664 | 2618.2296 | 2590.2641 | 2589.8831 |
| 3.6774 | 2549.4631 | 2578.7374 | 2578.3513 |
| 3.6884 | 2632.2168 | 2567.3461 | 2566.8194 |
| 3.6994 | 2469.1140 | 2556.2801 | 2555.8833 |
| 3.7104 | 2581.9568 | 2545.3495 | 2544.9472 |
| 3.7214 | 2576.7345 | 2534.4190 | 2534.0111 |
| 3.7324 | 2526.6558 | 2523.4886 | 2523.0749 |
| 3.7434 | 2466.4808 | 2512.5583 | 2512.1388 |
| 3.7544 | 2521.2109 | 2501.6281 | 2501.2027 |
| 3.7654 | 2519.1672 | 2490.6981 | 2490.2666 |
| 3.7764 | 2549.3447 | 2479.7682 | 2479.3304 |
| 3.7874 | 2501.4336 | 2468.8384 | 2468.3943 |
| 3.7984 | 2503.1101 | 2457.9088 | 2457.4582 |
| 3.8094 | 2534.6224 | 2446.9793 | 2446.5221 |
| 3.8204 | 2509.1224 | 2436.0500 | 2435.5859 |
| 3.8314 | 2443.1937 | 2425.1208 | 2424.6498 |
| 3.8424 | 2425.8412 | 2414.1918 | 2413.7137 |
| 3.8534 | 2453.7433 | 2403.2629 | 2402.7776 |
| 3.8644 | 2376.5334 | 2392.3342 | 2391.8414 |
| 3.8754 | 2360.6106 | 2381.9757 | 2380.9053 |
| 3.8864 | 2380.8673 | 2372.9876 | 2372.4794 |
| 3.8974 | 2401.4267 | 2364.5696 | 2364.0535 |
| 3.9084 | 2303.7075 | 2356.1519 | 2355.6276 |
| 3.9194 | 2364.7640 | 2347.7343 | 2347.2017 |
| 3.9304 | 2396.8500 | 2339.3170 | 2338.7758 |
| 3.9414 | 2308.1219 | 2330.8998 | 2330.3499 |
| 3.9524 | 2307.7669 | 2322.4829 | 2321.9240 |
| 3.9634 | 2260.0708 | 2314.0661 | 2313.4981 |
| 3.9744 | 2295.6067 | 2305.6497 | 2305.0722 |
| 3.9854 | 2323.0265 | 2297.2334 | 2296.6463 |
| 3.9964 | 2257.6008 | 2288.8174 | 2288.2204 |
| 4.0074 | 2343.8239 | 2280.4016 | 2279.7945 |
| 4.0184 | 2267.1608 | 2271.9861 | 2271.3686 |
| 4.0294 | 2326.8751 | 2263.5709 | 2262.9427 |
| 4.0404 | 2266.3845 | 2255.1559 | 2254.5169 |
| 4.0514 | 2329.5575 | 2246.7412 | 2246.0910 |
| 4.0624 | 2283.0211 | 2238.2979 | 2237.6651 |
| 4.0734 | 2241.4287 | 2229.7850 | 2229.1114 |
| 4.0844 | 2258.0177 | 2221.2435 | 2220.5577 |
| 4.0954 | 2244.3884 | 2212.7023 | 2212.0041 |
| 4.1064 | 2242.4921 | 2204.1615 | 2203.4504 |
| 4.1174 | 2193.9233 | 2195.6210 | 2194.8967 |
| 4.1284 | 2159.2522 | 2187.0809 | 2186.3431 |
| 4.1394 | 2132.1534 | 2178.5411 | 2177.7894 |
| 4.1504 | 2137.5708 | 2170.0018 | 2169.2357 |
| 4.1614 | 2163.8614 | 2161.4629 | 2160.6821 |
| 4.1724 | 2176.3038 | 2152.9244 | 2152.1284 |
| 4.1834 | 2156.3363 | 2144.3863 | 2143.5747 |
| 4.1944 | 2156.6490 | 2135.8487 | 2135.0211 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 11 Etosha22 Msub 10-15cm S1 heat400c | 2.0054 | 29.9894 | 0.0110 | 12/4/2023 12:33:18 PM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 5.2917 | 106.78 | 0.2598 | 16.68676 | 6.71 |
| 7.1714 | 1590.84 | 0.1299 | 12.31658 | 100.00 |
| 8.7833 | 503.13 | 0.1515 | 10.05958 | 31.63 |
| 13.2459 | 26.00 | 0.1515 | 6.67881 | 1.63 |
| 15.8280 | 553.00 | 0.1082 | 5.59457 | 34.76 |
| 17.6542 | 45.83 | 0.2598 | 5.01975 | 2.88 |
| 18.2728 | 65.64 | 0.1299 | 4.85119 | 4.13 |
| 19.8013 | 28.46 | 0.6927 | 4.48005 | 1.79 |
| 23.4875 | 27.77 | 0.3464 | 3.78461 | 1.75 |
| 25.9833 | 375.13 | 0.1515 | 3.42646 | 23.58 |
| 26.7958 | 179.07 | 0.1515 | 3.32437 | 11.26 |
| 27.5527 | 112.77 | 0.2165 | 3.23475 | 7.09 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 01-083-1730 | 65 | Sodium Aluminum Silicate Hydrate | Na14.96 Al15.36 Si32.64 O96 ( H2 O )16 | Analcime | 38 |
| * | 04-012-1348 | 56 | Potassium Magnesium Aluminum Iron Silicon Titanium Oxide | K0.9 Mg1.4 Ti0.25 Fe1.2 Al Si3 O12 | Phlogopite-1M, Fe+2-bearing | 27 |
| * | 04-017-9668 | 27 | Magnesium Aluminum Iron Silicon Oxide Hydroxide Hydrate | Mg3.84 Ti0.005 Fe0.03 Al0.07 Si6 O15 ( O H )2 ( H2 O )5 | Sepiolite | 21 |
| * | 01-076-7133 | 25 | Magnesium Aluminum Iron Silicate Hydroxide Hydrate | ( Mg2.09 Al1.92 Fe0.11 ) ( ( Si7.8 Al0.2 ) ( H2 O )4 O20 ) ( O H )2 ( H2 O )4.48 | Palygorskite-M | 9 |
| * | 04-024-3136 | 53 | Uranyl Aluminum Phosphate Hydroxide Hydrate | ( U O2 )4 Al4 ( P O4 )6 ( O H )2 ( H2 O )19.5 | Furongite | 5 |
| * | 04-025-4215 | No Matching Lines | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Mg10.4 V0.36 Mn33.5 Fe0.14 Al0.69 Si6.77 As6.5 P0.3 O54 ( O H )42 | Carlfrancisite | - |

Anchor Scan Parameters

Dataset Name	11 Etosha22 Msub 10-15cm S1 heat400c

File name	C:\aeris_data\XRD data\Goldstein\Etosha 2023\Etosha Clay Data\Sample 11\11 Etosha22 Msub 10-15cm S1 heat400c.xrdml

Sample Identification	11 Etosha22 Msub 10-15cm S1 heat400c

Measurement Start Date/Time	12/4/2023 12:33:18 PM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	2.0054

End Position [°2θ]	29.9894

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.0603

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes