18 Etosha 22 SSCrt 0-0.5 cm S4 GLYCOL REPORT

Graphics

Graphics

Graphics

Quantitative Results

Phase Tin Oxide

Weight fraction/ %	2.0

Phase Titanium Oxide

Weight fraction/ %	4.0

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	10.0

Phase Potassium Magnesium Manganese Iron Aluminum Silicate Hydroxide

Weight fraction/ %	14.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	10.0

Phase Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide

Weight fraction/ %	35.0

Phase Potassium Magnesium Aluminum Fluoride Silicate Hydroxide

Weight fraction/ %	25.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Tin Oxide | Titanium Oxide | Sodium Aluminum Silicate Hydrate | Potassium Magnesium Manganese Iron Aluminum Silicate Hydroxide | Sodium Magnesium Silicon Oxide Hydrate | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Potassium Magnesium Aluminum Fluoride Silicate Hydroxide |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 18 Etosha22 SSCrt 0-0.5cm S4 glycol | 2.0 | 4.0 | 10.0 | 14.0 | 10.0 | 35.0 | 25.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 2.0054 | 8620.0000 | 8589.7858 | 8620.0000 |
| 2.0164 | 8451.8938 | 8569.7923 | 8557.8936 |
| 2.0274 | 8365.7532 | 8508.0304 | 8495.7872 |
| 2.0384 | 8472.6401 | 8446.2846 | 8433.6808 |
| 2.0494 | 8413.5074 | 8384.5559 | 8371.5744 |
| 2.0604 | 8450.5693 | 8322.8455 | 8309.4681 |
| 2.0714 | 8264.2743 | 8261.1544 | 8247.3617 |
| 2.0824 | 8129.0452 | 8199.4842 | 8185.2553 |
| 2.0934 | 8248.8387 | 8137.8361 | 8123.1489 |
| 2.1044 | 8163.0487 | 8076.2116 | 8061.0425 |
| 2.1154 | 8073.6480 | 8014.6126 | 7998.9361 |
| 2.1264 | 8038.3117 | 7953.0407 | 7936.8297 |
| 2.1374 | 7868.9852 | 7891.4980 | 7874.7233 |
| 2.1484 | 7833.2891 | 7829.9867 | 7812.6169 |
| 2.1594 | 7806.7758 | 7768.5090 | 7750.5106 |
| 2.1704 | 7881.6327 | 7707.0677 | 7688.4042 |
| 2.1814 | 7973.8859 | 7645.6655 | 7626.2978 |
| 2.1924 | 7776.2532 | 7584.1863 | 7564.1914 |
| 2.2034 | 7810.9911 | 7522.8142 | 7501.9076 |
| 2.2144 | 7752.4189 | 7461.3723 | 7439.6239 |
| 2.2254 | 7795.7640 | 7399.9842 | 7377.3401 |
| 2.2364 | 7733.1991 | 7338.6545 | 7315.0564 |
| 2.2474 | 7750.2360 | 7277.3885 | 7252.7726 |
| 2.2584 | 7557.1942 | 7216.1919 | 7190.4889 |
| 2.2694 | 7525.5310 | 7155.0711 | 7128.2051 |
| 2.2804 | 7436.9031 | 7094.0333 | 7065.9214 |
| 2.2914 | 7378.1111 | 7033.0865 | 7003.6376 |
| 2.3024 | 7443.7168 | 6972.2398 | 6941.3539 |
| 2.3134 | 7416.8702 | 6911.5032 | 6879.0701 |
| 2.3244 | 7388.3264 | 6850.8883 | 6816.7864 |
| 2.3354 | 7317.4454 | 6790.4082 | 6754.5026 |
| 2.3464 | 7240.1868 | 6730.0776 | 6692.2189 |
| 2.3574 | 7304.3619 | 6669.9137 | 6629.9351 |
| 2.3684 | 7315.0944 | 6609.9363 | 6567.6514 |
| 2.3794 | 7163.5654 | 6550.0724 | 6505.3676 |
| 2.3904 | 7221.5246 | 6490.4962 | 6442.9404 |
| 2.4014 | 7138.6283 | 6431.0957 | 6380.5131 |
| 2.4124 | 7034.5354 | 6372.0104 | 6318.0859 |
| 2.4234 | 7035.2212 | 6313.2954 | 6255.6587 |
| 2.4344 | 6976.7581 | 6255.0228 | 6193.2314 |
| 2.4454 | 6985.7365 | 6197.2890 | 6130.8042 |
| 2.4564 | 6950.8908 | 6140.2241 | 6068.3769 |
| 2.4674 | 6877.5929 | 6084.0047 | 6005.9497 |
| 2.4784 | 6981.2242 | 6028.8699 | 5943.5225 |
| 2.4894 | 6883.8800 | 5975.1402 | 5881.0952 |
| 2.5004 | 6804.2920 | 5923.2382 | 5818.6680 |
| 2.5114 | 6736.4493 | 5873.7106 | 5756.2407 |
| 2.5224 | 6647.9803 | 5827.2460 | 5693.8135 |
| 2.5334 | 6625.7906 | 5784.6860 | 5631.3863 |
| 2.5444 | 6628.2384 | 5747.0246 | 5568.9590 |
| 2.5554 | 6668.1858 | 5715.3885 | 5506.5318 |
| 2.5664 | 6699.0295 | 5690.9947 | 5444.1045 |
| 2.5774 | 6573.9774 | 5675.0812 | 5381.6773 |
| 2.5884 | 6545.5998 | 5669.2209 | 5319.2501 |
| 2.5994 | 6430.6194 | 5673.9826 | 5256.8228 |
| 2.6104 | 6369.4641 | 5689.7591 | 5194.3956 |
| 2.6214 | 6443.5182 | 5716.8954 | 5131.9683 |
| 2.6324 | 6452.5811 | 5754.6202 | 5069.5411 |
| 2.6434 | 6441.5742 | 5801.7221 | 5007.1139 |
| 2.6544 | 6253.1804 | 5855.6820 | 4944.6866 |
| 2.6654 | 6192.3245 | 5912.6202 | 4882.2594 |
| 2.6764 | 6106.0295 | 5967.0370 | 4819.8321 |
| 2.6874 | 6038.6598 | 6011.7073 | 4757.4049 |
| 2.6984 | 6109.0797 | 6038.0241 | 4694.9777 |
| 2.7094 | 5948.1425 | 6037.1178 | 4632.5504 |
| 2.7204 | 5778.9611 | 6001.7771 | 4570.1232 |
| 2.7314 | 5599.7374 | 5928.5373 | 4507.6959 |
| 2.7424 | 5538.6480 | 5818.8346 | 4445.2687 |
| 2.7534 | 5466.9725 | 5678.4053 | 4382.8415 |
| 2.7644 | 5172.4365 | 5515.7982 | 4320.2707 |
| 2.7754 | 4944.7630 | 5339.7491 | 4257.7000 |
| 2.7864 | 4850.5501 | 5158.2390 | 4195.1293 |
| 2.7974 | 4854.2743 | 4977.5129 | 4132.5585 |
| 2.8084 | 4603.8736 | 4802.1263 | 4069.9878 |
| 2.8194 | 4510.4228 | 4635.1587 | 4007.4171 |
| 2.8304 | 4397.9897 | 4478.4823 | 3944.8463 |
| 2.8414 | 4283.4444 | 4333.0048 | 3882.2756 |
| 2.8524 | 4086.7178 | 4198.8769 | 3819.7049 |
| 2.8634 | 3913.0206 | 4075.6742 | 3757.1342 |
| 2.8744 | 3871.0442 | 3962.5632 | 3694.5634 |
| 2.8854 | 3764.7886 | 3858.4521 | 3631.9927 |
| 2.8964 | 3588.7743 | 3762.1233 | 3569.4220 |
| 2.9074 | 3632.5447 | 3672.3411 | 3506.8512 |
| 2.9184 | 3448.1735 | 3587.9338 | 3444.2805 |
| 2.9294 | 3404.9823 | 3507.8466 | 3381.7098 |
| 2.9404 | 3313.1657 | 3453.3092 | 3319.1391 |
| 2.9514 | 3269.0954 | 3390.0582 | 3289.4744 |
| 2.9624 | 3182.5929 | 3350.9963 | 3259.8097 |
| 2.9734 | 3109.9184 | 3313.5111 | 3230.1450 |
| 2.9844 | 3117.9209 | 3277.2400 | 3200.4803 |
| 2.9954 | 3189.0265 | 3241.9109 | 3170.8156 |
| 3.0064 | 3064.8958 | 3207.3219 | 3141.1509 |
| 3.0174 | 3069.3225 | 3173.3244 | 3111.4862 |
| 3.0284 | 3001.2802 | 3139.8085 | 3081.8215 |
| 3.0394 | 2974.6499 | 3106.6923 | 3052.1569 |
| 3.0504 | 2933.3967 | 3073.9141 | 3022.4922 |
| 3.0614 | 2852.1180 | 3041.4261 | 2992.8275 |
| 3.0724 | 2903.0679 | 3009.1906 | 2963.1628 |
| 3.0834 | 2991.4100 | 2977.1770 | 2933.4981 |
| 3.0944 | 2935.0177 | 2945.3602 | 2903.8334 |
| 3.1054 | 2852.9164 | 2913.7187 | 2874.1687 |
| 3.1164 | 2856.0000 | 2882.2343 | 2844.5040 |
| 3.1274 | 2842.0472 | 2855.6270 | 2814.8393 |
| 3.1384 | 2770.4125 | 2826.7149 | 2792.2138 |
| 3.1494 | 2706.8702 | 2802.6540 | 2769.5883 |
| 3.1604 | 2727.0044 | 2778.6979 | 2746.9627 |
| 3.1714 | 2664.5939 | 2754.8370 | 2724.3372 |
| 3.1824 | 2681.7463 | 2731.0629 | 2701.7117 |
| 3.1934 | 2647.4336 | 2707.3681 | 2679.0861 |
| 3.2044 | 2721.5123 | 2683.7458 | 2656.4606 |
| 3.2154 | 2654.4601 | 2660.1902 | 2633.8351 |
| 3.2264 | 2538.5310 | 2636.6956 | 2611.2096 |
| 3.2374 | 2604.9744 | 2613.2574 | 2588.5840 |
| 3.2484 | 2557.2778 | 2589.8710 | 2565.9585 |
| 3.2594 | 2476.7375 | 2566.5325 | 2543.3330 |
| 3.2704 | 2509.0880 | 2543.2383 | 2520.7074 |
| 3.2814 | 2550.1858 | 2519.9852 | 2498.0819 |
| 3.2924 | 2447.0796 | 2496.7701 | 2475.4564 |
| 3.3034 | 2441.9813 | 2473.5905 | 2452.8308 |
| 3.3144 | 2451.2881 | 2456.4424 | 2430.2053 |
| 3.3254 | 2403.5251 | 2436.2440 | 2416.4959 |
| 3.3364 | 2389.3579 | 2422.0728 | 2402.7865 |
| 3.3474 | 2364.0108 | 2407.9284 | 2389.0771 |
| 3.3584 | 2347.8820 | 2393.8090 | 2375.3677 |
| 3.3694 | 2410.0836 | 2379.7132 | 2361.6583 |
| 3.3804 | 2381.9606 | 2365.6394 | 2347.9489 |
| 3.3914 | 2330.7876 | 2351.5863 | 2334.2395 |
| 3.4024 | 2313.8545 | 2337.5527 | 2320.5301 |
| 3.4134 | 2367.6952 | 2323.5375 | 2306.8207 |
| 3.4244 | 2297.0811 | 2309.5395 | 2293.1113 |
| 3.4354 | 2272.9469 | 2295.5579 | 2279.4019 |
| 3.4464 | 2241.2935 | 2281.5918 | 2265.6925 |
| 3.4574 | 2247.6401 | 2267.6403 | 2251.9831 |
| 3.4684 | 2283.9041 | 2253.7027 | 2238.2737 |
| 3.4794 | 2250.0619 | 2239.7782 | 2224.5643 |
| 3.4904 | 2234.2965 | 2225.8662 | 2210.8549 |
| 3.5014 | 2215.8525 | 2214.9041 | 2197.1455 |
| 3.5124 | 2145.1352 | 2202.4444 | 2187.8031 |
| 3.5234 | 2123.2655 | 2192.9334 | 2178.4608 |
| 3.5344 | 2190.4695 | 2183.4328 | 2169.1184 |
| 3.5454 | 2172.3137 | 2173.9420 | 2159.7760 |
| 3.5564 | 2163.7965 | 2164.4606 | 2150.4337 |
| 3.5674 | 2158.0560 | 2154.9882 | 2141.0913 |
| 3.5784 | 2097.4208 | 2145.5246 | 2131.7489 |
| 3.5894 | 2081.3097 | 2136.0692 | 2122.4066 |
| 3.6004 | 2057.7517 | 2126.6218 | 2113.0642 |
| 3.6114 | 2073.2458 | 2117.1821 | 2103.7218 |
| 3.6224 | 2068.5118 | 2107.7499 | 2094.3795 |
| 3.6334 | 2007.8456 | 2098.3248 | 2085.0371 |
| 3.6444 | 2102.2463 | 2088.9067 | 2075.6947 |
| 3.6554 | 2060.7256 | 2079.4952 | 2066.3524 |
| 3.6664 | 2066.9749 | 2070.0903 | 2057.0100 |
| 3.6774 | 2047.4258 | 2060.6917 | 2047.6676 |
| 3.6884 | 2029.9115 | 2052.3660 | 2038.3253 |
| 3.6994 | 2039.6067 | 2043.4983 | 2030.5686 |
| 3.7104 | 2001.1750 | 2035.7033 | 2022.8119 |
| 3.7214 | 1989.6608 | 2027.9139 | 2015.0552 |
| 3.7324 | 2004.8048 | 2020.1301 | 2007.2986 |
| 3.7434 | 1962.6686 | 2012.3517 | 1999.5419 |
| 3.7544 | 1926.6003 | 2004.5786 | 1991.7852 |
| 3.7654 | 1910.5015 | 1996.8108 | 1984.0286 |
| 3.7764 | 1870.8456 | 1989.0480 | 1976.2719 |
| 3.7874 | 1924.5133 | 1981.2903 | 1968.5152 |
| 3.7984 | 1863.2581 | 1973.5376 | 1960.7585 |
| 3.8094 | 1938.3776 | 1965.7898 | 1953.0019 |
| 3.8204 | 1960.7389 | 1958.0469 | 1945.2452 |
| 3.8314 | 1916.9597 | 1950.3087 | 1937.4885 |
| 3.8424 | 1916.4735 | 1942.5753 | 1929.7318 |
| 3.8534 | 1928.2449 | 1934.8467 | 1921.9752 |
| 3.8644 | 1970.2143 | 1927.1227 | 1914.2185 |
| 3.8754 | 1905.6627 | 1921.8665 | 1906.4618 |
| 3.8864 | 1838.4292 | 1915.3498 | 1902.3662 |
| 3.8974 | 1904.3422 | 1911.3009 | 1898.2705 |
| 3.9084 | 1908.8953 | 1907.2566 | 1894.1748 |
| 3.9194 | 1921.3068 | 1903.2170 | 1890.0791 |
| 3.9304 | 1907.6421 | 1899.1821 | 1885.9835 |
| 3.9414 | 1843.7374 | 1895.1518 | 1881.8878 |
| 3.9524 | 1773.7138 | 1891.1263 | 1877.7921 |
| 3.9634 | 1737.5979 | 1887.1055 | 1873.6965 |
| 3.9744 | 1831.8004 | 1883.0896 | 1869.6008 |
| 3.9854 | 1835.6372 | 1879.0784 | 1865.5051 |
| 3.9964 | 1830.8102 | 1875.0722 | 1861.4094 |
| 4.0074 | 1815.9528 | 1871.0709 | 1857.3138 |
| 4.0184 | 1847.2522 | 1867.0746 | 1853.2181 |
| 4.0294 | 1852.5851 | 1863.0834 | 1849.1224 |
| 4.0404 | 1860.0339 | 1859.0974 | 1845.0268 |
| 4.0514 | 1833.8732 | 1855.1166 | 1840.9311 |
| 4.0624 | 1857.4189 | 1851.6538 | 1836.8354 |
| 4.0734 | 1823.5211 | 1847.9332 | 1833.5019 |
| 4.0844 | 1777.3363 | 1844.7308 | 1830.1683 |
| 4.0954 | 1799.0000 | 1841.5342 | 1826.8348 |
| 4.1064 | 1776.7542 | 1838.3432 | 1823.5013 |
| 4.1174 | 1764.5104 | 1835.1582 | 1820.1677 |
| 4.1284 | 1814.7670 | 1831.9793 | 1816.8342 |
| 4.1394 | 1817.5359 | 1828.8066 | 1813.5006 |
| 4.1504 | 1827.6032 | 1825.6402 | 1810.1671 |
| 4.1614 | 1848.2704 | 1822.4804 | 1806.8336 |
| 4.1724 | 1834.3382 | 1819.3273 | 1803.5000 |
| 4.1834 | 1791.2124 | 1816.1811 | 1800.1665 |
| 4.1944 | 1811.4326 | 1813.0420 | 1796.8330 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 18 Etosha22 SSCrt 0-0.5cm S4 glycol | 2.0054 | 29.9894 | 0.0110 | 12/8/2023 9:36:49 AM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 2.7206 | 1280.02 | 0.1732 | 32.44825 | 100.00 |
| 5.2627 | 586.44 | 0.3897 | 16.77854 | 45.81 |
| 6.9194 | 885.33 | 0.4330 | 12.76459 | 69.17 |
| 8.7062 | 601.69 | 0.0866 | 10.14853 | 47.01 |
| 15.7080 | 891.36 | 0.0866 | 5.63705 | 69.64 |
| 17.5840 | 62.33 | 0.1732 | 5.03964 | 4.87 |
| 18.1715 | 137.05 | 0.1082 | 4.87801 | 10.71 |
| 19.6904 | 37.26 | 0.5196 | 4.50503 | 2.91 |
| 23.3249 | 36.94 | 0.2598 | 3.81062 | 2.89 |
| 25.8624 | 825.36 | 0.0866 | 3.44220 | 64.48 |
| 26.6695 | 281.07 | 0.1299 | 3.33984 | 21.96 |
| 27.5034 | 176.46 | 0.1515 | 3.24043 | 13.79 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 01-070-4177 | 51 | Tin Oxide | Sn O2 | Cassiterite | 2 |
| * | 04-016-2838 | 47 | Titanium Oxide | Ti O2 | Rutile | 4 |
| * | 01-072-4625 | 34 | Sodium Aluminum Silicate Hydrate | Na Al ( Si2 O6 ) ( H2 O ) | Analcime | 10 |
| * | 04-017-4317 | 33 | Potassium Magnesium Manganese Iron Aluminum Silicate Hydroxide | K Mg0.2 Mn0.1 Fe2.4 Al1.7 Si2.6 O10 ( O H )2 | Biotite-1M | 14 |
| * | 01-082-8023 | 29 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 10 |
| * | 04-025-4215 | 20 | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Mg10.4 V0.36 Mn33.5 Fe0.14 Al0.69 Si6.77 As6.5 P0.3 O54 ( O H )42 | Carlfrancisite | 35 |
| * | 00-034-0159 | 16 | Potassium Magnesium Aluminum Fluoride Silicate Hydroxide | K Mg3 Si3 Al O10 ( F , O H )2 | Phlogopite-1M | 25 |

Anchor Scan Parameters

Dataset Name	18 Etosha22 SSCrt 0-0.5cm S4 glycol

File name	C:\aeris_data\XRD data\Goldstein\Etosha 2023\Etosha Clay Data\Sample 18\18 Etosha22 SSCrt 0-0.5cm S4 glycol.xrdml

Sample Identification	18 Etosha22 SSCrt 0-0.5cm S4 glycol

Measurement Start Date/Time	12/8/2023 9:36:49 AM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	2.0054

End Position [°2θ]	29.9894

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.0603

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes