1R Etosha 18 RIP 0-2 cm REGULAR

Graphics

Graphics

Graphics

Quantitative Results

Phase Potassium Magnesium Manganese Aluminum Iron Silicon Oxide Hydroxide

Weight fraction/ %	27.0

Phase Magnesium Silicate Hydroxide Hydrate

Weight fraction/ %	8.0

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	7.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	15.0

Phase Magnesium Aluminum Silicate Hydroxide Hydrate

Weight fraction/ %	2.0

Phase Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide

Weight fraction/ %	20.0

Phase Magnesium Aluminum Silicon Oxide Hydroxide Hydrate

Weight fraction/ %	4.0

Phase Potassium Manganese Silicate Hydroxide Hydrate

Weight fraction/ %	16.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Potassium Magnesium Manganese Aluminum Iron Silicon Oxide Hydroxide | Magnesium Silicate Hydroxide Hydrate | Sodium Aluminum Silicate Hydrate | Sodium Magnesium Silicon Oxide Hydrate | Magnesium Aluminum Silicate Hydroxide Hydrate | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Magnesium Aluminum Silicon Oxide Hydroxide Hydrate | Potassium Manganese Silicate Hydroxide Hydrate |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 reg | 27.0 | 8.0 | 7.0 | 15.0 | 2.0 | 20.0 | 4.0 | 16.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 2.0054 | 7887.0000 | 7899.6663 | 7887.0000 |
| 2.0164 | 7887.9833 | 7845.6421 | 7829.8711 |
| 2.0274 | 7957.7571 | 7789.0625 | 7772.7423 |
| 2.0384 | 7591.2950 | 7732.5118 | 7715.6134 |
| 2.0494 | 7604.1131 | 7675.9922 | 7658.4846 |
| 2.0604 | 7714.5536 | 7619.5060 | 7601.3557 |
| 2.0714 | 7868.4336 | 7563.0555 | 7544.2269 |
| 2.0824 | 7582.2468 | 7506.6434 | 7487.0980 |
| 2.0934 | 7558.1131 | 7450.2728 | 7429.9692 |
| 2.1044 | 7577.6770 | 7393.9467 | 7372.8403 |
| 2.1154 | 7399.5438 | 7337.6688 | 7315.7115 |
| 2.1264 | 7657.7379 | 7281.4430 | 7258.5826 |
| 2.1374 | 7437.1888 | 7225.2735 | 7201.4538 |
| 2.1484 | 7531.3019 | 7169.1650 | 7144.3249 |
| 2.1594 | 7288.0747 | 7113.1228 | 7087.1961 |
| 2.1704 | 7275.1062 | 7057.1528 | 7030.0672 |
| 2.1814 | 7268.3972 | 7001.2613 | 6972.9383 |
| 2.1924 | 7216.6121 | 6945.4476 | 6915.8095 |
| 2.2034 | 7205.7522 | 6889.5682 | 6858.5053 |
| 2.2144 | 7232.0718 | 6833.7835 | 6801.2011 |
| 2.2254 | 7271.4199 | 6778.1115 | 6743.8970 |
| 2.2364 | 7254.5988 | 6722.5635 | 6686.5928 |
| 2.2474 | 7021.4798 | 6667.1522 | 6629.2886 |
| 2.2584 | 6986.4135 | 6611.8919 | 6571.9845 |
| 2.2694 | 6982.9204 | 6556.7990 | 6514.6803 |
| 2.2804 | 6934.6578 | 6501.8923 | 6457.3761 |
| 2.2914 | 6886.3697 | 6447.1933 | 6400.0719 |
| 2.3024 | 6972.1637 | 6392.7272 | 6342.7678 |
| 2.3134 | 6989.4621 | 6338.5237 | 6285.4636 |
| 2.3244 | 6854.2571 | 6284.6189 | 6228.1594 |
| 2.3354 | 6805.4130 | 6231.0569 | 6170.8553 |
| 2.3464 | 6780.2365 | 6177.8936 | 6113.5511 |
| 2.3574 | 6749.4808 | 6125.2011 | 6056.2469 |
| 2.3684 | 6774.2950 | 6073.0746 | 5998.9427 |
| 2.3794 | 6781.1367 | 6021.6355 | 5941.6386 |
| 2.3904 | 6681.9774 | 5970.9342 | 5884.1926 |
| 2.4014 | 6542.5841 | 5921.3283 | 5826.7466 |
| 2.4124 | 6479.3230 | 5873.1417 | 5769.3005 |
| 2.4234 | 6530.0728 | 5826.7981 | 5711.8545 |
| 2.4344 | 6566.3997 | 5782.8535 | 5654.4085 |
| 2.4454 | 6574.5477 | 5742.0213 | 5596.9625 |
| 2.4564 | 6491.8265 | 5705.1923 | 5539.5165 |
| 2.4674 | 6439.0472 | 5673.4438 | 5482.0705 |
| 2.4784 | 6410.1937 | 5648.0320 | 5424.6245 |
| 2.4894 | 6447.3166 | 5630.3598 | 5367.1785 |
| 2.5004 | 6472.7168 | 5621.9148 | 5309.7325 |
| 2.5114 | 6397.7070 | 5624.1743 | 5252.2865 |
| 2.5224 | 6305.6018 | 5638.4773 | 5194.8405 |
| 2.5334 | 6248.4425 | 5665.8671 | 5137.3945 |
| 2.5444 | 6340.4749 | 5706.9114 | 5079.9485 |
| 2.5554 | 6234.7178 | 5761.5047 | 5022.5025 |
| 2.5664 | 6199.3702 | 5828.6526 | 4965.0564 |
| 2.5774 | 6151.8515 | 5906.2273 | 4907.6104 |
| 2.5884 | 6100.2571 | 5990.6798 | 4850.1644 |
| 2.5994 | 6092.0442 | 6076.7097 | 4792.7184 |
| 2.6104 | 6078.8879 | 6156.9756 | 4735.2724 |
| 2.6214 | 6045.4031 | 6222.0812 | 4677.8264 |
| 2.6324 | 6093.6519 | 6261.2478 | 4620.3804 |
| 2.6434 | 6109.3068 | 6264.0367 | 4562.9344 |
| 2.6544 | 5887.4483 | 6222.9387 | 4505.4884 |
| 2.6654 | 5773.2891 | 6135.7675 | 4448.0424 |
| 2.6764 | 5767.9980 | 6006.4370 | 4390.5964 |
| 2.6874 | 5607.6843 | 5843.6008 | 4333.1504 |
| 2.6984 | 5449.3672 | 5658.0475 | 4275.7044 |
| 2.7094 | 5450.2517 | 5460.2858 | 4218.2583 |
| 2.7204 | 5425.4454 | 5259.1438 | 4160.8123 |
| 2.7314 | 5191.4837 | 5061.3441 | 4103.3663 |
| 2.7424 | 4980.0644 | 4871.6370 | 4045.9203 |
| 2.7534 | 4808.0944 | 4693.1133 | 3988.4743 |
| 2.7644 | 4697.8879 | 4527.4162 | 3930.8865 |
| 2.7754 | 4639.9813 | 4375.3769 | 3873.2986 |
| 2.7864 | 4415.7065 | 4236.8873 | 3815.7108 |
| 2.7974 | 4294.6195 | 4111.2198 | 3758.1229 |
| 2.8084 | 4186.0973 | 3997.2258 | 3700.5351 |
| 2.8194 | 4004.0069 | 3893.5105 | 3642.9473 |
| 2.8304 | 3927.0811 | 3798.5812 | 3585.3594 |
| 2.8414 | 3683.7994 | 3710.9666 | 3527.7716 |
| 2.8524 | 3804.2296 | 3629.3020 | 3470.1837 |
| 2.8634 | 3426.6017 | 3552.3813 | 3412.5959 |
| 2.8744 | 3481.8535 | 3479.1821 | 3355.0080 |
| 2.8854 | 3312.9085 | 3408.8674 | 3297.4202 |
| 2.8964 | 3286.1062 | 3340.7725 | 3239.8324 |
| 2.9074 | 3280.1583 | 3274.3829 | 3182.2445 |
| 2.9184 | 3172.5083 | 3209.3091 | 3124.6567 |
| 2.9294 | 3094.3864 | 3145.2601 | 3067.0688 |
| 2.9404 | 2929.6844 | 3083.4904 | 3009.4810 |
| 2.9514 | 2984.1485 | 3051.9354 | 2984.3943 |
| 2.9624 | 2936.2375 | 3022.3846 | 2959.3076 |
| 2.9734 | 2926.8161 | 2993.2813 | 2934.2209 |
| 2.9844 | 2918.6278 | 2964.5587 | 2909.1342 |
| 2.9954 | 2751.5310 | 2936.1648 | 2884.0475 |
| 3.0064 | 2762.3982 | 2908.0582 | 2858.9609 |
| 3.0174 | 2804.2458 | 2880.2050 | 2833.8742 |
| 3.0284 | 2750.5487 | 2852.5768 | 2808.7875 |
| 3.0394 | 2656.1357 | 2825.1496 | 2783.7008 |
| 3.0504 | 2644.1558 | 2797.9028 | 2758.6141 |
| 3.0614 | 2650.4749 | 2770.8183 | 2733.5274 |
| 3.0724 | 2703.5069 | 2743.8805 | 2708.4407 |
| 3.0834 | 2623.4553 | 2717.0754 | 2683.3540 |
| 3.0944 | 2609.9248 | 2690.3908 | 2658.2673 |
| 3.1054 | 2606.0334 | 2663.8159 | 2633.1806 |
| 3.1164 | 2476.7262 | 2637.3409 | 2608.0940 |
| 3.1274 | 2586.2803 | 2611.2851 | 2583.0073 |
| 3.1384 | 2641.9361 | 2591.9128 | 2565.1764 |
| 3.1494 | 2614.2340 | 2572.9450 | 2547.3455 |
| 3.1604 | 2516.8761 | 2554.0476 | 2529.5147 |
| 3.1714 | 2411.1662 | 2535.2148 | 2511.6838 |
| 3.1824 | 2377.3206 | 2516.4417 | 2493.8530 |
| 3.1934 | 2406.7168 | 2497.7236 | 2476.0221 |
| 3.2044 | 2355.1863 | 2479.0563 | 2458.1912 |
| 3.2154 | 2355.4887 | 2460.4362 | 2440.3604 |
| 3.2264 | 2391.2861 | 2441.8596 | 2422.5295 |
| 3.2374 | 2401.7404 | 2423.3236 | 2404.6987 |
| 3.2484 | 2364.9444 | 2404.8252 | 2386.8678 |
| 3.2594 | 2334.2625 | 2386.3618 | 2369.0369 |
| 3.2704 | 2336.6435 | 2367.9310 | 2351.2061 |
| 3.2814 | 2329.9125 | 2349.5307 | 2333.3752 |
| 3.2924 | 2325.7478 | 2331.1588 | 2315.5443 |
| 3.3034 | 2266.3048 | 2312.8135 | 2297.7135 |
| 3.3144 | 2279.0890 | 2294.6513 | 2279.8826 |
| 3.3254 | 2277.8761 | 2279.6967 | 2265.5526 |
| 3.3364 | 2259.7684 | 2264.9223 | 2251.2226 |
| 3.3474 | 2245.5034 | 2250.1684 | 2236.8926 |
| 3.3584 | 2210.2684 | 2235.4338 | 2222.5626 |
| 3.3694 | 2200.9636 | 2220.7173 | 2208.2326 |
| 3.3804 | 2227.5093 | 2206.0179 | 2193.9026 |
| 3.3914 | 2213.6991 | 2191.3345 | 2179.5726 |
| 3.4024 | 2205.4145 | 2176.6663 | 2165.2426 |
| 3.4134 | 2168.4326 | 2162.0125 | 2150.9126 |
| 3.4244 | 2214.4632 | 2147.3722 | 2136.5827 |
| 3.4354 | 2151.0304 | 2132.7446 | 2122.2527 |
| 3.4464 | 2143.6052 | 2118.1292 | 2107.9227 |
| 3.4574 | 2186.2655 | 2103.5252 | 2093.5927 |
| 3.4684 | 2088.1588 | 2088.9320 | 2079.2627 |
| 3.4794 | 2054.9980 | 2074.3491 | 2064.9327 |
| 3.4904 | 2059.0885 | 2059.7760 | 2050.6027 |
| 3.5014 | 2046.9410 | 2045.4939 | 2036.2727 |
| 3.5124 | 2012.2257 | 2036.8884 | 2028.1740 |
| 3.5234 | 2028.6313 | 2028.5730 | 2020.0752 |
| 3.5344 | 2011.5364 | 2020.2656 | 2011.9765 |
| 3.5454 | 1995.3963 | 2011.9657 | 2003.8778 |
| 3.5564 | 2057.0413 | 2003.6730 | 1995.7791 |
| 3.5674 | 1978.6352 | 1995.3872 | 1987.6804 |
| 3.5784 | 1972.0320 | 1987.1080 | 1979.5816 |
| 3.5894 | 2026.4248 | 1978.8350 | 1971.4829 |
| 3.6004 | 1935.1848 | 1970.5680 | 1963.3842 |
| 3.6114 | 1944.9302 | 1962.3067 | 1955.2855 |
| 3.6224 | 1981.6239 | 1954.0508 | 1947.1868 |
| 3.6334 | 1954.4179 | 1945.8001 | 1939.0880 |
| 3.6444 | 1968.6155 | 1937.5544 | 1930.9893 |
| 3.6554 | 1932.5044 | 1929.3135 | 1922.8906 |
| 3.6664 | 1870.2193 | 1921.0771 | 1914.7919 |
| 3.6774 | 1961.7159 | 1912.8451 | 1906.6932 |
| 3.6884 | 1897.7522 | 1904.6173 | 1898.5945 |
| 3.6994 | 1877.1790 | 1896.3935 | 1890.4957 |
| 3.7104 | 1907.6790 | 1888.1736 | 1882.3970 |
| 3.7214 | 1879.8082 | 1879.9573 | 1874.2983 |
| 3.7324 | 1883.5079 | 1871.7446 | 1866.1996 |
| 3.7434 | 1835.0167 | 1863.5353 | 1858.1009 |
| 3.7544 | 1864.4454 | 1855.3292 | 1850.0021 |
| 3.7654 | 1885.3314 | 1847.1263 | 1841.9034 |
| 3.7764 | 1902.6406 | 1838.9264 | 1833.8047 |
| 3.7874 | 1842.5398 | 1830.7295 | 1825.7060 |
| 3.7984 | 1846.0757 | 1822.5353 | 1817.6073 |
| 3.8094 | 1866.8043 | 1814.3438 | 1809.5085 |
| 3.8204 | 1792.3643 | 1806.1549 | 1801.4098 |
| 3.8314 | 1806.1691 | 1797.9685 | 1793.3111 |
| 3.8424 | 1833.0531 | 1789.7845 | 1785.2124 |
| 3.8534 | 1813.3392 | 1781.6028 | 1777.1137 |
| 3.8644 | 1773.6878 | 1773.4233 | 1769.0149 |
| 3.8754 | 1755.6735 | 1766.3624 | 1760.9162 |
| 3.8864 | 1733.2212 | 1760.8870 | 1756.6337 |
| 3.8974 | 1751.5280 | 1756.5299 | 1752.3511 |
| 3.9084 | 1798.7546 | 1752.1748 | 1748.0685 |
| 3.9194 | 1731.5369 | 1747.8216 | 1743.7860 |
| 3.9304 | 1802.4336 | 1743.4701 | 1739.5034 |
| 3.9414 | 1815.0452 | 1739.1204 | 1735.2209 |
| 3.9524 | 1723.0000 | 1734.7724 | 1730.9383 |
| 3.9634 | 1723.7512 | 1730.4261 | 1726.6557 |
| 3.9744 | 1727.2001 | 1726.0813 | 1722.3732 |
| 3.9854 | 1716.7433 | 1721.7380 | 1718.0906 |
| 3.9964 | 1662.8672 | 1717.3962 | 1713.8081 |
| 4.0074 | 1637.5880 | 1713.0558 | 1709.5255 |
| 4.0184 | 1682.5251 | 1708.7169 | 1705.2429 |
| 4.0294 | 1688.3865 | 1704.3792 | 1700.9604 |
| 4.0404 | 1740.0309 | 1700.0429 | 1696.6778 |
| 4.0514 | 1664.6047 | 1695.7078 | 1692.3953 |
| 4.0624 | 1703.6912 | 1691.3444 | 1688.1127 |
| 4.0734 | 1683.1967 | 1686.9402 | 1683.7291 |
| 4.0844 | 1724.1239 | 1682.5077 | 1679.3455 |
| 4.0954 | 1696.5526 | 1678.0762 | 1674.9619 |
| 4.1064 | 1668.7753 | 1673.6458 | 1670.5783 |
| 4.1174 | 1692.9587 | 1669.2165 | 1666.1947 |
| 4.1284 | 1667.9931 | 1664.7882 | 1661.8112 |
| 4.1394 | 1634.7611 | 1660.3608 | 1657.4276 |
| 4.1504 | 1641.8141 | 1655.9344 | 1653.0440 |
| 4.1614 | 1580.3205 | 1651.5090 | 1648.6604 |
| 4.1724 | 1557.0054 | 1647.0844 | 1644.2768 |
| 4.1834 | 1587.0797 | 1642.6608 | 1639.8932 |
| 4.1944 | 1589.7040 | 1638.2379 | 1635.5096 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 1 reg | 2.0054 | 29.9894 | 0.0110 | 4/24/2024 1:49:42 PM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 2.6506 | 1534.82 | 0.1732 | 33.30455 | 60.67 |
| 6.9638 | 2529.81 | 0.1732 | 12.68325 | 100.00 |
| 7.1790 | 2237.32 | 0.1299 | 12.30358 | 88.44 |
| 8.7058 | 614.21 | 0.1082 | 10.14889 | 24.28 |
| 11.5514 | 35.42 | 0.2598 | 7.65446 | 1.40 |
| 12.9522 | 39.63 | 0.3464 | 6.82957 | 1.57 |
| 15.7193 | 955.90 | 0.0866 | 5.63304 | 37.79 |
| 17.5908 | 84.50 | 0.2165 | 5.03771 | 3.34 |
| 18.2200 | 140.18 | 0.0974 | 4.86514 | 5.54 |
| 19.5122 | 126.72 | 0.3464 | 4.54576 | 5.01 |
| 21.0768 | 27.96 | 0.5196 | 4.21170 | 1.11 |
| 23.3977 | 31.93 | 0.3031 | 3.79892 | 1.26 |
| 24.1611 | 34.22 | 0.2598 | 3.68060 | 1.35 |
| 25.8646 | 1009.43 | 0.0758 | 3.44191 | 39.90 |
| 26.6599 | 242.50 | 0.1732 | 3.34102 | 9.59 |
| 27.4842 | 67.54 | 0.2165 | 3.24266 | 2.67 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 04-016-6884 | 27 | Potassium Magnesium Manganese Aluminum Iron Silicon Oxide Hydroxide | K0.8 Mg2.6 Mn0.1 Fe0.2 Al1.3 Si2.8 O10 ( O H )2 | Muscovite-1M | 27 |
| * | 01-080-5019 | 26 | Magnesium Silicate Hydroxide Hydrate | Mg7.68 ( Si12 O30 ) ( O H )4 ( H2 O )4 ( H2 O )6 | Sepiolite | 8 |
| * | 04-011-6751 | 19 | Sodium Aluminum Silicate Hydrate | Na8 Al8 Si16 O48 ( H2 O )8 | Analcime | 7 |
| * | 01-082-8023 | 37 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 15 |
| * | 04-011-6576 | 18 | Magnesium Aluminum Silicate Hydroxide Hydrate | Mg3.5 Al Si3 O10 ( O H )2 ( H2 O )4 | Vermiculite | 2 |
| * | 04-025-4215 | 40 | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Mg10.4 V0.36 Mn33.5 Fe0.14 Al0.69 Si6.77 As6.5 P0.3 O54 ( O H )42 | Carlfrancisite | 20 |
| * | 04-015-2963 | 24 | Magnesium Aluminum Silicon Oxide Hydroxide Hydrate | Mg Al Si4 O10 ( O H ) ( H2 O )4 | Palygorskite-M | 4 |
| * | 01-089-6415 | 42 | Potassium Manganese Silicate Hydroxide Hydrate | K3.68 Mn15.904 Si25.472 O64 ( O H )9.376 ( H2 O )7.024 | Ganophyllite | 16 |

Anchor Scan Parameters

Dataset Name	1 reg

File name	C:\aeris_data\XRD data\Goldstein\Etosha 2023\Etosha Clay Data\REP 1\1 reg.xrdml

Sample Identification	1 reg

Measurement Start Date/Time	4/24/2024 1:49:42 PM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	2.0054

End Position [°2θ]	29.9894

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.0603

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes