2 Etosha 18 SS 0-2 cm REGULAR

Graphics

Graphics

Graphics

Quantitative Results

Phase Potassium Magnesium Manganese Iron Aluminum Silicate Hydroxide

Weight fraction/ %	16.0

Phase Sodium Aluminum Silicate

Weight fraction/ %	16.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	27.0

Phase Magnesium Silicate Hydroxide Hydrate

Weight fraction/ %	27.0

Phase Potassium Iron Magnesium Aluminum Silicate Hydroxide

Weight fraction/ %	15.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Potassium Magnesium Manganese Iron Aluminum Silicate Hydroxide | Sodium Aluminum Silicate | Sodium Magnesium Silicon Oxide Hydrate | Magnesium Silicate Hydroxide Hydrate | Potassium Iron Magnesium Aluminum Silicate Hydroxide |
| --- | --- | --- | --- | --- | --- |
| 2 Etosha18 SS 0-2cm S1 | 16.0 | 16.0 | 27.0 | 27.0 | 15.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 2.0054 | 4428.0000 | 4733.5832 | 4428.0000 |
| 2.0164 | 4479.9553 | 4746.2091 | 4403.3085 |
| 2.0274 | 4395.1888 | 4744.6720 | 4378.6171 |
| 2.0384 | 4363.0369 | 4735.3835 | 4353.9256 |
| 2.0494 | 4362.6234 | 4716.4771 | 4329.2342 |
| 2.0604 | 4337.2291 | 4687.1951 | 4304.5427 |
| 2.0714 | 4348.8466 | 4648.1501 | 4279.8513 |
| 2.0824 | 4266.5713 | 4601.1078 | 4255.1598 |
| 2.0934 | 4339.8220 | 4548.4369 | 4230.4684 |
| 2.1044 | 4272.1195 | 4492.5424 | 4205.7769 |
| 2.1154 | 4253.1898 | 4435.5015 | 4181.0855 |
| 2.1264 | 4222.0792 | 4378.9278 | 4156.3940 |
| 2.1374 | 4199.8024 | 4323.9805 | 4131.7026 |
| 2.1484 | 4201.7793 | 4271.4312 | 4107.0111 |
| 2.1594 | 4117.7080 | 4221.7365 | 4082.3197 |
| 2.1704 | 4064.8879 | 4175.1024 | 4057.6282 |
| 2.1814 | 4020.1504 | 4131.5386 | 4032.9368 |
| 2.1924 | 3996.1190 | 4092.3287 | 4008.2453 |
| 2.2034 | 4019.2124 | 4056.9468 | 3987.5345 |
| 2.2144 | 3952.5447 | 4025.3716 | 3966.8238 |
| 2.2254 | 4007.0787 | 3995.8479 | 3946.1130 |
| 2.2364 | 4008.3171 | 3968.0416 | 3925.4022 |
| 2.2474 | 3890.2812 | 3941.6390 | 3904.6914 |
| 2.2584 | 3826.3117 | 3916.3602 | 3883.9807 |
| 2.2694 | 3884.4602 | 3891.9662 | 3863.2699 |
| 2.2804 | 3850.1888 | 3868.2594 | 3842.5591 |
| 2.2914 | 3776.6608 | 3845.0823 | 3821.8483 |
| 2.3024 | 3733.7124 | 3822.3121 | 3801.1376 |
| 2.3134 | 3702.3314 | 3799.8555 | 3780.4268 |
| 2.3244 | 3714.4361 | 3777.6426 | 3759.7160 |
| 2.3354 | 3773.3687 | 3755.6216 | 3739.0052 |
| 2.3464 | 3726.7532 | 3733.7545 | 3718.2945 |
| 2.3574 | 3683.4317 | 3712.0131 | 3697.5837 |
| 2.3684 | 3732.5664 | 3690.3764 | 3676.8729 |
| 2.3794 | 3709.7768 | 3668.8285 | 3656.1621 |
| 2.3904 | 3643.8530 | 3647.3570 | 3635.4514 |
| 2.4014 | 3608.3717 | 3625.9521 | 3614.7406 |
| 2.4124 | 3586.7065 | 3604.6775 | 3594.0298 |
| 2.4234 | 3563.5565 | 3584.8904 | 3573.3190 |
| 2.4344 | 3536.9985 | 3564.3834 | 3552.6083 |
| 2.4454 | 3454.8260 | 3543.1880 | 3531.8975 |
| 2.4564 | 3411.8191 | 3522.0301 | 3511.1867 |
| 2.4674 | 3477.2743 | 3500.9060 | 3490.4759 |
| 2.4784 | 3456.9395 | 3479.8126 | 3469.7652 |
| 2.4894 | 3417.9990 | 3458.7470 | 3449.0544 |
| 2.5004 | 3392.7566 | 3437.7067 | 3428.3436 |
| 2.5114 | 3339.3923 | 3416.6895 | 3407.6328 |
| 2.5224 | 3403.2340 | 3395.6933 | 3386.9221 |
| 2.5334 | 3426.7611 | 3374.7164 | 3366.2113 |
| 2.5444 | 3405.3751 | 3353.7571 | 3345.5005 |
| 2.5554 | 3329.7119 | 3332.8141 | 3324.7897 |
| 2.5664 | 3292.5221 | 3314.8725 | 3304.0790 |
| 2.5774 | 3273.9911 | 3299.3346 | 3291.7311 |
| 2.5884 | 3233.6401 | 3286.7959 | 3279.3832 |
| 2.5994 | 3286.0354 | 3274.2689 | 3267.0353 |
| 2.6104 | 3289.5796 | 3261.7528 | 3254.6874 |
| 2.6214 | 3231.6372 | 3249.2467 | 3242.3395 |
| 2.6324 | 3254.7360 | 3236.7501 | 3229.9916 |
| 2.6434 | 3182.4641 | 3224.2621 | 3217.6437 |
| 2.6544 | 3252.6003 | 3211.7822 | 3205.2958 |
| 2.6654 | 3159.5192 | 3199.3099 | 3192.9479 |
| 2.6764 | 3099.2542 | 3186.8447 | 3180.6000 |
| 2.6874 | 3099.5723 | 3174.3861 | 3168.2522 |
| 2.6984 | 3087.8363 | 3161.9336 | 3155.9043 |
| 2.7094 | 3150.8633 | 3149.4869 | 3143.5564 |
| 2.7204 | 3125.0595 | 3137.0456 | 3131.2085 |
| 2.7314 | 3118.0560 | 3124.6094 | 3118.8606 |
| 2.7424 | 3144.5285 | 3112.1780 | 3106.5127 |
| 2.7534 | 3144.1495 | 3099.7511 | 3094.1648 |
| 2.7644 | 3021.7242 | 3087.3285 | 3081.8169 |
| 2.7754 | 3030.9735 | 3074.9098 | 3069.4690 |
| 2.7864 | 3056.9440 | 3062.4950 | 3057.1211 |
| 2.7974 | 3008.6726 | 3050.0836 | 3044.7732 |
| 2.8084 | 2966.1101 | 3037.6757 | 3032.4253 |
| 2.8194 | 2997.4720 | 3025.2709 | 3020.0775 |
| 2.8304 | 2946.6121 | 3012.8692 | 3007.7296 |
| 2.8414 | 2918.6470 | 3000.4703 | 2995.3817 |
| 2.8524 | 2936.8746 | 2988.0742 | 2983.0338 |
| 2.8634 | 2929.3717 | 2975.6806 | 2970.6859 |
| 2.8744 | 2936.7679 | 2963.2895 | 2958.3380 |
| 2.8854 | 2889.8024 | 2950.9007 | 2945.9901 |
| 2.8964 | 2930.8142 | 2938.5141 | 2933.6422 |
| 2.9074 | 2904.1495 | 2926.1297 | 2921.2943 |
| 2.9184 | 2923.4031 | 2913.7473 | 2908.9464 |
| 2.9294 | 2939.4956 | 2901.3668 | 2896.5985 |
| 2.9404 | 2838.4897 | 2888.9551 | 2884.2506 |
| 2.9514 | 2912.6578 | 2876.5187 | 2871.8103 |
| 2.9624 | 2902.3554 | 2864.0511 | 2859.3699 |
| 2.9734 | 2838.1229 | 2851.5850 | 2846.9296 |
| 2.9844 | 2811.7414 | 2839.1205 | 2834.4892 |
| 2.9954 | 2762.6991 | 2826.6574 | 2822.0488 |
| 3.0064 | 2777.1185 | 2814.1958 | 2809.6085 |
| 3.0174 | 2790.8161 | 2801.7355 | 2797.1681 |
| 3.0284 | 2859.2610 | 2789.2766 | 2784.7278 |
| 3.0394 | 2756.2035 | 2776.8189 | 2772.2874 |
| 3.0504 | 2728.5939 | 2764.3624 | 2759.8471 |
| 3.0614 | 2687.5133 | 2751.9071 | 2747.4067 |
| 3.0724 | 2763.6991 | 2739.4529 | 2734.9663 |
| 3.0834 | 2709.6116 | 2726.9998 | 2722.5260 |
| 3.0944 | 2757.9336 | 2714.5477 | 2710.0856 |
| 3.1054 | 2693.9105 | 2702.0967 | 2697.6453 |
| 3.1164 | 2755.7920 | 2689.6466 | 2685.2049 |
| 3.1274 | 2665.8879 | 2677.8823 | 2672.7645 |
| 3.1384 | 2581.8968 | 2666.6668 | 2662.2418 |
| 3.1494 | 2680.5909 | 2656.1371 | 2651.7190 |
| 3.1604 | 2646.6416 | 2645.6082 | 2641.1962 |
| 3.1714 | 2642.6627 | 2635.0801 | 2630.6734 |
| 3.1824 | 2632.1583 | 2624.5529 | 2620.1506 |
| 3.1934 | 2589.4248 | 2614.0264 | 2609.6279 |
| 3.2044 | 2625.4931 | 2603.5007 | 2599.1051 |
| 3.2154 | 2621.2311 | 2592.9757 | 2588.5823 |
| 3.2264 | 2569.1563 | 2582.4514 | 2578.0595 |
| 3.2374 | 2564.5831 | 2571.9279 | 2567.5367 |
| 3.2484 | 2589.2222 | 2561.4050 | 2557.0140 |
| 3.2594 | 2536.8820 | 2550.8828 | 2546.4912 |
| 3.2704 | 2516.2798 | 2540.3612 | 2535.9684 |
| 3.2814 | 2567.3166 | 2529.8403 | 2525.4456 |
| 3.2924 | 2551.3628 | 2519.3200 | 2514.9228 |
| 3.3034 | 2534.9469 | 2508.8003 | 2504.4001 |
| 3.3144 | 2509.6440 | 2499.0234 | 2493.8773 |
| 3.3254 | 2439.9321 | 2489.8409 | 2485.4328 |
| 3.3364 | 2401.1804 | 2481.4013 | 2476.9884 |
| 3.3474 | 2441.9725 | 2472.9622 | 2468.5439 |
| 3.3584 | 2410.6312 | 2464.5237 | 2460.0995 |
| 3.3694 | 2379.6804 | 2456.0857 | 2451.6551 |
| 3.3804 | 2430.8919 | 2447.6482 | 2443.2106 |
| 3.3914 | 2414.9469 | 2439.2112 | 2434.7662 |
| 3.4024 | 2389.2925 | 2430.7748 | 2426.3217 |
| 3.4134 | 2445.4464 | 2422.3388 | 2417.8773 |
| 3.4244 | 2456.0649 | 2413.9033 | 2409.4328 |
| 3.4354 | 2466.2940 | 2405.4683 | 2400.9884 |
| 3.4464 | 2409.1239 | 2397.0338 | 2392.5439 |
| 3.4574 | 2380.5398 | 2388.5998 | 2384.0995 |
| 3.4684 | 2396.8083 | 2380.1662 | 2375.6550 |
| 3.4794 | 2355.6509 | 2371.7331 | 2367.2106 |
| 3.4904 | 2355.7345 | 2363.3004 | 2358.7662 |
| 3.5014 | 2412.9961 | 2354.8475 | 2350.3217 |
| 3.5124 | 2380.2900 | 2346.3786 | 2341.8194 |
| 3.5234 | 2332.7227 | 2337.8894 | 2333.3172 |
| 3.5344 | 2341.4199 | 2329.4007 | 2324.8149 |
| 3.5454 | 2326.6568 | 2320.9124 | 2316.3126 |
| 3.5564 | 2317.2670 | 2312.4245 | 2307.8103 |
| 3.5674 | 2319.9813 | 2303.9370 | 2299.3081 |
| 3.5784 | 2282.3613 | 2295.4500 | 2290.8058 |
| 3.5894 | 2281.5487 | 2286.9633 | 2282.3035 |
| 3.6004 | 2220.8594 | 2278.4771 | 2273.8013 |
| 3.6114 | 2221.2734 | 2269.9913 | 2265.2990 |
| 3.6224 | 2258.2714 | 2261.5059 | 2256.7967 |
| 3.6334 | 2234.0560 | 2253.0209 | 2248.2944 |
| 3.6444 | 2325.1013 | 2244.5363 | 2239.7922 |
| 3.6554 | 2283.4130 | 2236.0521 | 2231.2899 |
| 3.6664 | 2234.3382 | 2227.5683 | 2222.7876 |
| 3.6774 | 2260.1249 | 2219.0850 | 2214.2853 |
| 3.6884 | 2287.8938 | 2210.6020 | 2205.7831 |
| 3.6994 | 2169.5762 | 2202.1194 | 2197.2808 |
| 3.7104 | 2111.5546 | 2193.6372 | 2188.7785 |
| 3.7214 | 2212.5015 | 2185.1554 | 2180.2763 |
| 3.7324 | 2162.4995 | 2176.6740 | 2171.7740 |
| 3.7434 | 2191.9115 | 2168.1930 | 2163.2717 |
| 3.7544 | 2179.6858 | 2159.7124 | 2154.7694 |
| 3.7654 | 2182.8663 | 2151.2322 | 2146.2672 |
| 3.7764 | 2090.0083 | 2142.7524 | 2137.7649 |
| 3.7874 | 2130.6195 | 2133.8555 | 2129.2626 |
| 3.7984 | 2122.1893 | 2125.3151 | 2120.7603 |
| 3.8094 | 2175.6470 | 2116.8425 | 2112.2581 |
| 3.8204 | 2093.7183 | 2108.3701 | 2103.7558 |
| 3.8314 | 2185.2586 | 2099.8980 | 2095.2535 |
| 3.8424 | 2116.6332 | 2091.4262 | 2086.7513 |
| 3.8534 | 2060.8673 | 2082.9547 | 2078.2490 |
| 3.8644 | 2123.2040 | 2074.4835 | 2069.7467 |
| 3.8754 | 2035.4582 | 2067.3551 | 2061.2444 |
| 3.8864 | 2078.5840 | 2061.3012 | 2056.5013 |
| 3.8974 | 1985.0826 | 2056.5901 | 2051.7582 |
| 3.9084 | 2106.4621 | 2051.8793 | 2047.0150 |
| 3.9194 | 2078.3953 | 2047.1689 | 2042.2719 |
| 3.9304 | 2064.9051 | 2042.4588 | 2037.5288 |
| 3.9414 | 2111.5723 | 2037.7490 | 2032.7856 |
| 3.9524 | 2098.7389 | 2033.0395 | 2028.0425 |
| 3.9634 | 2119.8732 | 2028.3304 | 2023.2994 |
| 3.9744 | 2101.7935 | 2023.6216 | 2018.5562 |
| 3.9854 | 2042.8407 | 2018.9132 | 2013.8131 |
| 3.9964 | 2010.5634 | 2014.2051 | 2009.0700 |
| 4.0074 | 1988.6637 | 2009.4974 | 2004.3268 |
| 4.0184 | 2015.5221 | 2004.7901 | 1999.5837 |
| 4.0294 | 1996.9233 | 2000.0832 | 1994.8405 |
| 4.0404 | 1998.1416 | 1995.3766 | 1990.0974 |
| 4.0514 | 1990.3127 | 1990.6704 | 1985.3543 |
| 4.0624 | 2030.9267 | 1985.9348 | 1980.6111 |
| 4.0734 | 2015.5821 | 1981.1758 | 1975.7846 |
| 4.0844 | 1999.9248 | 1976.3874 | 1970.9581 |
| 4.0954 | 1982.6647 | 1971.5994 | 1966.1316 |
| 4.1064 | 1988.2566 | 1966.8118 | 1961.3051 |
| 4.1174 | 1987.4041 | 1962.0247 | 1956.4786 |
| 4.1284 | 1935.2261 | 1957.2380 | 1951.6521 |
| 4.1394 | 1925.7532 | 1952.4516 | 1946.8256 |
| 4.1504 | 2016.3924 | 1947.6658 | 1941.9991 |
| 4.1614 | 2017.7768 | 1942.8803 | 1937.1725 |
| 4.1724 | 1982.5389 | 1938.0954 | 1932.3460 |
| 4.1834 | 1994.9911 | 1933.3108 | 1927.5195 |
| 4.1944 | 1972.2030 | 1928.5268 | 1922.6930 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 2 Etosha18 SS 0-2cm S1 | 2.0054 | 29.9894 | 0.0110 | 11/30/2023 2:02:54 PM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 2.0484 | 346.17 | 0.1732 | 43.09435 | 21.16 |
| 7.1770 | 1635.98 | 0.4763 | 12.30703 | 100.00 |
| 8.7645 | 375.99 | 0.1732 | 10.08110 | 22.98 |
| 13.1401 | 31.28 | 0.6927 | 6.73231 | 1.91 |
| 15.7725 | 590.98 | 0.1191 | 5.61416 | 36.12 |
| 17.6128 | 39.80 | 0.2598 | 5.03146 | 2.43 |
| 18.2251 | 105.44 | 0.0866 | 4.86378 | 6.45 |
| 19.6348 | 53.67 | 0.4330 | 4.51765 | 3.28 |
| 25.9138 | 537.53 | 0.1082 | 3.43550 | 32.86 |
| 26.7105 | 147.68 | 0.2165 | 3.33480 | 9.03 |
| 27.5320 | 59.40 | 0.1732 | 3.23713 | 3.63 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 04-017-4317 | 56 | Potassium Magnesium Manganese Iron Aluminum Silicate Hydroxide | K Mg0.2 Mn0.1 Fe2.4 Al1.7 Si2.6 O10 ( O H )2 | Biotite-1M | 16 |
| * | 01-073-6448 | 40 | Sodium Aluminum Silicate | Na Al ( Si2 O6 ) | Analcime | 16 |
| * | 01-082-8023 | 24 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 27 |
| * | 01-080-5019 | 31 | Magnesium Silicate Hydroxide Hydrate | Mg7.68 ( Si12 O30 ) ( O H )4 ( H2 O )4 ( H2 O )6 | Sepiolite | 27 |
| * | 00-042-1437 | 48 | Potassium Iron Magnesium Aluminum Silicate Hydroxide | K ( Mg , Fe )3 ( Al , Fe ) Si3 O10 ( O H , F )2 | Phlogopite-1M, Fe+2-bearing | 15 |

Anchor Scan Parameters

Dataset Name	2 Etosha18 SS 0-2cm S1

File name	C:\aeris_data\XRD data\Goldstein\Etosha 2023\Etosha Clay Data\Sample 2\2 Etosha18 SS 0-2cm S1.xrdml

Sample Identification	2 Etosha18 SS 0-2cm S1

Measurement Start Date/Time	11/30/2023 2:02:54 PM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	2.0054

End Position [°2θ]	29.9894

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.0603

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes