22 Etosha 22 MoiSub 2.5-15 cm 550 C

Graphics

Graphics

Graphics

Quantitative Results

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	17.0

Phase Titanium Oxide

Weight fraction/ %	6.0

Phase Potassium Magnesium Iron Aluminum Silicate Hydroxide

Weight fraction/ %	10.0

Phase Potassium Magnesium Aluminum Iron Silicon Oxide Hydroxide

Weight fraction/ %	37.0

Phase Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide

Weight fraction/ %	30.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Sodium Aluminum Silicate Hydrate | Titanium Oxide | Potassium Magnesium Iron Aluminum Silicate Hydroxide | Potassium Magnesium Aluminum Iron Silicon Oxide Hydroxide | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide |
| --- | --- | --- | --- | --- | --- |
| 22 Etosha22 moisub 2.5-15cm S4 550C | 17.0 | 6.0 | 10.0 | 37.0 | 30.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 2.0054 | 8802.0000 | 8796.3068 | 8802.0000 |
| 2.0164 | 8638.8559 | 8755.9192 | 8736.9897 |
| 2.0274 | 8784.2881 | 8691.5389 | 8671.9795 |
| 2.0384 | 8633.1283 | 8627.1904 | 8606.9692 |
| 2.0494 | 8538.2439 | 8562.8757 | 8541.9589 |
| 2.0604 | 8647.9381 | 8498.5973 | 8476.9486 |
| 2.0714 | 8481.8024 | 8434.3576 | 8411.9384 |
| 2.0824 | 8497.2974 | 8370.1594 | 8346.9281 |
| 2.0934 | 8288.0983 | 8306.0058 | 8281.9178 |
| 2.1044 | 8285.4602 | 8241.8999 | 8216.9075 |
| 2.1154 | 8261.3019 | 8177.8455 | 8151.8973 |
| 2.1264 | 8263.0669 | 8113.8464 | 8086.8870 |
| 2.1374 | 8092.4543 | 8049.9069 | 8021.8767 |
| 2.1484 | 8147.8781 | 7986.0317 | 7956.8664 |
| 2.1594 | 8045.5998 | 7922.2261 | 7891.8562 |
| 2.1704 | 8256.8879 | 7858.4957 | 7826.8459 |
| 2.1814 | 8181.6686 | 7794.8470 | 7761.8356 |
| 2.1924 | 7994.2547 | 7731.2133 | 7696.8253 |
| 2.2034 | 7911.8053 | 7667.6242 | 7631.6163 |
| 2.2144 | 7941.1023 | 7604.0665 | 7566.4072 |
| 2.2254 | 7825.8997 | 7540.6233 | 7501.1981 |
| 2.2364 | 7785.6667 | 7477.3053 | 7435.9891 |
| 2.2474 | 7665.5910 | 7414.1246 | 7370.7800 |
| 2.2584 | 7791.7384 | 7351.0948 | 7305.5709 |
| 2.2694 | 7733.4926 | 7288.2311 | 7240.3619 |
| 2.2804 | 7653.1696 | 7225.5512 | 7175.1528 |
| 2.2914 | 7711.5388 | 7163.0754 | 7109.9437 |
| 2.3024 | 7613.6903 | 7100.8277 | 7044.7347 |
| 2.3134 | 7642.9213 | 7038.8365 | 6979.5256 |
| 2.3244 | 7647.7119 | 6977.1364 | 6914.3165 |
| 2.3354 | 7528.9558 | 6915.7700 | 6849.1075 |
| 2.3464 | 7499.5152 | 6854.7911 | 6783.8984 |
| 2.3574 | 7504.6293 | 6794.2687 | 6718.6893 |
| 2.3684 | 7588.4395 | 6734.2922 | 6653.4803 |
| 2.3794 | 7398.6165 | 6674.9194 | 6588.2712 |
| 2.3904 | 7297.0148 | 6616.3212 | 6522.9013 |
| 2.4014 | 7345.0354 | 6558.6813 | 6457.5314 |
| 2.4124 | 7256.0831 | 6502.3208 | 6392.1615 |
| 2.4234 | 7314.0649 | 6447.5759 | 6326.7916 |
| 2.4344 | 7293.1873 | 6394.8727 | 6261.4217 |
| 2.4454 | 7217.2812 | 6344.7406 | 6196.0518 |
| 2.4564 | 7223.7089 | 6297.8239 | 6130.6819 |
| 2.4674 | 7106.4690 | 6254.8867 | 6065.3120 |
| 2.4784 | 6982.9051 | 6216.8100 | 5999.9421 |
| 2.4894 | 7009.2232 | 6184.5771 | 5934.5722 |
| 2.5004 | 7145.9867 | 6159.2438 | 5869.2024 |
| 2.5114 | 7077.8299 | 6141.8936 | 5803.8325 |
| 2.5224 | 6973.5339 | 6133.5741 | 5738.4626 |
| 2.5334 | 6939.1416 | 6135.2186 | 5673.0927 |
| 2.5444 | 6815.2178 | 6147.5532 | 5607.7228 |
| 2.5554 | 6715.4287 | 6170.9921 | 5542.3529 |
| 2.5664 | 6830.3983 | 6205.5250 | 5476.9830 |
| 2.5774 | 6864.3432 | 6250.5949 | 5411.6131 |
| 2.5884 | 6785.8859 | 6304.9626 | 5346.2432 |
| 2.5994 | 6765.3009 | 6366.5507 | 5280.8733 |
| 2.6104 | 6555.3815 | 6432.2637 | 5215.5034 |
| 2.6214 | 6622.3216 | 6497.7984 | 5150.1335 |
| 2.6324 | 6575.6961 | 6557.5103 | 5084.7636 |
| 2.6434 | 6557.9312 | 6604.4693 | 5019.3937 |
| 2.6544 | 6558.2217 | 6630.9021 | 4954.0238 |
| 2.6654 | 6363.4719 | 6629.1730 | 4888.6539 |
| 2.6764 | 6282.5044 | 6593.2226 | 4823.2840 |
| 2.6874 | 6229.9911 | 6520.0247 | 4757.9141 |
| 2.6984 | 6033.0309 | 6410.4100 | 4692.5443 |
| 2.7094 | 5988.6529 | 6268.8288 | 4627.1744 |
| 2.7204 | 5863.9720 | 6102.1832 | 4561.8045 |
| 2.7314 | 5609.7286 | 5918.3084 | 4496.4346 |
| 2.7424 | 5485.5319 | 5724.7014 | 4431.0647 |
| 2.7534 | 5449.1052 | 5527.7181 | 4365.6948 |
| 2.7644 | 5263.5103 | 5332.4520 | 4300.1641 |
| 2.7754 | 5068.3894 | 5142.6658 | 4234.6333 |
| 2.7864 | 4865.7217 | 4961.0695 | 4169.1026 |
| 2.7974 | 4686.0177 | 4789.3733 | 4103.5719 |
| 2.8084 | 4508.0845 | 4628.5165 | 4038.0412 |
| 2.8194 | 4384.4936 | 4478.8144 | 3972.5105 |
| 2.8304 | 4344.5015 | 4340.0873 | 3906.9797 |
| 2.8414 | 4111.2723 | 4211.7786 | 3841.4490 |
| 2.8524 | 3936.0029 | 4093.0646 | 3775.9183 |
| 2.8634 | 3701.7050 | 3982.9543 | 3710.3876 |
| 2.8744 | 3762.8825 | 3880.3769 | 3644.8569 |
| 2.8854 | 3639.1396 | 3784.2543 | 3579.3261 |
| 2.8964 | 3500.6062 | 3693.5563 | 3513.7954 |
| 2.9074 | 3421.6539 | 3607.3400 | 3448.2647 |
| 2.9184 | 3375.9843 | 3524.7717 | 3382.7340 |
| 2.9294 | 3276.9941 | 3445.1375 | 3317.2032 |
| 2.9404 | 3246.0605 | 3376.8533 | 3251.6725 |
| 2.9514 | 3223.4336 | 3316.7868 | 3210.5286 |
| 2.9624 | 3170.0472 | 3267.1982 | 3169.3847 |
| 2.9734 | 3016.1445 | 3218.7726 | 3128.2408 |
| 2.9844 | 2946.4184 | 3171.2752 | 3087.0968 |
| 2.9954 | 3000.6902 | 3124.5259 | 3045.9529 |
| 3.0064 | 2856.8958 | 3078.3875 | 3004.8090 |
| 3.0174 | 2867.4690 | 3032.7551 | 2963.6651 |
| 3.0284 | 2839.1357 | 2987.5487 | 2922.5212 |
| 3.0394 | 2802.6981 | 2942.7060 | 2881.3772 |
| 3.0504 | 2771.2149 | 2898.1783 | 2840.2333 |
| 3.0614 | 2800.3038 | 2853.9264 | 2799.0894 |
| 3.0724 | 2730.2758 | 2809.9187 | 2757.9455 |
| 3.0834 | 2665.7267 | 2766.1287 | 2716.8016 |
| 3.0944 | 2683.6637 | 2722.5340 | 2675.6576 |
| 3.1054 | 2640.0491 | 2679.1155 | 2634.5137 |
| 3.1164 | 2557.8284 | 2635.8566 | 2593.3698 |
| 3.1274 | 2584.8525 | 2601.1044 | 2552.2259 |
| 3.1384 | 2517.7630 | 2572.3895 | 2533.7105 |
| 3.1494 | 2458.6883 | 2552.1569 | 2515.1951 |
| 3.1604 | 2571.4189 | 2532.0347 | 2496.6797 |
| 3.1714 | 2544.2576 | 2512.0137 | 2478.1643 |
| 3.1824 | 2488.4666 | 2492.0858 | 2459.6489 |
| 3.1934 | 2459.3274 | 2472.2435 | 2441.1335 |
| 3.2044 | 2379.5836 | 2452.4801 | 2422.6181 |
| 3.2154 | 2385.4327 | 2432.7895 | 2404.1027 |
| 3.2264 | 2388.3200 | 2413.1663 | 2385.5873 |
| 3.2374 | 2373.3619 | 2393.6054 | 2367.0719 |
| 3.2484 | 2383.1666 | 2374.1022 | 2348.5565 |
| 3.2594 | 2315.1563 | 2354.6528 | 2330.0411 |
| 3.2704 | 2307.0580 | 2335.2532 | 2311.5257 |
| 3.2814 | 2337.6441 | 2315.9000 | 2293.0103 |
| 3.2924 | 2299.8717 | 2296.5900 | 2274.4949 |
| 3.3034 | 2222.1917 | 2277.3204 | 2255.9795 |
| 3.3144 | 2229.8186 | 2258.5042 | 2237.4642 |
| 3.3254 | 2243.5516 | 2240.0167 | 2220.0737 |
| 3.3364 | 2201.3053 | 2221.9779 | 2202.6832 |
| 3.3474 | 2161.5074 | 2203.9700 | 2185.2928 |
| 3.3584 | 2143.2522 | 2185.9911 | 2167.9023 |
| 3.3694 | 2133.0000 | 2168.0394 | 2150.5119 |
| 3.3804 | 2136.7547 | 2150.1132 | 2133.1214 |
| 3.3914 | 2129.0265 | 2132.2111 | 2115.7310 |
| 3.4024 | 2120.0000 | 2114.3316 | 2098.3405 |
| 3.4134 | 2081.0187 | 2096.4735 | 2080.9501 |
| 3.4244 | 2043.2168 | 2078.6354 | 2063.5596 |
| 3.4354 | 2013.0865 | 2060.8164 | 2046.1691 |
| 3.4464 | 1963.4430 | 2043.0152 | 2028.7787 |
| 3.4574 | 1975.6106 | 2025.2310 | 2011.3882 |
| 3.4684 | 1974.4199 | 2007.4629 | 1993.9978 |
| 3.4794 | 2002.1141 | 1989.7099 | 1976.6073 |
| 3.4904 | 2030.5929 | 1971.9713 | 1959.2169 |
| 3.5014 | 1909.0855 | 1955.7498 | 1941.8264 |
| 3.5124 | 1885.6131 | 1940.6032 | 1928.5049 |
| 3.5234 | 1902.3038 | 1926.9724 | 1915.1835 |
| 3.5344 | 1916.8776 | 1913.3533 | 1901.8620 |
| 3.5454 | 1954.7129 | 1899.7453 | 1888.5405 |
| 3.5564 | 1914.9543 | 1886.1478 | 1875.2190 |
| 3.5674 | 1886.3107 | 1872.5603 | 1861.8975 |
| 3.5784 | 1836.0275 | 1858.9824 | 1848.5761 |
| 3.5894 | 1831.0089 | 1845.5178 | 1835.2546 |
| 3.6004 | 1847.2974 | 1831.9781 | 1821.9331 |
| 3.6114 | 1870.8623 | 1818.4806 | 1808.6116 |
| 3.6224 | 1847.7625 | 1804.9486 | 1795.2901 |
| 3.6334 | 1819.7040 | 1791.4147 | 1781.9687 |
| 3.6444 | 1771.7689 | 1777.8880 | 1768.6472 |
| 3.6554 | 1739.3776 | 1764.3683 | 1755.3257 |
| 3.6664 | 1771.8058 | 1750.8553 | 1742.0042 |
| 3.6774 | 1749.3481 | 1737.3486 | 1728.6828 |
| 3.6884 | 1743.2389 | 1723.8480 | 1715.3613 |
| 3.6994 | 1683.1809 | 1710.3532 | 1702.0398 |
| 3.7104 | 1752.0295 | 1696.8640 | 1688.7183 |
| 3.7214 | 1676.5162 | 1683.3802 | 1675.3968 |
| 3.7324 | 1677.3673 | 1669.9016 | 1662.0754 |
| 3.7434 | 1668.5801 | 1656.4279 | 1648.7539 |
| 3.7544 | 1676.5885 | 1642.9590 | 1635.4324 |
| 3.7654 | 1562.9449 | 1629.4946 | 1622.1109 |
| 3.7764 | 1592.2812 | 1616.0346 | 1608.7894 |
| 3.7874 | 1572.1858 | 1602.5789 | 1595.4680 |
| 3.7984 | 1603.6524 | 1589.1272 | 1582.1465 |
| 3.8094 | 1503.6608 | 1575.6794 | 1568.8250 |
| 3.8204 | 1545.6726 | 1562.2354 | 1555.5035 |
| 3.8314 | 1569.4435 | 1548.7951 | 1542.1820 |
| 3.8424 | 1580.1578 | 1535.3582 | 1528.8606 |
| 3.8534 | 1575.5368 | 1521.9248 | 1515.5391 |
| 3.8644 | 1469.0034 | 1508.4946 | 1502.2176 |
| 3.8754 | 1481.3579 | 1496.8329 | 1488.8961 |
| 3.8864 | 1483.7788 | 1486.4209 | 1480.3520 |
| 3.8974 | 1474.8250 | 1477.7772 | 1471.8079 |
| 3.9084 | 1491.9061 | 1469.1363 | 1463.2638 |
| 3.9194 | 1500.9085 | 1460.4982 | 1454.7196 |
| 3.9304 | 1447.5462 | 1451.8628 | 1446.1755 |
| 3.9414 | 1520.6362 | 1443.2299 | 1437.6314 |
| 3.9524 | 1452.7920 | 1434.5996 | 1429.0872 |
| 3.9634 | 1483.7562 | 1425.9716 | 1420.5431 |
| 3.9744 | 1482.1912 | 1417.3460 | 1411.9990 |
| 3.9854 | 1413.5487 | 1408.7227 | 1403.4549 |
| 3.9964 | 1417.3830 | 1400.1015 | 1394.9107 |
| 4.0074 | 1396.5782 | 1391.4826 | 1386.3666 |
| 4.0184 | 1376.5457 | 1382.8657 | 1377.8225 |
| 4.0294 | 1339.1544 | 1374.2508 | 1369.2784 |
| 4.0404 | 1348.0216 | 1365.6379 | 1360.7342 |
| 4.0514 | 1310.4395 | 1357.0269 | 1352.1901 |
| 4.0624 | 1333.7748 | 1348.8105 | 1343.6460 |
| 4.0734 | 1371.7218 | 1340.8732 | 1336.1646 |
| 4.0844 | 1380.9336 | 1333.3304 | 1328.6832 |
| 4.0954 | 1290.4179 | 1325.7893 | 1321.2017 |
| 4.1064 | 1311.3530 | 1318.2499 | 1313.7203 |
| 4.1174 | 1281.8849 | 1310.7121 | 1306.2389 |
| 4.1284 | 1265.0487 | 1303.1760 | 1298.7575 |
| 4.1394 | 1273.9262 | 1295.6414 | 1291.2761 |
| 4.1504 | 1297.8983 | 1288.1084 | 1283.7947 |
| 4.1614 | 1313.5044 | 1280.5768 | 1276.3132 |
| 4.1724 | 1270.1682 | 1273.0468 | 1268.8318 |
| 4.1834 | 1273.2212 | 1265.5182 | 1261.3504 |
| 4.1944 | 1238.8520 | 1257.9910 | 1253.8690 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 22 Etosha22 moisub 2.5-15cm S4 550C | 2.0054 | 29.9894 | 0.0110 | 12/12/2023 3:07:22 PM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 2.6774 | 1585.47 | 0.1948 | 32.97102 | 100.00 |
| 5.3225 | 131.17 | 0.1732 | 16.59017 | 8.27 |
| 8.7276 | 1168.47 | 0.1082 | 10.12362 | 73.70 |
| 13.5039 | 43.24 | 0.3464 | 6.55178 | 2.73 |
| 15.7258 | 942.92 | 0.0758 | 5.63072 | 59.47 |
| 15.8369 | 852.78 | 0.0758 | 5.59147 | 53.79 |
| 17.6188 | 110.88 | 0.1732 | 5.02978 | 6.99 |
| 18.2708 | 109.47 | 0.1732 | 4.85174 | 6.90 |
| 19.5822 | 57.22 | 0.1732 | 4.52966 | 3.61 |
| 22.4476 | 35.47 | 0.2598 | 3.95752 | 2.24 |
| 23.4358 | 40.11 | 0.2165 | 3.79284 | 2.53 |
| 24.2753 | 19.52 | 0.3464 | 3.66353 | 1.23 |
| 26.0434 | 554.40 | 0.1948 | 3.41869 | 34.97 |
| 26.6793 | 269.02 | 0.2165 | 3.33862 | 16.97 |
| 27.4827 | 369.05 | 0.1515 | 3.24283 | 23.28 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 01-075-8690 | 64 | Sodium Aluminum Silicate Hydrate | Na1.71 ( ( Al1.806 Si4.194 ) O12 ) ( H2 O )2.16 | Analcime | 17 |
| * | 04-016-2838 | 51 | Titanium Oxide | Ti O2 | Rutile | 6 |
| * | 00-042-1414 | 33 | Potassium Magnesium Iron Aluminum Silicate Hydroxide | K ( Mg , Fe +2 )3 ( Al , Fe +3 ) Si3 O10 ( O H , F )2 | Biotite-1M | 10 |
| * | 04-020-0786 | 26 | Potassium Magnesium Aluminum Iron Silicon Oxide Hydroxide | K Mg2 Fe Al Si3 O11 ( O H ) | Phlogopite-2M1 | 37 |
| * | 04-025-4215 | 22 | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Mg10.4 V0.36 Mn33.5 Fe0.14 Al0.69 Si6.77 As6.5 P0.3 O54 ( O H )42 | Carlfrancisite | 30 |

Anchor Scan Parameters

Dataset Name	22 Etosha22 moisub 2.5-15cm S4 550C

File name	C:\aeris_data\XRD data\Goldstein\Etosha 2023\Etosha Clay Data\Sample 22\22 Etosha22 moisub 2.5-15cm S4 550C.xrdml

Sample Identification	22 Etosha22 moisub 2.5-15cm S4 550C

Measurement Start Date/Time	12/12/2023 3:07:22 PM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	2.0054

End Position [°2θ]	29.9894

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.0603

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes