25 Etosha 22 sub 5-15 cm S5 REPLICATE

Graphics

Graphics

Graphics

Quantitative Results

Phase Titanium Oxide

Weight fraction/ %	3.0

Phase Potassium Magnesium Manganese Iron Aluminum Silicate Hydroxide

Weight fraction/ %	8.0

Phase Potassium Calcium Manganese Aluminum Silicate Hydroxide Hydrate

Weight fraction/ %	5.0

Phase Magnesium Silicate Hydroxide Hydrate

Weight fraction/ %	4.0

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	16.0

Phase Potassium Aluminum Silicate

Weight fraction/ %	10.0

Phase Potassium Sodium Magnesium Aluminum Iron Silicon Titanium Oxide Fluoride Hydroxide

Weight fraction/ %	10.0

Phase Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide

Weight fraction/ %	15.0

Phase Magnesium Aluminum Silicate Hydroxide Hydrate

Weight fraction/ %	3.0

Phase Copper Arsenate Chloride Hydroxide Hydrate

Weight fraction/ %	3.0

Phase Potassium Aluminum Silicate

Weight fraction/ %	14.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	8.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Titanium Oxide | Potassium Magnesium Manganese Iron Aluminum Silicate Hydroxide | Potassium Calcium Manganese Aluminum Silicate Hydroxide Hydrate | Magnesium Silicate Hydroxide Hydrate | Sodium Aluminum Silicate Hydrate | Potassium Aluminum Silicate | Potassium Sodium Magnesium Aluminum Iron Silicon Titanium Oxide Fluoride Hydroxide | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Magnesium Aluminum Silicate Hydroxide Hydrate | Copper Arsenate Chloride Hydroxide Hydrate | Potassium Aluminum Silicate | Sodium Magnesium Silicon Oxide Hydrate |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 25 regular | 3.0 | 8.0 | 5.0 | 4.0 | 16.0 | 10.0 | 10.0 | 15.0 | 3.0 | 3.0 | 14.0 | 8.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 2.0054 | 7864.0000 | 7826.2577 | 7864.0000 |
| 2.0164 | 7761.6278 | 7822.7461 | 7807.4866 |
| 2.0274 | 7570.6067 | 7766.5979 | 7750.9732 |
| 2.0384 | 7557.5811 | 7710.4667 | 7694.4598 |
| 2.0494 | 7625.1967 | 7654.3537 | 7637.9463 |
| 2.0604 | 7622.6087 | 7598.2599 | 7581.4329 |
| 2.0714 | 7532.3746 | 7542.1869 | 7524.9195 |
| 2.0824 | 7621.6445 | 7486.1359 | 7468.4061 |
| 2.0934 | 7578.9204 | 7430.1087 | 7411.8927 |
| 2.1044 | 7510.5708 | 7374.1069 | 7355.3793 |
| 2.1154 | 7459.8928 | 7318.1324 | 7298.8659 |
| 2.1264 | 7309.7370 | 7262.1873 | 7242.3525 |
| 2.1374 | 7392.4956 | 7206.2738 | 7185.8390 |
| 2.1484 | 7312.5782 | 7150.3945 | 7129.3256 |
| 2.1594 | 7259.0354 | 7094.5521 | 7072.8122 |
| 2.1704 | 7307.4454 | 7038.7495 | 7016.2988 |
| 2.1814 | 7155.0669 | 6982.9902 | 6959.7854 |
| 2.1924 | 7145.4774 | 6927.1265 | 6903.2720 |
| 2.2034 | 7140.1327 | 6871.4540 | 6846.5963 |
| 2.2144 | 7028.9282 | 6815.6858 | 6789.9206 |
| 2.2254 | 7005.8043 | 6759.9782 | 6733.2450 |
| 2.2364 | 6976.8997 | 6704.3368 | 6676.5693 |
| 2.2474 | 6935.2498 | 6648.7679 | 6619.8936 |
| 2.2584 | 6950.3633 | 6593.2786 | 6563.2179 |
| 2.2694 | 6888.8555 | 6537.8768 | 6506.5423 |
| 2.2804 | 6859.3181 | 6482.5715 | 6449.8666 |
| 2.2914 | 6802.3736 | 6427.3729 | 6393.1909 |
| 2.3024 | 6743.5531 | 6372.2923 | 6336.5153 |
| 2.3134 | 6829.7591 | 6317.3428 | 6279.8396 |
| 2.3244 | 6843.6032 | 6262.5392 | 6223.1639 |
| 2.3354 | 6727.9823 | 6207.8987 | 6166.4882 |
| 2.3464 | 6679.8073 | 6153.4407 | 6109.8126 |
| 2.3574 | 6709.1642 | 6099.1881 | 6053.1369 |
| 2.3684 | 6763.9086 | 6045.1672 | 5996.4612 |
| 2.3794 | 6695.3894 | 5991.2870 | 5939.7855 |
| 2.3904 | 6673.5433 | 5937.8206 | 5882.9786 |
| 2.4014 | 6637.8938 | 5884.5783 | 5826.1717 |
| 2.4124 | 6521.0806 | 5831.7400 | 5769.3647 |
| 2.4234 | 6492.2635 | 5779.3806 | 5712.5578 |
| 2.4344 | 6589.1431 | 5727.5999 | 5655.7508 |
| 2.4454 | 6623.2871 | 5676.5353 | 5598.9439 |
| 2.4564 | 6513.2522 | 5626.3793 | 5542.1370 |
| 2.4674 | 6541.3658 | 5577.4042 | 5485.3300 |
| 2.4784 | 6472.2704 | 5529.9952 | 5428.5231 |
| 2.4894 | 6344.7758 | 5484.6899 | 5371.7161 |
| 2.5004 | 6342.6150 | 5442.2248 | 5314.9092 |
| 2.5114 | 6314.6844 | 5403.5797 | 5258.1022 |
| 2.5224 | 6191.8382 | 5370.0143 | 5201.2953 |
| 2.5334 | 6222.1151 | 5343.0809 | 5144.4884 |
| 2.5444 | 6222.9444 | 5324.6006 | 5087.6814 |
| 2.5554 | 6150.9597 | 5316.5854 | 5030.8745 |
| 2.5664 | 6085.1062 | 5321.0965 | 4974.0675 |
| 2.5774 | 6125.0266 | 5340.0340 | 4917.2606 |
| 2.5884 | 5964.6637 | 5374.8643 | 4860.4536 |
| 2.5994 | 6027.2478 | 5426.2964 | 4803.6467 |
| 2.6104 | 6070.4115 | 5493.9199 | 4746.8398 |
| 2.6214 | 6008.7021 | 5575.7984 | 4690.0328 |
| 2.6324 | 6020.1254 | 5667.9930 | 4633.2259 |
| 2.6434 | 5973.8309 | 5764.0044 | 4576.4189 |
| 2.6544 | 5921.7183 | 5854.2450 | 4519.6120 |
| 2.6654 | 5847.5782 | 5925.9803 | 4462.8050 |
| 2.6764 | 5723.7832 | 5964.5542 | 4405.9981 |
| 2.6874 | 5753.2498 | 5956.5474 | 4349.1912 |
| 2.6984 | 5676.9823 | 5894.1551 | 4292.3842 |
| 2.7094 | 5557.7512 | 5778.3240 | 4235.5773 |
| 2.7204 | 5435.5319 | 5618.3450 | 4178.7703 |
| 2.7314 | 5291.7522 | 5428.2235 | 4121.9634 |
| 2.7424 | 5040.0078 | 5222.4046 | 4065.1564 |
| 2.7534 | 4848.2438 | 5012.8753 | 4008.3495 |
| 2.7644 | 4767.4189 | 4808.8705 | 3951.4113 |
| 2.7754 | 4647.8722 | 4617.2417 | 3894.4731 |
| 2.7864 | 4602.9474 | 4439.6046 | 3837.5349 |
| 2.7974 | 4377.7610 | 4278.5445 | 3780.5967 |
| 2.8084 | 4256.5836 | 4133.6195 | 3723.6584 |
| 2.8194 | 4065.0019 | 4004.1295 | 3666.7202 |
| 2.8304 | 3961.2699 | 3888.7054 | 3609.7820 |
| 2.8414 | 3816.6843 | 3785.3947 | 3552.8438 |
| 2.8524 | 3681.1273 | 3692.1317 | 3495.9056 |
| 2.8634 | 3577.1711 | 3606.9343 | 3438.9674 |
| 2.8744 | 3555.5221 | 3528.0318 | 3382.0292 |
| 2.8854 | 3448.8053 | 3453.9307 | 3325.0910 |
| 2.8964 | 3307.6194 | 3383.4304 | 3268.1527 |
| 2.9074 | 3271.3235 | 3315.6036 | 3211.2145 |
| 2.9184 | 3184.8309 | 3249.7580 | 3154.2763 |
| 2.9294 | 3125.9233 | 3185.3903 | 3097.3381 |
| 2.9404 | 3059.5708 | 3155.1621 | 3040.3999 |
| 2.9514 | 2960.0383 | 3089.5104 | 3013.2149 |
| 2.9624 | 2881.6740 | 3057.5647 | 2986.0300 |
| 2.9734 | 2927.6539 | 3026.1757 | 2958.8450 |
| 2.9844 | 2886.7134 | 2995.2493 | 2931.6601 |
| 2.9954 | 2854.0442 | 2964.7148 | 2904.4751 |
| 3.0064 | 2839.0093 | 2934.5173 | 2877.2901 |
| 3.0174 | 2783.7306 | 2904.6129 | 2850.1052 |
| 3.0284 | 2749.4100 | 2874.9655 | 2822.9202 |
| 3.0394 | 2687.2055 | 2845.5449 | 2795.7353 |
| 3.0504 | 2750.4498 | 2816.3255 | 2768.5503 |
| 3.0614 | 2708.1799 | 2787.2853 | 2741.3653 |
| 3.0724 | 2700.5418 | 2758.4054 | 2714.1804 |
| 3.0834 | 2660.0914 | 2729.6692 | 2686.9954 |
| 3.0944 | 2623.6549 | 2701.0622 | 2659.8105 |
| 3.1054 | 2568.7896 | 2672.5717 | 2632.6255 |
| 3.1164 | 2596.4484 | 2644.1867 | 2605.4405 |
| 3.1274 | 2597.4484 | 2629.7470 | 2578.2556 |
| 3.1384 | 2572.6372 | 2600.1740 | 2563.5499 |
| 3.1494 | 2530.4956 | 2584.5298 | 2548.8442 |
| 3.1604 | 2510.6342 | 2568.9580 | 2534.1385 |
| 3.1714 | 2498.2911 | 2553.4522 | 2519.4328 |
| 3.1824 | 2525.1460 | 2538.0071 | 2504.7270 |
| 3.1934 | 2460.7168 | 2522.6177 | 2490.0213 |
| 3.2044 | 2439.0821 | 2507.2797 | 2475.3156 |
| 3.2154 | 2484.4641 | 2491.9891 | 2460.6099 |
| 3.2264 | 2482.0782 | 2476.7422 | 2445.9042 |
| 3.2374 | 2459.8319 | 2461.5359 | 2431.1985 |
| 3.2484 | 2470.6111 | 2446.3672 | 2416.4928 |
| 3.2594 | 2438.1770 | 2431.2335 | 2401.7871 |
| 3.2704 | 2347.7409 | 2416.1324 | 2387.0814 |
| 3.2814 | 2393.6244 | 2401.0616 | 2372.3757 |
| 3.2924 | 2360.3097 | 2386.0193 | 2357.6700 |
| 3.3034 | 2324.6234 | 2371.0036 | 2342.9643 |
| 3.3144 | 2336.5551 | 2358.4089 | 2328.2585 |
| 3.3254 | 2319.8230 | 2343.2044 | 2315.7119 |
| 3.3364 | 2298.9203 | 2330.4181 | 2303.1652 |
| 3.3474 | 2295.9666 | 2317.6526 | 2290.6186 |
| 3.3584 | 2305.9454 | 2304.9066 | 2278.0719 |
| 3.3694 | 2234.2596 | 2292.1791 | 2265.5253 |
| 3.3804 | 2254.3658 | 2279.4692 | 2252.9786 |
| 3.3914 | 2265.5575 | 2266.7759 | 2240.4319 |
| 3.4024 | 2245.8289 | 2254.0984 | 2227.8853 |
| 3.4134 | 2270.4651 | 2241.4359 | 2215.3386 |
| 3.4244 | 2253.8215 | 2228.7877 | 2202.7920 |
| 3.4354 | 2183.9882 | 2216.1532 | 2190.2453 |
| 3.4464 | 2144.7291 | 2204.1756 | 2177.6987 |
| 3.4574 | 2135.1534 | 2192.3747 | 2165.1520 |
| 3.4684 | 2165.9091 | 2180.0303 | 2152.6053 |
| 3.4794 | 2169.8250 | 2167.4595 | 2140.0587 |
| 3.4904 | 2120.1239 | 2154.8999 | 2127.5120 |
| 3.5014 | 2141.9813 | 2147.9731 | 2114.9654 |
| 3.5124 | 2080.2512 | 2134.8786 | 2107.4842 |
| 3.5234 | 2051.7463 | 2127.4161 | 2100.0030 |
| 3.5344 | 2057.4169 | 2119.9634 | 2092.5219 |
| 3.5454 | 2086.1092 | 2112.5202 | 2085.0407 |
| 3.5564 | 2075.0088 | 2105.0864 | 2077.5595 |
| 3.5674 | 2042.4041 | 2097.6615 | 2070.0784 |
| 3.5784 | 2052.9405 | 2090.2455 | 2062.5972 |
| 3.5894 | 2078.2478 | 2082.8382 | 2055.1160 |
| 3.6004 | 2129.3678 | 2075.4392 | 2047.6349 |
| 3.6114 | 2076.8515 | 2068.0485 | 2040.1537 |
| 3.6224 | 2074.5221 | 2060.6659 | 2032.6725 |
| 3.6334 | 2028.0364 | 2053.2912 | 2025.1914 |
| 3.6444 | 2001.2040 | 2045.9243 | 2017.7102 |
| 3.6554 | 1997.1563 | 2038.5652 | 2010.2290 |
| 3.6664 | 1981.5929 | 2031.2137 | 2002.7479 |
| 3.6774 | 1979.0000 | 2023.8697 | 1995.2667 |
| 3.6884 | 1987.8053 | 2020.9354 | 1987.7855 |
| 3.6994 | 1991.6785 | 2013.1706 | 1984.2709 |
| 3.7104 | 2002.8614 | 2009.8154 | 1980.7563 |
| 3.7214 | 1966.3864 | 2006.4674 | 1977.2418 |
| 3.7324 | 1951.8437 | 2003.1267 | 1973.7272 |
| 3.7434 | 1949.1160 | 1999.7932 | 1970.2126 |
| 3.7544 | 1932.7773 | 1996.4668 | 1966.6980 |
| 3.7654 | 2002.5595 | 1993.1477 | 1963.1834 |
| 3.7764 | 1943.3318 | 1989.8357 | 1959.6688 |
| 3.7874 | 1992.5487 | 1986.5310 | 1956.1542 |
| 3.7984 | 1871.2134 | 1983.2334 | 1952.6396 |
| 3.8094 | 1933.9125 | 1979.9431 | 1949.1250 |
| 3.8204 | 1989.0664 | 1976.6600 | 1945.6104 |
| 3.8314 | 1922.6047 | 1973.3843 | 1942.0959 |
| 3.8424 | 1934.2119 | 1970.1158 | 1938.5813 |
| 3.8534 | 1889.7758 | 1966.8548 | 1935.0667 |
| 3.8644 | 1971.3019 | 1963.6012 | 1931.5521 |
| 3.8754 | 1949.3894 | 1960.3551 | 1928.0375 |
| 3.8864 | 1934.2212 | 1957.1166 | 1924.5229 |
| 3.8974 | 1940.4375 | 1953.8857 | 1921.0083 |
| 3.9084 | 1909.1696 | 1950.6627 | 1917.4937 |
| 3.9194 | 1928.8495 | 1947.4474 | 1913.9791 |
| 3.9304 | 1879.3958 | 1944.2401 | 1910.4645 |
| 3.9414 | 1921.1632 | 1941.0409 | 1906.9500 |
| 3.9524 | 1912.8731 | 1937.8499 | 1903.4354 |
| 3.9634 | 1872.2537 | 1934.6671 | 1899.9208 |
| 3.9744 | 1885.4017 | 1931.4928 | 1896.4062 |
| 3.9854 | 1881.1593 | 1928.3270 | 1892.8916 |
| 3.9964 | 1821.2911 | 1925.1700 | 1889.3770 |
| 4.0074 | 1856.2704 | 1922.0218 | 1885.8624 |
| 4.0184 | 1881.0531 | 1918.8827 | 1882.3478 |
| 4.0294 | 1830.9233 | 1915.7527 | 1878.8332 |
| 4.0404 | 1827.7601 | 1912.6321 | 1875.3186 |
| 4.0514 | 1824.6225 | 1909.5211 | 1871.8041 |
| 4.0624 | 1904.1362 | 1910.0255 | 1868.2895 |
| 4.0734 | 1884.8928 | 1906.5774 | 1868.0236 |
| 4.0844 | 1875.4159 | 1906.7452 | 1867.7578 |
| 4.0954 | 1856.2527 | 1906.9233 | 1867.4920 |
| 4.1064 | 1835.9518 | 1907.1121 | 1867.2262 |
| 4.1174 | 1858.7168 | 1907.3119 | 1866.9604 |
| 4.1284 | 1845.8540 | 1907.5228 | 1866.6945 |
| 4.1394 | 1813.8388 | 1907.7452 | 1866.4287 |
| 4.1504 | 1864.2345 | 1907.9793 | 1866.1629 |
| 4.1614 | 1904.4081 | 1908.2255 | 1865.8971 |
| 4.1724 | 1870.3888 | 1908.4842 | 1865.6312 |
| 4.1834 | 1808.4690 | 1908.7555 | 1865.3654 |
| 4.1944 | 1848.6736 | 1909.0399 | 1865.0996 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 25 regular | 2.0054 | 29.9894 | 0.0110 | 4/24/2024 11:21:45 AM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 2.6896 | 1439.03 | 0.1515 | 32.82203 | 82.43 |
| 5.5454 | 957.07 | 0.6927 | 15.92387 | 54.82 |
| 6.0396 | 1189.25 | 0.2598 | 14.62186 | 68.12 |
| 7.1034 | 1745.72 | 0.4330 | 12.43436 | 100.00 |
| 8.7115 | 983.51 | 0.1299 | 10.14228 | 56.34 |
| 13.1295 | 24.88 | 0.5196 | 6.73774 | 1.43 |
| 15.6933 | 816.65 | 0.0758 | 5.64230 | 46.78 |
| 17.5731 | 153.49 | 0.1732 | 5.04275 | 8.79 |
| 18.1818 | 130.15 | 0.1082 | 4.87526 | 7.46 |
| 19.5462 | 64.17 | 0.6927 | 4.53792 | 3.68 |
| 20.7920 | 86.15 | 0.1515 | 4.26876 | 4.93 |
| 22.3779 | 266.24 | 0.1082 | 3.96969 | 15.25 |
| 23.3504 | 99.28 | 0.1732 | 3.80651 | 5.69 |
| 25.8894 | 943.53 | 0.0974 | 3.43867 | 54.05 |
| 26.6686 | 667.29 | 0.1515 | 3.33994 | 38.22 |
| 27.4552 | 395.54 | 0.1948 | 3.24601 | 22.66 |
| 29.6657 | 135.39 | 0.1082 | 3.00898 | 7.76 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 04-008-7810 | 52 | Titanium Oxide | Ti O2 | Rutile | 3 |
| * | 04-017-4317 | 36 | Potassium Magnesium Manganese Iron Aluminum Silicate Hydroxide | K Mg0.2 Mn0.1 Fe2.4 Al1.7 Si2.6 O10 ( O H )2 | Biotite-1M | 8 |
| * | 04-016-6876 | 29 | Potassium Calcium Manganese Aluminum Silicate Hydroxide Hydrate | K0.38 Ca0.12 Mn2 Al0.62 Si2.71 O8 ( O H )1.33 ( H2 O )1.75 | Ganophyllite | 5 |
| * | 01-080-5019 | 17 | Magnesium Silicate Hydroxide Hydrate | Mg7.68 ( Si12 O30 ) ( O H )4 ( H2 O )4 ( H2 O )6 | Sepiolite | 4 |
| * | 04-011-6756 | 17 | Sodium Aluminum Silicate Hydrate | Na8 Al8 Si16 O48 ( H2 O )8 | Analcime | 16 |
| * | 01-080-2107 | 19 | Potassium Aluminum Silicate | K ( Al Si3 O8 ) | Sanidine | 10 |
| * | 04-014-4588 | 25 | Potassium Sodium Magnesium Aluminum Iron Silicon Titanium Oxide Fluoride Hydroxide | K0.904 Na0.055 Mg1.362 Ti0.178 Fe1.205 Al1.414 Si2.831 O10.371 ( O H )1.169 F0.46 | Phlogopite-1M, Fe+2-bearing | 10 |
| * | 04-025-4215 | 24 | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Mg10.4 V0.36 Mn33.5 Fe0.14 Al0.69 Si6.77 As6.5 P0.3 O54 ( O H )42 | Carlfrancisite | 15 |
| * | 04-011-6576 | 26 | Magnesium Aluminum Silicate Hydroxide Hydrate | Mg3.5 Al Si3 O10 ( O H )2 ( H2 O )4 | Vermiculite | 3 |
| * | 01-083-3890 | 31 | Copper Arsenate Chloride Hydroxide Hydrate | Cu10 ( As O4 )2 ( Cl0.9 ( O H )13.1 ) ( H2 O )4.3 | Parnauite | 3 |
| * | 04-025-6511 | 21 | Potassium Aluminum Silicate | K Al Si3 O8 | Microcline | 14 |
| * | 01-082-8023 | 17 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 8 |

Anchor Scan Parameters

Dataset Name	25 regular

File name	C:\aeris_data\XRD data\Goldstein\Etosha 2023\Etosha Clay Data\REP 25\25 regular.xrdml

Sample Identification	25 regular

Measurement Start Date/Time	4/24/2024 11:21:45 AM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	2.0054

End Position [°2θ]	29.9894

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.0603

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes