4 Etosha 18 SS 0-2 cm S3 GLYCOLATED REPORT

Graphics

Graphics

Graphics

Quantitative Results

Phase Sodium Aluminum Silicon Oxide Hydrate

Weight fraction/ %	25.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	9.0

Phase Magnesium Silicate Hydroxide Hydrate

Weight fraction/ %	5.0

Phase Potassium Iron Magnesium Aluminum Silicate Hydroxide

Weight fraction/ %	6.0

Phase Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide

Weight fraction/ %	55.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Sodium Aluminum Silicon Oxide Hydrate | Sodium Magnesium Silicon Oxide Hydrate | Magnesium Silicate Hydroxide Hydrate | Potassium Iron Magnesium Aluminum Silicate Hydroxide | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide |
| --- | --- | --- | --- | --- | --- |
| 4 Etosha18 SS 0-2cm S3 GLYCOLATED | 25.0 | 9.0 | 5.0 | 6.0 | 55.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 2.0054 | 4947.0000 | 4932.9695 | 4947.0000 |
| 2.0164 | 4770.7911 | 4916.8880 | 4915.1455 |
| 2.0274 | 4751.8859 | 4885.0466 | 4883.2911 |
| 2.0384 | 4670.3230 | 4853.2054 | 4851.4366 |
| 2.0494 | 4725.5428 | 4821.3643 | 4819.5822 |
| 2.0604 | 4625.9612 | 4789.5234 | 4787.7277 |
| 2.0714 | 4715.0088 | 4757.6826 | 4755.8733 |
| 2.0824 | 4688.8815 | 4725.8420 | 4724.0188 |
| 2.0934 | 4661.5624 | 4694.0015 | 4692.1644 |
| 2.1044 | 4523.5398 | 4662.1612 | 4660.3099 |
| 2.1154 | 4545.4857 | 4630.3210 | 4628.4554 |
| 2.1264 | 4499.1352 | 4598.4811 | 4596.6010 |
| 2.1374 | 4494.2478 | 4566.6412 | 4564.7465 |
| 2.1484 | 4452.6912 | 4534.8016 | 4532.8921 |
| 2.1594 | 4426.7237 | 4502.9621 | 4501.0376 |
| 2.1704 | 4497.6195 | 4471.1228 | 4469.1832 |
| 2.1814 | 4433.6067 | 4439.2837 | 4437.3287 |
| 2.1924 | 4410.8963 | 4410.3590 | 4405.4743 |
| 2.2034 | 4337.1947 | 4381.4962 | 4379.5100 |
| 2.2144 | 4350.8264 | 4355.5479 | 4353.5457 |
| 2.2254 | 4329.1622 | 4329.5997 | 4327.5815 |
| 2.2364 | 4308.0900 | 4303.6517 | 4301.6172 |
| 2.2474 | 4209.3009 | 4277.7040 | 4275.6530 |
| 2.2584 | 4204.4056 | 4251.7564 | 4249.6887 |
| 2.2694 | 4158.5192 | 4225.8090 | 4223.7244 |
| 2.2804 | 4187.8599 | 4199.8618 | 4197.7602 |
| 2.2914 | 4180.0197 | 4173.9149 | 4171.7959 |
| 2.3024 | 4155.2522 | 4147.9681 | 4145.8317 |
| 2.3134 | 4059.9282 | 4122.0216 | 4119.8674 |
| 2.3244 | 4089.9405 | 4096.0753 | 4093.9032 |
| 2.3354 | 4087.1121 | 4070.1292 | 4067.9389 |
| 2.3464 | 4102.9051 | 4044.1833 | 4041.9746 |
| 2.3574 | 4093.4140 | 4018.2377 | 4016.0104 |
| 2.3684 | 4013.1593 | 3992.2923 | 3990.0461 |
| 2.3794 | 3937.7906 | 3969.0220 | 3964.0819 |
| 2.3904 | 3926.0265 | 3945.8087 | 3943.5240 |
| 2.4014 | 3905.7965 | 3925.2705 | 3922.9662 |
| 2.4124 | 3947.0074 | 3904.7325 | 3902.4084 |
| 2.4234 | 3976.6765 | 3884.1948 | 3881.8506 |
| 2.4344 | 3991.4381 | 3863.6573 | 3861.2928 |
| 2.4454 | 3990.5418 | 3843.1201 | 3840.7350 |
| 2.4564 | 3941.1342 | 3822.5832 | 3820.1771 |
| 2.4674 | 3888.8053 | 3802.0465 | 3799.6193 |
| 2.4784 | 3882.4715 | 3781.5102 | 3779.0615 |
| 2.4894 | 3838.1947 | 3760.9741 | 3758.5037 |
| 2.5004 | 3760.6239 | 3740.4383 | 3737.9459 |
| 2.5114 | 3755.1386 | 3719.9028 | 3717.3880 |
| 2.5224 | 3693.3918 | 3699.3676 | 3696.8302 |
| 2.5334 | 3650.1091 | 3678.8327 | 3676.2724 |
| 2.5444 | 3657.7842 | 3658.2981 | 3655.7146 |
| 2.5554 | 3623.6578 | 3637.7638 | 3635.1568 |
| 2.5664 | 3657.2817 | 3617.2298 | 3614.5989 |
| 2.5774 | 3625.7257 | 3596.6962 | 3594.0411 |
| 2.5884 | 3640.1598 | 3576.1629 | 3573.4833 |
| 2.5994 | 3678.2832 | 3555.6300 | 3552.9255 |
| 2.6104 | 3554.8825 | 3535.0974 | 3532.3677 |
| 2.6214 | 3555.6352 | 3514.5651 | 3511.8098 |
| 2.6324 | 3478.2109 | 3494.0332 | 3491.2520 |
| 2.6434 | 3568.4474 | 3473.5016 | 3470.6942 |
| 2.6544 | 3525.8269 | 3452.9705 | 3450.1364 |
| 2.6654 | 3473.5133 | 3432.4397 | 3429.5786 |
| 2.6764 | 3458.2532 | 3411.9093 | 3409.0207 |
| 2.6874 | 3508.3432 | 3391.3793 | 3388.4629 |
| 2.6984 | 3534.2920 | 3370.8497 | 3367.9051 |
| 2.7094 | 3425.2989 | 3350.3205 | 3347.3473 |
| 2.7204 | 3411.7773 | 3329.7917 | 3326.7895 |
| 2.7314 | 3282.9616 | 3309.2633 | 3306.2316 |
| 2.7424 | 3340.9381 | 3288.7354 | 3285.6738 |
| 2.7534 | 3293.1367 | 3268.1780 | 3265.1160 |
| 2.7644 | 3316.4676 | 3247.6204 | 3244.4977 |
| 2.7754 | 3329.8830 | 3227.0333 | 3223.8794 |
| 2.7864 | 3226.2802 | 3206.4467 | 3203.2611 |
| 2.7974 | 3232.2389 | 3185.8606 | 3182.6428 |
| 2.8084 | 3302.2935 | 3165.2750 | 3162.0245 |
| 2.8194 | 3305.4523 | 3144.6899 | 3141.4062 |
| 2.8304 | 3243.2375 | 3124.1052 | 3120.7879 |
| 2.8414 | 3153.9292 | 3103.5211 | 3100.1697 |
| 2.8524 | 3078.9120 | 3082.9375 | 3079.5514 |
| 2.8634 | 3140.1918 | 3062.3545 | 3058.9331 |
| 2.8744 | 3084.7404 | 3041.7720 | 3038.3148 |
| 2.8854 | 3149.8633 | 3021.1900 | 3017.6965 |
| 2.8964 | 2937.9469 | 3000.6087 | 2997.0782 |
| 2.9074 | 2999.8043 | 2980.0279 | 2976.4599 |
| 2.9184 | 2849.8869 | 2959.4477 | 2955.8416 |
| 2.9294 | 2894.7522 | 2938.8681 | 2935.2233 |
| 2.9404 | 2948.5659 | 2921.5278 | 2914.6050 |
| 2.9514 | 2974.3009 | 2904.2569 | 2900.5328 |
| 2.9624 | 2851.2979 | 2890.2253 | 2886.4606 |
| 2.9734 | 2912.9990 | 2876.1944 | 2872.3884 |
| 2.9844 | 2954.1499 | 2862.1641 | 2858.3162 |
| 2.9954 | 2908.5044 | 2848.1346 | 2844.2440 |
| 3.0064 | 2833.5639 | 2834.1057 | 2830.1718 |
| 3.0174 | 2809.7001 | 2820.0776 | 2816.0996 |
| 3.0284 | 2826.5797 | 2806.0502 | 2802.0274 |
| 3.0394 | 2844.7748 | 2792.0235 | 2787.9552 |
| 3.0504 | 2745.9056 | 2777.9976 | 2773.8830 |
| 3.0614 | 2692.4514 | 2763.9725 | 2759.8108 |
| 3.0724 | 2814.3456 | 2749.9482 | 2745.7387 |
| 3.0834 | 2805.2743 | 2735.9248 | 2731.6665 |
| 3.0944 | 2743.0133 | 2721.9021 | 2717.5943 |
| 3.1054 | 2725.2291 | 2707.8804 | 2703.5221 |
| 3.1164 | 2726.7242 | 2693.8595 | 2689.4499 |
| 3.1274 | 2722.9115 | 2679.8395 | 2675.3777 |
| 3.1384 | 2699.4145 | 2665.8204 | 2661.3055 |
| 3.1494 | 2675.9302 | 2651.8023 | 2647.2333 |
| 3.1604 | 2643.3776 | 2637.7851 | 2633.1611 |
| 3.1714 | 2647.7080 | 2623.7690 | 2619.0889 |
| 3.1824 | 2678.5649 | 2609.7538 | 2605.0167 |
| 3.1934 | 2581.3451 | 2595.7397 | 2590.9445 |
| 3.2044 | 2568.4494 | 2581.7266 | 2576.8723 |
| 3.2154 | 2531.5673 | 2567.7146 | 2562.8001 |
| 3.2264 | 2534.5089 | 2553.7038 | 2548.7279 |
| 3.2374 | 2573.9489 | 2539.6940 | 2534.6557 |
| 3.2484 | 2505.0000 | 2525.6855 | 2520.5835 |
| 3.2594 | 2451.6696 | 2511.6781 | 2506.5113 |
| 3.2704 | 2472.1150 | 2497.6719 | 2492.4391 |
| 3.2814 | 2481.2291 | 2483.6671 | 2478.3669 |
| 3.2924 | 2471.1858 | 2469.6635 | 2464.2947 |
| 3.3034 | 2411.4041 | 2455.6612 | 2450.2225 |
| 3.3144 | 2442.0570 | 2442.5310 | 2436.1503 |
| 3.3254 | 2440.0796 | 2429.4208 | 2423.8382 |
| 3.3364 | 2416.7444 | 2417.1827 | 2411.5260 |
| 3.3474 | 2379.0472 | 2404.9461 | 2399.2139 |
| 3.3584 | 2354.0310 | 2392.7110 | 2386.9017 |
| 3.3694 | 2380.7168 | 2380.4775 | 2374.5896 |
| 3.3804 | 2373.7360 | 2368.2455 | 2362.2774 |
| 3.3914 | 2361.2566 | 2356.0152 | 2349.9653 |
| 3.4024 | 2384.8043 | 2343.7865 | 2337.6532 |
| 3.4134 | 2360.8594 | 2331.5595 | 2325.3410 |
| 3.4244 | 2330.9277 | 2319.3343 | 2313.0289 |
| 3.4354 | 2285.1730 | 2307.1109 | 2300.7167 |
| 3.4464 | 2228.5949 | 2294.8894 | 2288.4046 |
| 3.4574 | 2203.0413 | 2282.6698 | 2276.0924 |
| 3.4684 | 2210.3289 | 2270.4522 | 2263.7803 |
| 3.4794 | 2183.7089 | 2258.2366 | 2251.4681 |
| 3.4904 | 2228.2921 | 2246.0230 | 2239.1560 |
| 3.5014 | 2254.9557 | 2235.8475 | 2226.8438 |
| 3.5124 | 2231.4838 | 2225.7174 | 2218.6466 |
| 3.5234 | 2186.4956 | 2217.6254 | 2210.4493 |
| 3.5344 | 2175.9592 | 2209.5358 | 2202.2521 |
| 3.5454 | 2237.1013 | 2201.4486 | 2194.0549 |
| 3.5564 | 2143.4469 | 2193.3639 | 2185.8576 |
| 3.5674 | 2153.1731 | 2185.2817 | 2177.6604 |
| 3.5784 | 2239.9435 | 2177.2023 | 2169.4631 |
| 3.5894 | 2194.2478 | 2169.1256 | 2161.2659 |
| 3.6004 | 2157.5737 | 2161.0518 | 2153.0686 |
| 3.6114 | 2089.4405 | 2152.9810 | 2144.8714 |
| 3.6224 | 2161.7463 | 2144.9132 | 2136.6741 |
| 3.6334 | 2158.4277 | 2136.8486 | 2128.4769 |
| 3.6444 | 2042.4282 | 2128.7873 | 2120.2796 |
| 3.6554 | 2089.1800 | 2120.7294 | 2112.0824 |
| 3.6664 | 2075.4656 | 2112.6751 | 2103.8851 |
| 3.6774 | 2082.2871 | 2104.6245 | 2095.6879 |
| 3.6884 | 2097.2080 | 2098.1045 | 2087.4906 |
| 3.6994 | 2115.0708 | 2091.6209 | 2082.3793 |
| 3.7104 | 2004.7659 | 2086.6683 | 2077.2679 |
| 3.7214 | 2113.1800 | 2081.7200 | 2072.1565 |
| 3.7324 | 1999.4208 | 2076.7764 | 2067.0451 |
| 3.7434 | 2022.9695 | 2071.8376 | 2061.9338 |
| 3.7544 | 1990.6460 | 2066.9038 | 2056.8224 |
| 3.7654 | 2030.5625 | 2061.9753 | 2051.7110 |
| 3.7764 | 2042.7675 | 2057.0524 | 2046.5996 |
| 3.7874 | 1965.6902 | 2052.1354 | 2041.4883 |
| 3.7984 | 1950.4784 | 2047.2246 | 2036.3769 |
| 3.8094 | 2087.2851 | 2042.3202 | 2031.2655 |
| 3.8204 | 1976.4970 | 2037.4228 | 2026.1541 |
| 3.8314 | 1858.4671 | 2032.5327 | 2021.0427 |
| 3.8424 | 1942.4730 | 2027.6503 | 2015.9314 |
| 3.8534 | 1973.2832 | 2022.7761 | 2010.8200 |
| 3.8644 | 2028.2074 | 2017.9106 | 2005.7086 |
| 3.8754 | 1955.4110 | 2013.0543 | 2000.5972 |
| 3.8864 | 2035.0973 | 2008.2078 | 1995.4859 |
| 3.8974 | 1992.9233 | 2003.3718 | 1990.3745 |
| 3.9084 | 2055.4695 | 1998.5469 | 1985.2631 |
| 3.9194 | 1947.7905 | 1993.7338 | 1980.1517 |
| 3.9304 | 1917.0369 | 1988.9334 | 1975.0404 |
| 3.9414 | 1983.9213 | 1984.1465 | 1969.9290 |
| 3.9524 | 1928.1431 | 1979.3739 | 1964.8176 |
| 3.9634 | 1943.8535 | 1974.6168 | 1959.7062 |
| 3.9744 | 1891.8024 | 1969.8761 | 1954.5949 |
| 3.9854 | 1928.6283 | 1965.1529 | 1949.4835 |
| 3.9964 | 1964.3421 | 1960.4484 | 1944.3721 |
| 4.0074 | 1864.8437 | 1955.7640 | 1939.2607 |
| 4.0184 | 1893.4425 | 1951.1010 | 1934.1494 |
| 4.0294 | 1947.8151 | 1946.4609 | 1929.0380 |
| 4.0404 | 1920.9385 | 1941.8451 | 1923.9266 |
| 4.0514 | 1883.2891 | 1937.2554 | 1918.8152 |
| 4.0624 | 1911.0836 | 1932.7875 | 1913.7039 |
| 4.0734 | 1955.8535 | 1928.3020 | 1908.7334 |
| 4.0844 | 1897.6858 | 1923.9422 | 1903.7629 |
| 4.0954 | 1822.0767 | 1919.6160 | 1898.7924 |
| 4.1064 | 1905.7002 | 1915.3255 | 1893.8219 |
| 4.1174 | 1980.1711 | 1911.0731 | 1888.8514 |
| 4.1284 | 1914.0452 | 1906.8611 | 1883.8809 |
| 4.1394 | 1932.8348 | 1902.6920 | 1878.9104 |
| 4.1504 | 1920.6769 | 1898.5684 | 1873.9400 |
| 4.1614 | 1808.6843 | 1894.4930 | 1868.9695 |
| 4.1724 | 1769.9439 | 1890.4684 | 1863.9990 |
| 4.1834 | 1770.3717 | 1886.4977 | 1859.0285 |
| 4.1944 | 1811.2144 | 1882.5838 | 1854.0580 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 4 Etosha18 SS 0-2cm S3 GLYCOLATED | 2.0054 | 29.9894 | 0.0110 | 12/1/2023 9:58:07 AM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 4.9206 | 220.42 | 0.6927 | 17.94443 | 19.10 |
| 7.0652 | 1154.12 | 0.1515 | 12.50153 | 100.00 |
| 8.7299 | 539.86 | 0.1082 | 10.12100 | 46.78 |
| 11.5777 | 23.66 | 0.6927 | 7.63708 | 2.05 |
| 15.7364 | 1142.18 | 0.1191 | 5.62694 | 98.97 |
| 17.6283 | 74.49 | 0.2165 | 5.02708 | 6.45 |
| 18.1949 | 179.23 | 0.0649 | 4.87179 | 15.53 |
| 19.6296 | 108.76 | 0.3464 | 4.51884 | 9.42 |
| 21.0488 | 27.67 | 0.5196 | 4.21726 | 2.40 |
| 23.4477 | 29.61 | 0.1732 | 3.79093 | 2.57 |
| 24.2085 | 44.16 | 0.1299 | 3.67350 | 3.83 |
| 25.8810 | 1118.75 | 0.1082 | 3.43976 | 96.94 |
| 26.7067 | 190.07 | 0.1732 | 3.33527 | 16.47 |
| 27.5150 | 59.97 | 0.2165 | 3.23909 | 5.20 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 04-012-1749 | 48 | Sodium Aluminum Silicon Oxide Hydrate | Na7.7 Al7.7 Si16.3 O48 ( H2 O )8 | Analcime | 25 |
| * | 01-082-8023 | 25 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 9 |
| * | 01-080-5019 | 11 | Magnesium Silicate Hydroxide Hydrate | Mg7.68 ( Si12 O30 ) ( O H )4 ( H2 O )4 ( H2 O )6 | Sepiolite | 5 |
| * | 00-042-1437 | 45 | Potassium Iron Magnesium Aluminum Silicate Hydroxide | K ( Mg , Fe )3 ( Al , Fe ) Si3 O10 ( O H , F )2 | Phlogopite-1M, Fe+2-bearing | 6 |
| * | 04-025-4215 | 6 | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Mg10.4 V0.36 Mn33.5 Fe0.14 Al0.69 Si6.77 As6.5 P0.3 O54 ( O H )42 | Carlfrancisite | 55 |

Anchor Scan Parameters

Dataset Name	4 Etosha18 SS 0-2cm S3 GLYCOLATED

File name	C:\aeris_data\XRD data\Goldstein\Etosha 2023\Etosha Clay Data\Sample 4\4 Etosha18 SS 0-2cm S3 GLYCOLATED.xrdml

Sample Identification	4 Etosha18 SS 0-2cm S3 GLYCOLATED

Measurement Start Date/Time	12/1/2023 9:58:07 AM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	2.0054

End Position [°2θ]	29.9894

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.0603

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes