6 Etosha 18 Ssub 2-5 cm S1 GLYCOLATED

Graphics

Graphics

Graphics

Quantitative Results

Phase Potassium Magnesium Iron Aluminum Silicate Hydroxide

Weight fraction/ %	10.0

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	15.0

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	29.0

Phase Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide

Weight fraction/ %	46.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Potassium Magnesium Iron Aluminum Silicate Hydroxide | Sodium Aluminum Silicate Hydrate | Sodium Magnesium Silicon Oxide Hydrate | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide |
| --- | --- | --- | --- | --- |
| 6 Etosha18 Ssub 2-5cm S1 GLYCOLATED | 10.0 | 15.0 | 29.0 | 46.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 2.0054 | 6865.0000 | 6861.9165 | 6865.0000 |
| 2.0164 | 6855.7876 | 6849.2255 | 6819.6233 |
| 2.0274 | 6675.2222 | 6804.7130 | 6774.2465 |
| 2.0384 | 6566.9174 | 6760.2420 | 6728.8698 |
| 2.0494 | 6610.6087 | 6715.8155 | 6683.4931 |
| 2.0604 | 6487.2458 | 6671.4365 | 6638.1163 |
| 2.0714 | 6491.1475 | 6627.1086 | 6592.7396 |
| 2.0824 | 6506.7660 | 6582.8354 | 6547.3628 |
| 2.0934 | 6618.7817 | 6538.6213 | 6501.9861 |
| 2.1044 | 6313.9602 | 6494.4712 | 6456.6094 |
| 2.1154 | 6396.2016 | 6450.3905 | 6411.2326 |
| 2.1264 | 6475.0841 | 6406.3857 | 6365.8559 |
| 2.1374 | 6473.1445 | 6362.4640 | 6320.4792 |
| 2.1484 | 6235.2424 | 6318.6340 | 6275.1024 |
| 2.1594 | 6207.0718 | 6274.9058 | 6229.7257 |
| 2.1704 | 6137.9395 | 6231.2912 | 6184.3489 |
| 2.1814 | 6227.3304 | 6187.8042 | 6138.9722 |
| 2.1924 | 6174.6873 | 6144.3798 | 6093.5955 |
| 2.2034 | 6106.6106 | 6101.1667 | 6048.1022 |
| 2.2144 | 6164.3112 | 6058.0597 | 6002.6090 |
| 2.2254 | 6149.2488 | 6015.1689 | 5957.1157 |
| 2.2364 | 5998.6829 | 5972.5278 | 5911.6225 |
| 2.2474 | 6068.8574 | 5930.1760 | 5866.1292 |
| 2.2584 | 6041.2866 | 5888.1602 | 5820.6360 |
| 2.2694 | 6021.6077 | 5846.5350 | 5775.1427 |
| 2.2804 | 5896.1509 | 5805.3641 | 5729.6495 |
| 2.2914 | 5871.2802 | 5764.7208 | 5684.1562 |
| 2.3024 | 5830.5664 | 5724.6891 | 5638.6630 |
| 2.3134 | 5869.4612 | 5685.3642 | 5593.1697 |
| 2.3244 | 5787.1376 | 5646.8530 | 5547.6765 |
| 2.3354 | 5631.5015 | 5609.2739 | 5502.1832 |
| 2.3464 | 5641.5826 | 5572.7569 | 5456.6900 |
| 2.3574 | 5758.8791 | 5537.4427 | 5411.1967 |
| 2.3684 | 5760.8245 | 5503.4813 | 5365.7035 |
| 2.3794 | 5669.1809 | 5471.0299 | 5320.2102 |
| 2.3904 | 5616.7886 | 5440.2508 | 5274.7170 |
| 2.4014 | 5608.9292 | 5411.3077 | 5229.2237 |
| 2.4124 | 5641.9464 | 5384.3617 | 5183.7305 |
| 2.4234 | 5656.8692 | 5359.5671 | 5138.2372 |
| 2.4344 | 5491.8658 | 5337.0655 | 5092.7440 |
| 2.4454 | 5413.3913 | 5316.9806 | 5047.2507 |
| 2.4564 | 5482.9917 | 5299.4115 | 5001.7575 |
| 2.4674 | 5505.2507 | 5284.4263 | 4956.2642 |
| 2.4784 | 5525.0797 | 5272.0550 | 4910.7710 |
| 2.4894 | 5541.9292 | 5262.2823 | 4865.2777 |
| 2.5004 | 5486.4513 | 5255.0400 | 4819.7845 |
| 2.5114 | 5385.2802 | 5250.1986 | 4774.2912 |
| 2.5224 | 5288.1839 | 5247.5588 | 4728.7980 |
| 2.5334 | 5306.2478 | 5246.8414 | 4683.3047 |
| 2.5444 | 5254.4902 | 5247.6767 | 4637.8115 |
| 2.5554 | 5227.6549 | 5249.5923 | 4592.3182 |
| 2.5664 | 5305.8038 | 5251.9189 | 4546.8250 |
| 2.5774 | 5270.4169 | 5254.0719 | 4501.2152 |
| 2.5884 | 5144.0118 | 5255.0751 | 4455.6055 |
| 2.5994 | 5137.8230 | 5254.0301 | 4409.9957 |
| 2.6104 | 5160.7040 | 5249.8388 | 4364.3859 |
| 2.6214 | 5159.2468 | 5241.3193 | 4318.7762 |
| 2.6324 | 5152.3953 | 5227.2647 | 4273.1664 |
| 2.6434 | 5067.3058 | 5206.5255 | 4227.5567 |
| 2.6544 | 4977.4366 | 5178.1091 | 4181.9469 |
| 2.6654 | 4946.4130 | 5141.2824 | 4136.3371 |
| 2.6764 | 4829.0373 | 5095.6558 | 4090.7274 |
| 2.6874 | 4832.9125 | 5041.2319 | 4045.1176 |
| 2.6984 | 4734.4956 | 4978.4052 | 3999.5078 |
| 2.7094 | 4695.7070 | 4907.9131 | 3953.8981 |
| 2.7204 | 4519.8358 | 4830.7511 | 3908.2883 |
| 2.7314 | 4493.8466 | 4748.0704 | 3862.6786 |
| 2.7424 | 4433.7670 | 4661.0782 | 3817.0688 |
| 2.7534 | 4309.6755 | 4570.8547 | 3771.4590 |
| 2.7644 | 4289.6962 | 4478.6563 | 3725.7053 |
| 2.7754 | 4078.3481 | 4385.3019 | 3679.9515 |
| 2.7864 | 4042.2547 | 4291.7383 | 3634.1977 |
| 2.7974 | 3842.0000 | 4198.6772 | 3588.4439 |
| 2.8084 | 3847.4036 | 4106.7042 | 3542.6901 |
| 2.8194 | 3855.5477 | 4016.2903 | 3496.9364 |
| 2.8304 | 3797.0029 | 3927.8039 | 3451.1826 |
| 2.8414 | 3626.6607 | 3841.5228 | 3405.4288 |
| 2.8524 | 3501.4307 | 3757.6454 | 3359.6750 |
| 2.8634 | 3476.7847 | 3676.3002 | 3313.9213 |
| 2.8744 | 3381.8137 | 3597.5545 | 3268.1675 |
| 2.8854 | 3376.0501 | 3521.4231 | 3222.4137 |
| 2.8964 | 3292.3717 | 3447.8754 | 3176.6599 |
| 2.9074 | 3185.0875 | 3376.8427 | 3130.9061 |
| 2.9184 | 3069.4759 | 3308.2255 | 3085.1524 |
| 2.9294 | 3041.0472 | 3241.9000 | 3039.3986 |
| 2.9404 | 2953.6711 | 3191.5425 | 2993.6448 |
| 2.9514 | 2969.7679 | 3135.2243 | 2967.5714 |
| 2.9624 | 2995.6032 | 3094.5584 | 2941.4979 |
| 2.9734 | 2936.3707 | 3055.5631 | 2915.4244 |
| 2.9844 | 2788.9159 | 3018.0762 | 2889.3510 |
| 2.9954 | 2828.6902 | 2981.9404 | 2863.2775 |
| 3.0064 | 2685.9621 | 2947.0060 | 2837.2041 |
| 3.0174 | 2702.6381 | 2913.1324 | 2811.1306 |
| 3.0284 | 2664.7109 | 2880.1899 | 2785.0572 |
| 3.0394 | 2666.8466 | 2848.0600 | 2758.9837 |
| 3.0504 | 2728.6907 | 2816.6363 | 2732.9103 |
| 3.0614 | 2613.3982 | 2785.8236 | 2706.8368 |
| 3.0724 | 2602.6293 | 2755.5382 | 2680.7634 |
| 3.0834 | 2477.5202 | 2725.7068 | 2654.6899 |
| 3.0944 | 2552.0885 | 2696.2661 | 2628.6165 |
| 3.1054 | 2522.3874 | 2667.1616 | 2602.5430 |
| 3.1164 | 2592.7561 | 2638.3466 | 2576.4696 |
| 3.1274 | 2506.8614 | 2614.7218 | 2550.3961 |
| 3.1384 | 2564.5732 | 2588.4693 | 2531.3585 |
| 3.1494 | 2530.3481 | 2567.3454 | 2512.3208 |
| 3.1604 | 2515.3894 | 2546.3865 | 2493.2831 |
| 3.1714 | 2416.0059 | 2525.5727 | 2474.2455 |
| 3.1824 | 2426.0900 | 2504.8875 | 2455.2078 |
| 3.1934 | 2485.2301 | 2484.3167 | 2436.1702 |
| 3.2044 | 2429.1042 | 2463.8488 | 2417.1325 |
| 3.2154 | 2381.2085 | 2443.4736 | 2398.0948 |
| 3.2264 | 2387.6136 | 2423.1826 | 2379.0572 |
| 3.2374 | 2340.7679 | 2402.9687 | 2360.0195 |
| 3.2484 | 2329.3333 | 2382.8255 | 2340.9819 |
| 3.2594 | 2377.0000 | 2362.7475 | 2321.9442 |
| 3.2704 | 2388.5772 | 2342.7300 | 2302.9066 |
| 3.2814 | 2370.9390 | 2322.7686 | 2283.8689 |
| 3.2924 | 2284.2610 | 2302.8597 | 2264.8312 |
| 3.3034 | 2249.5634 | 2282.9998 | 2245.7936 |
| 3.3144 | 2221.4980 | 2268.5285 | 2226.7559 |
| 3.3254 | 2210.0679 | 2251.0242 | 2215.3275 |
| 3.3364 | 2195.2256 | 2238.9034 | 2203.8990 |
| 3.3474 | 2118.5074 | 2226.8208 | 2192.4705 |
| 3.3584 | 2155.0148 | 2214.7746 | 2181.0421 |
| 3.3694 | 2184.9459 | 2202.7626 | 2169.6136 |
| 3.3804 | 2135.3805 | 2190.7830 | 2158.1852 |
| 3.3914 | 2123.3982 | 2178.8343 | 2146.7567 |
| 3.4024 | 2143.2439 | 2166.9149 | 2135.3282 |
| 3.4134 | 2109.4582 | 2155.0233 | 2123.8998 |
| 3.4244 | 2098.2242 | 2143.1582 | 2112.4713 |
| 3.4354 | 2164.0010 | 2131.3184 | 2101.0429 |
| 3.4464 | 2161.3417 | 2119.5027 | 2089.6144 |
| 3.4574 | 2076.2478 | 2107.7101 | 2078.1859 |
| 3.4684 | 2107.9140 | 2095.9396 | 2066.7575 |
| 3.4794 | 2085.5349 | 2084.1902 | 2055.3290 |
| 3.4904 | 2040.1327 | 2072.4612 | 2043.9006 |
| 3.5014 | 2007.8082 | 2061.5738 | 2032.4721 |
| 3.5124 | 2031.2453 | 2050.2318 | 2022.2146 |
| 3.5234 | 2027.1150 | 2039.7301 | 2011.9571 |
| 3.5344 | 1994.6209 | 2029.2458 | 2001.6997 |
| 3.5454 | 1967.7021 | 2018.7784 | 1991.4422 |
| 3.5564 | 1963.1991 | 2008.3273 | 1981.1847 |
| 3.5674 | 1972.1986 | 1997.8921 | 1970.9272 |
| 3.5784 | 1986.3643 | 1987.4722 | 1960.6698 |
| 3.5894 | 1990.7699 | 1977.0672 | 1950.4123 |
| 3.6004 | 1982.3958 | 1966.6768 | 1940.1548 |
| 3.6114 | 1878.3048 | 1956.3006 | 1929.8973 |
| 3.6224 | 1914.1224 | 1945.9382 | 1919.6398 |
| 3.6334 | 1934.7335 | 1935.5895 | 1909.3824 |
| 3.6444 | 1988.3761 | 1925.2541 | 1899.1249 |
| 3.6554 | 1872.4513 | 1914.9318 | 1888.8674 |
| 3.6664 | 1854.9916 | 1904.6224 | 1878.6099 |
| 3.6774 | 1852.5270 | 1894.3258 | 1868.3525 |
| 3.6884 | 1878.4159 | 1885.2441 | 1858.0950 |
| 3.6994 | 1884.6785 | 1875.4827 | 1849.5498 |
| 3.7104 | 1792.6784 | 1866.9361 | 1841.0047 |
| 3.7214 | 1848.1357 | 1858.4019 | 1832.4595 |
| 3.7324 | 1825.1794 | 1849.8802 | 1823.9143 |
| 3.7434 | 1827.7099 | 1841.3709 | 1815.3692 |
| 3.7544 | 1786.9661 | 1832.8741 | 1806.8240 |
| 3.7654 | 1810.1308 | 1824.3899 | 1798.2788 |
| 3.7764 | 1778.6976 | 1815.9185 | 1789.7337 |
| 3.7874 | 1914.7788 | 1807.4601 | 1781.1885 |
| 3.7984 | 1851.8486 | 1799.0148 | 1772.6433 |
| 3.8094 | 1808.2517 | 1790.5828 | 1764.0982 |
| 3.8204 | 1824.0000 | 1782.1646 | 1755.5530 |
| 3.8314 | 1823.5565 | 1773.7604 | 1747.0079 |
| 3.8424 | 1808.4233 | 1765.3706 | 1738.4627 |
| 3.8534 | 1726.9735 | 1756.9957 | 1729.9175 |
| 3.8644 | 1735.7512 | 1748.6362 | 1721.3724 |
| 3.8754 | 1682.0374 | 1743.8121 | 1712.8272 |
| 3.8864 | 1763.3141 | 1736.9782 | 1709.2947 |
| 3.8974 | 1671.0531 | 1733.6810 | 1705.7622 |
| 3.9084 | 1703.4258 | 1730.4018 | 1702.2297 |
| 3.9194 | 1805.7699 | 1727.1414 | 1698.6972 |
| 3.9304 | 1736.6037 | 1723.9007 | 1695.1647 |
| 3.9414 | 1727.5949 | 1720.6807 | 1691.6322 |
| 3.9524 | 1667.1593 | 1717.4824 | 1688.0997 |
| 3.9634 | 1691.9538 | 1714.3070 | 1684.5673 |
| 3.9744 | 1726.5959 | 1711.1558 | 1681.0348 |
| 3.9854 | 1695.3363 | 1708.0300 | 1677.5023 |
| 3.9964 | 1700.8545 | 1704.9311 | 1673.9698 |
| 4.0074 | 1707.0620 | 1701.8607 | 1670.4373 |
| 4.0184 | 1749.7861 | 1698.8204 | 1666.9048 |
| 4.0294 | 1721.3697 | 1695.8119 | 1663.3723 |
| 4.0404 | 1722.5447 | 1692.8373 | 1659.8398 |
| 4.0514 | 1658.1357 | 1689.8984 | 1656.3073 |
| 4.0624 | 1654.6544 | 1686.9085 | 1652.7748 |
| 4.0734 | 1666.6106 | 1684.0099 | 1649.1158 |
| 4.0844 | 1657.6903 | 1681.0650 | 1645.4568 |
| 4.0954 | 1658.5526 | 1678.1651 | 1641.7978 |
| 4.1064 | 1628.6898 | 1675.3129 | 1638.1389 |
| 4.1174 | 1639.6018 | 1672.5110 | 1634.4799 |
| 4.1284 | 1640.7930 | 1669.7623 | 1630.8209 |
| 4.1394 | 1673.9941 | 1667.0699 | 1627.1619 |
| 4.1504 | 1686.0973 | 1664.4370 | 1623.5029 |
| 4.1614 | 1695.8152 | 1661.8666 | 1619.8439 |
| 4.1724 | 1722.9385 | 1659.3623 | 1616.1849 |
| 4.1834 | 1694.1593 | 1656.9274 | 1612.5260 |
| 4.1944 | 1685.7970 | 1654.5655 | 1608.8670 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 6 Etosha18 Ssub 2-5cm S1 GLYCOLATED | 2.0054 | 29.9894 | 0.0110 | 12/1/2023 10:19:02 AM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 2.6686 | 893.35 | 0.3031 | 33.07963 | 73.36 |
| 4.9069 | 258.10 | 0.6927 | 17.99446 | 21.19 |
| 7.0282 | 1217.79 | 0.5196 | 12.56721 | 100.00 |
| 8.7007 | 349.19 | 0.1299 | 10.15491 | 28.67 |
| 15.7104 | 461.13 | 0.0974 | 5.63618 | 37.87 |
| 18.1739 | 69.30 | 0.1299 | 4.87737 | 5.69 |
| 19.6917 | 51.45 | 0.5196 | 4.50472 | 4.22 |
| 25.8655 | 460.60 | 0.0541 | 3.44180 | 37.82 |
| 26.6398 | 87.60 | 0.3464 | 3.34349 | 7.19 |
| 27.4659 | 30.86 | 0.2598 | 3.24477 | 2.53 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 00-042-1414 | 33 | Potassium Magnesium Iron Aluminum Silicate Hydroxide | K ( Mg , Fe +2 )3 ( Al , Fe +3 ) Si3 O10 ( O H , F )2 | Biotite-1M | 10 |
| * | 04-011-6751 | 21 | Sodium Aluminum Silicate Hydrate | Na8 Al8 Si16 O48 ( H2 O )8 | Analcime | 15 |
| * | 01-082-8023 | 22 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 29 |
| * | 04-025-4215 | 24 | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Mg10.4 V0.36 Mn33.5 Fe0.14 Al0.69 Si6.77 As6.5 P0.3 O54 ( O H )42 | Carlfrancisite | 46 |

Anchor Scan Parameters

Dataset Name	6 Etosha18 Ssub 2-5cm S1 GLYCOLATED

File name	C:\aeris_data\XRD data\Goldstein\Etosha 2023\Etosha Clay Data\Sample 6\6 Etosha18 Ssub 2-5cm S1 GLYCOLATED.xrdml

Sample Identification	6 Etosha18 Ssub 2-5cm S1 GLYCOLATED

Measurement Start Date/Time	12/1/2023 10:19:02 AM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	2.0054

End Position [°2θ]	29.9894

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.0603

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes