6 Etosha 18 Ssub 2-5 cm S1 REGULAR

Graphics

Graphics

Graphics

Quantitative Results

Phase Sodium Magnesium Silicon Oxide Hydrate

Weight fraction/ %	27.0

Phase Potassium Magnesium Manganese Iron Aluminum Silicate Hydroxide

Weight fraction/ %	7.0

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	21.0

Phase Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide

Weight fraction/ %	45.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Sodium Magnesium Silicon Oxide Hydrate | Potassium Magnesium Manganese Iron Aluminum Silicate Hydroxide | Sodium Aluminum Silicate Hydrate | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide |
| --- | --- | --- | --- | --- |
| 6 Etosha18 Ssub 2-5cm S1 | 27.0 | 7.0 | 21.0 | 45.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 2.0054 | 7827.0000 | 7832.8495 | 7827.0000 |
| 2.0164 | 7963.6716 | 7782.0445 | 7770.7243 |
| 2.0274 | 8092.7886 | 7726.1456 | 7714.4486 |
| 2.0384 | 7886.4794 | 7670.2658 | 7658.1729 |
| 2.0494 | 7895.7060 | 7614.4063 | 7601.8971 |
| 2.0604 | 7825.2399 | 7558.5685 | 7545.6214 |
| 2.0714 | 7716.1740 | 7502.7541 | 7489.3457 |
| 2.0824 | 7657.2822 | 7446.9646 | 7433.0700 |
| 2.0934 | 7794.6440 | 7391.2019 | 7376.7943 |
| 2.1044 | 7644.3053 | 7335.4680 | 7320.5186 |
| 2.1154 | 7500.5143 | 7279.7651 | 7264.2429 |
| 2.1264 | 7548.3520 | 7224.0955 | 7207.9671 |
| 2.1374 | 7546.8230 | 7168.4619 | 7151.6914 |
| 2.1484 | 7456.0433 | 7112.8671 | 7095.4157 |
| 2.1594 | 7306.4120 | 7057.3144 | 7039.1400 |
| 2.1704 | 7386.8879 | 7001.8072 | 6982.8643 |
| 2.1814 | 7349.2301 | 6946.3495 | 6926.5886 |
| 2.1924 | 7326.1200 | 6890.9333 | 6870.3129 |
| 2.2034 | 7270.8673 | 6835.4658 | 6813.9031 |
| 2.2144 | 7291.0359 | 6780.0500 | 6757.4933 |
| 2.2254 | 7289.4464 | 6724.7039 | 6701.0836 |
| 2.2364 | 7221.4779 | 6669.4341 | 6644.6738 |
| 2.2474 | 7127.7296 | 6614.2480 | 6588.2640 |
| 2.2584 | 7136.6116 | 6559.1539 | 6531.8542 |
| 2.2694 | 7117.0472 | 6504.1611 | 6475.4445 |
| 2.2804 | 7035.3530 | 6449.2803 | 6419.0347 |
| 2.2914 | 7116.4415 | 6394.5234 | 6362.6249 |
| 2.3024 | 7059.1902 | 6339.9039 | 6306.2152 |
| 2.3134 | 6822.6883 | 6285.4373 | 6249.8054 |
| 2.3244 | 6854.2974 | 6231.1412 | 6193.3956 |
| 2.3354 | 6929.2802 | 6177.0360 | 6136.9859 |
| 2.3464 | 6958.6657 | 6123.1451 | 6080.5761 |
| 2.3574 | 6841.4454 | 6069.4957 | 6024.1663 |
| 2.3684 | 6655.7478 | 6016.1197 | 5967.7566 |
| 2.3794 | 6712.9971 | 5963.0552 | 5911.3468 |
| 2.3904 | 6779.6681 | 5910.3484 | 5854.9370 |
| 2.4014 | 6805.0354 | 5858.0564 | 5798.5273 |
| 2.4124 | 6786.8431 | 5806.2526 | 5742.1175 |
| 2.4234 | 6665.2330 | 5755.0333 | 5685.7077 |
| 2.4344 | 6656.3127 | 5704.5299 | 5629.2980 |
| 2.4454 | 6604.8830 | 5654.9249 | 5572.8882 |
| 2.4564 | 6613.5118 | 5606.4763 | 5516.4784 |
| 2.4674 | 6589.1888 | 5559.5493 | 5460.0687 |
| 2.4784 | 6479.3805 | 5514.6579 | 5403.6589 |
| 2.4894 | 6469.5192 | 5472.5134 | 5347.2491 |
| 2.5004 | 6539.2743 | 5434.0756 | 5290.8394 |
| 2.5114 | 6456.1455 | 5400.5989 | 5234.4296 |
| 2.5224 | 6435.4135 | 5373.6599 | 5178.0198 |
| 2.5334 | 6451.1711 | 5355.1511 | 5121.6100 |
| 2.5444 | 6419.7389 | 5347.2219 | 5065.2003 |
| 2.5554 | 6272.5693 | 5352.1528 | 5008.7905 |
| 2.5664 | 6208.9395 | 5372.1423 | 4952.3807 |
| 2.5774 | 6142.7473 | 5408.9595 | 4895.8369 |
| 2.5884 | 6177.4740 | 5463.8880 | 4839.2931 |
| 2.5994 | 6173.5398 | 5537.0634 | 4782.7493 |
| 2.6104 | 6133.0998 | 5627.1230 | 4726.2055 |
| 2.6214 | 6019.0020 | 5730.7329 | 4669.6616 |
| 2.6324 | 5959.7906 | 5842.0093 | 4613.1178 |
| 2.6434 | 5992.0698 | 5951.8776 | 4556.5740 |
| 2.6544 | 5959.1386 | 6047.6586 | 4500.0302 |
| 2.6654 | 5994.8348 | 6113.6366 | 4443.4863 |
| 2.6764 | 6008.0020 | 6133.6120 | 4386.9425 |
| 2.6874 | 5763.6696 | 6095.5541 | 4330.3987 |
| 2.6984 | 5581.1416 | 5996.2893 | 4273.8549 |
| 2.7094 | 5523.2547 | 5842.9190 | 4217.3111 |
| 2.7204 | 5365.8033 | 5649.7925 | 4160.7672 |
| 2.7314 | 5284.1947 | 5433.4188 | 4104.2234 |
| 2.7424 | 5079.6539 | 5208.5030 | 4047.6796 |
| 2.7534 | 5061.4022 | 4986.2623 | 3991.1358 |
| 2.7644 | 4880.2699 | 4774.2912 | 3934.4262 |
| 2.7754 | 4750.6381 | 4577.4858 | 3877.7167 |
| 2.7864 | 4447.0206 | 4398.3326 | 3821.0072 |
| 2.7974 | 4235.9734 | 4237.5385 | 3764.2977 |
| 2.8084 | 4166.4459 | 4094.5011 | 3707.5882 |
| 2.8194 | 4080.0511 | 3967.7150 | 3650.8786 |
| 2.8304 | 3969.6770 | 3855.1360 | 3594.1691 |
| 2.8414 | 3785.3854 | 3754.4947 | 3537.4596 |
| 2.8524 | 3641.4488 | 3663.5423 | 3480.7501 |
| 2.8634 | 3531.4189 | 3580.2208 | 3424.0406 |
| 2.8744 | 3565.8397 | 3502.7607 | 3367.3310 |
| 2.8854 | 3417.5408 | 3429.7164 | 3310.6215 |
| 2.8964 | 3297.5221 | 3359.9569 | 3253.9120 |
| 2.9074 | 3281.8751 | 3292.6287 | 3197.2025 |
| 2.9184 | 3137.5206 | 3227.1067 | 3140.4929 |
| 2.9294 | 3016.1888 | 3162.9426 | 3083.7834 |
| 2.9404 | 2996.6082 | 3102.1905 | 3027.0739 |
| 2.9514 | 3085.4759 | 3063.6216 | 2996.4740 |
| 2.9624 | 2926.1976 | 3028.0816 | 2965.8740 |
| 2.9734 | 2895.3078 | 2993.0835 | 2935.2741 |
| 2.9844 | 2823.2866 | 2958.5415 | 2904.6741 |
| 2.9954 | 2846.5044 | 2924.3896 | 2874.0742 |
| 3.0064 | 2770.0236 | 2890.5754 | 2843.4743 |
| 3.0174 | 2735.3540 | 2857.0565 | 2812.8743 |
| 3.0284 | 2737.4085 | 2823.7975 | 2782.2744 |
| 3.0394 | 2661.2822 | 2790.7684 | 2751.6744 |
| 3.0504 | 2686.6470 | 2757.9437 | 2721.0745 |
| 3.0614 | 2653.8053 | 2725.3013 | 2690.4746 |
| 3.0724 | 2570.5806 | 2692.8220 | 2659.8746 |
| 3.0834 | 2541.8397 | 2660.4891 | 2629.2747 |
| 3.0944 | 2590.0708 | 2628.2880 | 2598.6747 |
| 3.1054 | 2591.8387 | 2596.2057 | 2568.0748 |
| 3.1164 | 2524.4828 | 2564.2309 | 2537.4748 |
| 3.1274 | 2512.5546 | 2533.5084 | 2506.8749 |
| 3.1384 | 2465.5526 | 2513.2782 | 2488.9884 |
| 3.1494 | 2438.5998 | 2494.2835 | 2471.1019 |
| 3.1604 | 2434.2035 | 2475.3622 | 2453.2154 |
| 3.1714 | 2442.8004 | 2456.5082 | 2435.3289 |
| 3.1824 | 2371.9400 | 2437.7158 | 2417.4423 |
| 3.1934 | 2358.7080 | 2418.9799 | 2399.5558 |
| 3.2044 | 2409.9562 | 2400.2959 | 2381.6693 |
| 3.2154 | 2357.9754 | 2381.6597 | 2363.7828 |
| 3.2264 | 2366.7876 | 2363.0676 | 2345.8963 |
| 3.2374 | 2395.3785 | 2344.5162 | 2328.0098 |
| 3.2484 | 2340.2222 | 2326.0024 | 2310.1233 |
| 3.2594 | 2300.7197 | 2307.5236 | 2292.2368 |
| 3.2704 | 2253.3845 | 2289.0771 | 2274.3502 |
| 3.2814 | 2255.0698 | 2270.6607 | 2256.4637 |
| 3.2924 | 2227.0708 | 2252.2722 | 2238.5772 |
| 3.3034 | 2181.0069 | 2233.9097 | 2220.6907 |
| 3.3144 | 2216.9823 | 2215.8093 | 2202.8042 |
| 3.3254 | 2213.7050 | 2199.8735 | 2187.5351 |
| 3.3364 | 2168.7429 | 2184.1966 | 2172.2661 |
| 3.3474 | 2153.0059 | 2168.5395 | 2156.9971 |
| 3.3584 | 2148.0236 | 2152.9010 | 2141.7280 |
| 3.3694 | 2119.1268 | 2137.2799 | 2126.4590 |
| 3.3804 | 2123.1101 | 2121.6751 | 2111.1899 |
| 3.3914 | 2129.1504 | 2106.0856 | 2095.9209 |
| 3.4024 | 2154.0723 | 2090.5105 | 2080.6518 |
| 3.4134 | 2097.5722 | 2074.9490 | 2065.3828 |
| 3.4244 | 2051.4941 | 2059.4003 | 2050.1137 |
| 3.4354 | 2072.5762 | 2043.8636 | 2034.8447 |
| 3.4464 | 2026.9695 | 2028.3383 | 2019.5757 |
| 3.4574 | 1980.0619 | 2012.8238 | 2004.3066 |
| 3.4684 | 1960.8446 | 1997.3193 | 1989.0376 |
| 3.4794 | 1978.9390 | 1981.8245 | 1973.7685 |
| 3.4904 | 1947.8274 | 1966.3388 | 1958.4995 |
| 3.5014 | 1927.6863 | 1951.4841 | 1943.2304 |
| 3.5124 | 1922.1613 | 1942.2457 | 1934.8144 |
| 3.5234 | 1983.0472 | 1933.6375 | 1926.3984 |
| 3.5344 | 1977.7025 | 1925.0366 | 1917.9824 |
| 3.5454 | 1915.7099 | 1916.4427 | 1909.5664 |
| 3.5564 | 1921.9233 | 1907.8554 | 1901.1504 |
| 3.5674 | 1916.0934 | 1899.2745 | 1892.7344 |
| 3.5784 | 1861.7547 | 1890.6995 | 1884.3184 |
| 3.5894 | 1820.5929 | 1882.1303 | 1875.9024 |
| 3.6004 | 1884.9627 | 1873.5665 | 1867.4864 |
| 3.6114 | 1848.5909 | 1865.0078 | 1859.0704 |
| 3.6224 | 1827.5457 | 1856.4542 | 1850.6544 |
| 3.6334 | 1784.2271 | 1847.9052 | 1842.2384 |
| 3.6444 | 1813.2429 | 1839.3608 | 1833.8224 |
| 3.6554 | 1824.3746 | 1830.8207 | 1825.4064 |
| 3.6664 | 1795.0418 | 1822.2847 | 1816.9904 |
| 3.6774 | 1860.3275 | 1813.7526 | 1808.5744 |
| 3.6884 | 1802.3186 | 1805.2243 | 1800.1584 |
| 3.6994 | 1793.8928 | 1796.6996 | 1791.7424 |
| 3.7104 | 1821.1534 | 1788.1783 | 1783.3264 |
| 3.7214 | 1775.3776 | 1779.6604 | 1774.9104 |
| 3.7324 | 1784.0157 | 1771.1457 | 1766.4944 |
| 3.7434 | 1729.4228 | 1762.6339 | 1758.0784 |
| 3.7544 | 1759.3997 | 1754.1252 | 1749.6623 |
| 3.7654 | 1750.3677 | 1745.6192 | 1741.2463 |
| 3.7764 | 1715.7399 | 1737.1159 | 1732.8303 |
| 3.7874 | 1695.1770 | 1728.6151 | 1724.4143 |
| 3.7984 | 1778.5904 | 1720.1169 | 1715.9983 |
| 3.8094 | 1659.3864 | 1711.6211 | 1707.5823 |
| 3.8204 | 1623.7183 | 1703.1275 | 1699.1663 |
| 3.8314 | 1716.5890 | 1694.6362 | 1690.7503 |
| 3.8424 | 1684.4730 | 1686.1469 | 1682.3343 |
| 3.8534 | 1707.6254 | 1677.6598 | 1673.9183 |
| 3.8644 | 1657.4562 | 1669.1746 | 1665.5023 |
| 3.8754 | 1640.0738 | 1660.7463 | 1657.0863 |
| 3.8864 | 1651.0000 | 1652.8152 | 1649.2757 |
| 3.8974 | 1649.4031 | 1644.9409 | 1641.4651 |
| 3.9084 | 1635.4838 | 1637.0684 | 1633.6545 |
| 3.9194 | 1625.1386 | 1629.1974 | 1625.8440 |
| 3.9304 | 1616.7930 | 1621.3281 | 1618.0334 |
| 3.9414 | 1562.0619 | 1613.4602 | 1610.2228 |
| 3.9524 | 1556.6534 | 1605.5939 | 1602.4122 |
| 3.9634 | 1579.6509 | 1597.7290 | 1594.6016 |
| 3.9744 | 1497.8073 | 1589.8654 | 1586.7910 |
| 3.9854 | 1552.5398 | 1582.0032 | 1578.9804 |
| 3.9964 | 1552.6264 | 1574.1423 | 1571.1699 |
| 4.0074 | 1591.7532 | 1566.2826 | 1563.3593 |
| 4.0184 | 1530.7566 | 1558.4241 | 1555.5487 |
| 4.0294 | 1542.8319 | 1550.5668 | 1547.7381 |
| 4.0404 | 1586.6893 | 1542.7107 | 1539.9275 |
| 4.0514 | 1541.1121 | 1534.8556 | 1532.1169 |
| 4.0624 | 1505.4135 | 1527.4310 | 1524.3064 |
| 4.0734 | 1519.1425 | 1520.7890 | 1518.1362 |
| 4.0844 | 1482.4115 | 1514.5774 | 1511.9661 |
| 4.0954 | 1504.2350 | 1508.3668 | 1505.7960 |
| 4.1064 | 1480.3850 | 1502.1572 | 1499.6258 |
| 4.1174 | 1491.1622 | 1495.9484 | 1493.4557 |
| 4.1284 | 1480.1165 | 1489.7405 | 1487.2856 |
| 4.1394 | 1472.7729 | 1483.5335 | 1481.1154 |
| 4.1504 | 1472.2832 | 1477.3273 | 1474.9453 |
| 4.1614 | 1484.1829 | 1471.1219 | 1468.7752 |
| 4.1724 | 1437.1357 | 1464.9173 | 1462.6050 |
| 4.1834 | 1425.8230 | 1458.7134 | 1456.4349 |
| 4.1944 | 1468.2163 | 1452.3614 | 1450.2648 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 6 Etosha18 Ssub 2-5cm S1 | 2.0054 | 29.9894 | 0.0110 | 11/30/2023 2:55:15 PM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 2.6830 | 1580.25 | 0.1515 | 32.90281 | 75.71 |
| 6.9712 | 2087.11 | 0.1515 | 12.66993 | 100.00 |
| 8.6698 | 337.54 | 0.1299 | 10.19102 | 16.17 |
| 11.7089 | 23.23 | 0.3031 | 7.55184 | 1.11 |
| 12.9697 | 42.85 | 0.3464 | 6.82041 | 2.05 |
| 15.6994 | 439.61 | 0.0974 | 5.64011 | 21.06 |
| 18.1603 | 80.60 | 0.0866 | 4.88099 | 3.86 |
| 19.6881 | 41.30 | 0.5196 | 4.50555 | 1.98 |
| 23.4642 | 8.91 | 0.4330 | 3.78830 | 0.43 |
| 25.8792 | 403.00 | 0.1515 | 3.44000 | 19.31 |
| 26.6480 | 109.44 | 0.2598 | 3.34248 | 5.24 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 01-082-8023 | 40 | Sodium Magnesium Silicon Oxide Hydrate | Na2 Mg3 ( Si6 O16 ) ( H2 O )7 | Loughlinite | 27 |
| * | 04-017-4317 | 42 | Potassium Magnesium Manganese Iron Aluminum Silicate Hydroxide | K Mg0.2 Mn0.1 Fe2.4 Al1.7 Si2.6 O10 ( O H )2 | Biotite-1M | 7 |
| * | 04-011-6756 | 19 | Sodium Aluminum Silicate Hydrate | Na8 Al8 Si16 O48 ( H2 O )8 | Analcime | 21 |
| * | 04-025-4215 | 30 | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Mg10.4 V0.36 Mn33.5 Fe0.14 Al0.69 Si6.77 As6.5 P0.3 O54 ( O H )42 | Carlfrancisite | 45 |

Anchor Scan Parameters

Dataset Name	6 Etosha18 Ssub 2-5cm S1

File name	C:\aeris_data\XRD data\Goldstein\Etosha 2023\Etosha Clay Data\Sample 6\6 Etosha18 Ssub 2-5cm S1.xrdml

Sample Identification	6 Etosha18 Ssub 2-5cm S1

Measurement Start Date/Time	11/30/2023 2:55:15 PM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	2.0054

End Position [°2θ]	29.9894

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.0603

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes