9 Etosha 22 Sub 0.1-4 cm S1 GLYCOLATED

Graphics

Graphics

Graphics

Quantitative Results

Phase Sodium Aluminum Silicate Hydrate

Weight fraction/ %	29.0

Phase Potassium Manganese Silicate Hydroxide Hydrate

Weight fraction/ %	36.0

Phase Potassium Magnesium Aluminum Silicate Hydroxide

Weight fraction/ %	34.0

Multiple Quantitative Results

Scans vs Phases Matrix

| Scan name | Sodium Aluminum Silicate Hydrate | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Potassium Manganese Silicate Hydroxide Hydrate | Potassium Magnesium Aluminum Silicate Hydroxide |
| --- | --- | --- | --- | --- |
| 9 Etosha22 sub 0.1-4cm s1 glycolated | 29.0 | 0.0 | 36.0 | 34.0 |

Anchor Scan Data

| Pos. [°2θ] | Iobs [cts] | Icalc [cts] | Iback [cts] |
| --- | --- | --- | --- |
| 2.0054 | 5087.0000 | 5080.2632 | 5087.0000 |
| 2.0164 | 5036.8604 | 5057.9354 | 5057.9354 |
| 2.0274 | 5106.0492 | 5028.8709 | 5028.8709 |
| 2.0384 | 5103.3171 | 4999.8063 | 4999.8063 |
| 2.0494 | 4981.0983 | 4970.7418 | 4970.7418 |
| 2.0604 | 4978.2679 | 4941.6772 | 4941.6772 |
| 2.0714 | 4901.5752 | 4912.6127 | 4912.6127 |
| 2.0824 | 4843.4189 | 4883.5481 | 4883.5481 |
| 2.0934 | 4816.0000 | 4854.4836 | 4854.4836 |
| 2.1044 | 4805.7124 | 4825.4190 | 4825.4190 |
| 2.1154 | 4732.4641 | 4796.3545 | 4796.3545 |
| 2.1264 | 4792.4287 | 4767.2899 | 4767.2899 |
| 2.1374 | 4732.4956 | 4738.2254 | 4738.2254 |
| 2.1484 | 4664.8815 | 4709.1608 | 4709.1608 |
| 2.1594 | 4629.4031 | 4680.0963 | 4680.0963 |
| 2.1704 | 4504.8835 | 4651.0317 | 4651.0317 |
| 2.1814 | 4589.7030 | 4621.9672 | 4621.9672 |
| 2.1924 | 4648.3122 | 4592.9026 | 4592.9026 |
| 2.2034 | 4723.5929 | 4563.8381 | 4563.8381 |
| 2.2144 | 4484.3717 | 4534.7735 | 4534.7735 |
| 2.2254 | 4398.3363 | 4505.7090 | 4505.7090 |
| 2.2364 | 4462.9336 | 4476.6444 | 4476.6444 |
| 2.2474 | 4399.3884 | 4447.5799 | 4447.5799 |
| 2.2584 | 4298.0846 | 4418.5153 | 4418.5153 |
| 2.2694 | 4326.3776 | 4389.4508 | 4389.4508 |
| 2.2804 | 4391.6067 | 4360.3862 | 4360.3862 |
| 2.2914 | 4268.0934 | 4331.3217 | 4331.3217 |
| 2.3024 | 4230.4071 | 4302.2571 | 4302.2571 |
| 2.3134 | 4230.3825 | 4273.1926 | 4273.1926 |
| 2.3244 | 4270.1185 | 4244.1280 | 4244.1280 |
| 2.3354 | 4212.6195 | 4215.0635 | 4215.0635 |
| 2.3464 | 4200.5737 | 4185.9989 | 4185.9989 |
| 2.3574 | 4179.3087 | 4156.9344 | 4156.9344 |
| 2.3684 | 4117.0280 | 4127.8698 | 4127.8698 |
| 2.3794 | 4092.4189 | 4100.1520 | 4098.8053 |
| 2.3904 | 4065.1849 | 4075.5509 | 4075.5509 |
| 2.4014 | 4072.4779 | 4052.2965 | 4052.2965 |
| 2.4124 | 4078.4621 | 4029.0422 | 4029.0422 |
| 2.4234 | 4038.6175 | 4005.7878 | 4005.7878 |
| 2.4344 | 3997.4056 | 3982.5334 | 3982.5334 |
| 2.4454 | 4028.9331 | 3959.2791 | 3959.2791 |
| 2.4564 | 4023.4253 | 3936.0247 | 3936.0247 |
| 2.4674 | 3955.6667 | 3912.7704 | 3912.7704 |
| 2.4784 | 3866.1180 | 3889.5160 | 3889.5160 |
| 2.4894 | 3852.3058 | 3866.2616 | 3866.2616 |
| 2.5004 | 3852.0664 | 3843.0073 | 3843.0073 |
| 2.5114 | 3745.5801 | 3819.7529 | 3819.7529 |
| 2.5224 | 3776.9823 | 3796.4986 | 3796.4986 |
| 2.5334 | 3833.5310 | 3773.2442 | 3773.2442 |
| 2.5444 | 3782.6598 | 3749.9898 | 3749.9898 |
| 2.5554 | 3767.2183 | 3726.7355 | 3726.7355 |
| 2.5664 | 3726.6136 | 3703.4811 | 3703.4811 |
| 2.5774 | 3680.4651 | 3680.2267 | 3680.2267 |
| 2.5884 | 3593.7832 | 3656.9724 | 3656.9724 |
| 2.5994 | 3592.8230 | 3633.7180 | 3633.7180 |
| 2.6104 | 3681.2768 | 3610.4637 | 3610.4637 |
| 2.6214 | 3550.1848 | 3587.2093 | 3587.2093 |
| 2.6324 | 3543.2566 | 3563.9549 | 3563.9549 |
| 2.6434 | 3618.3373 | 3540.7006 | 3540.7006 |
| 2.6544 | 3569.5590 | 3517.4462 | 3517.4462 |
| 2.6654 | 3538.1003 | 3494.1918 | 3494.1918 |
| 2.6764 | 3506.0098 | 3470.9375 | 3470.9375 |
| 2.6874 | 3465.5182 | 3447.6831 | 3447.6831 |
| 2.6984 | 3524.1416 | 3424.4288 | 3424.4288 |
| 2.7094 | 3427.5791 | 3401.1744 | 3401.1744 |
| 2.7204 | 3401.5924 | 3377.9200 | 3377.9200 |
| 2.7314 | 3334.8584 | 3354.6657 | 3354.6657 |
| 2.7424 | 3219.3564 | 3331.4113 | 3331.4113 |
| 2.7534 | 3321.6972 | 3309.8677 | 3308.1570 |
| 2.7644 | 3361.2655 | 3290.3686 | 3290.3686 |
| 2.7754 | 3351.9548 | 3272.5803 | 3272.5803 |
| 2.7864 | 3320.3294 | 3254.7920 | 3254.7920 |
| 2.7974 | 3314.2301 | 3237.0037 | 3237.0037 |
| 2.8084 | 3256.5762 | 3219.2153 | 3219.2153 |
| 2.8194 | 3280.9243 | 3201.4270 | 3201.4270 |
| 2.8304 | 3165.0841 | 3183.6387 | 3183.6387 |
| 2.8414 | 3057.8515 | 3165.8504 | 3165.8504 |
| 2.8524 | 3183.4976 | 3148.0620 | 3148.0620 |
| 2.8634 | 3209.2153 | 3130.2737 | 3130.2737 |
| 2.8744 | 3202.2321 | 3112.4854 | 3112.4854 |
| 2.8854 | 3118.4208 | 3094.6971 | 3094.6971 |
| 2.8964 | 3077.1770 | 3076.9087 | 3076.9087 |
| 2.9074 | 3106.3078 | 3059.1204 | 3059.1204 |
| 2.9184 | 3021.0157 | 3041.3321 | 3041.3321 |
| 2.9294 | 3117.7021 | 3023.5438 | 3023.5438 |
| 2.9404 | 3073.1839 | 3005.7206 | 3005.7555 |
| 2.9514 | 2953.6765 | 2987.8557 | 2987.8557 |
| 2.9624 | 3029.0590 | 2969.9560 | 2969.9560 |
| 2.9734 | 2995.4100 | 2952.0563 | 2952.0563 |
| 2.9844 | 2909.7183 | 2934.1566 | 2934.1566 |
| 2.9954 | 2904.7699 | 2916.2569 | 2916.2569 |
| 3.0064 | 2877.4690 | 2898.3572 | 2898.3572 |
| 3.0174 | 2826.8161 | 2880.4575 | 2880.4575 |
| 3.0284 | 2905.4189 | 2862.5578 | 2862.5578 |
| 3.0394 | 2871.1268 | 2844.6581 | 2844.6581 |
| 3.0504 | 2884.5821 | 2826.7583 | 2826.7583 |
| 3.0614 | 2816.0590 | 2808.8586 | 2808.8586 |
| 3.0724 | 2828.2699 | 2790.9589 | 2790.9589 |
| 3.0834 | 2802.7974 | 2773.0592 | 2773.0592 |
| 3.0944 | 2749.5620 | 2755.1595 | 2755.1595 |
| 3.1054 | 2776.3431 | 2737.2598 | 2737.2598 |
| 3.1164 | 2681.2434 | 2719.3601 | 2719.3601 |
| 3.1274 | 2750.7197 | 2701.4604 | 2701.4604 |
| 3.1384 | 2674.3176 | 2683.5607 | 2683.5607 |
| 3.1494 | 2631.1308 | 2665.6609 | 2665.6609 |
| 3.1604 | 2635.8835 | 2647.8669 | 2647.7612 |
| 3.1714 | 2604.8624 | 2630.0818 | 2629.8615 |
| 3.1824 | 2641.8977 | 2612.2146 | 2611.9618 |
| 3.1934 | 2617.3806 | 2594.3175 | 2594.0621 |
| 3.2044 | 2645.8741 | 2576.4205 | 2576.1624 |
| 3.2154 | 2523.8702 | 2558.5234 | 2558.2627 |
| 3.2264 | 2486.4307 | 2540.6265 | 2540.3630 |
| 3.2374 | 2507.8210 | 2522.7295 | 2522.4633 |
| 3.2484 | 2466.0000 | 2504.8326 | 2504.5636 |
| 3.2594 | 2503.1799 | 2486.9358 | 2486.6638 |
| 3.2704 | 2465.2974 | 2469.0390 | 2468.7641 |
| 3.2814 | 2460.9125 | 2451.1422 | 2450.8644 |
| 3.2924 | 2469.8894 | 2433.2455 | 2432.9647 |
| 3.3034 | 2453.8751 | 2415.3488 | 2415.0650 |
| 3.3144 | 2429.6937 | 2397.8746 | 2397.1653 |
| 3.3254 | 2309.8820 | 2380.3108 | 2380.0207 |
| 3.3364 | 2291.6691 | 2363.1694 | 2362.8761 |
| 3.3474 | 2299.0256 | 2346.0281 | 2345.7315 |
| 3.3584 | 2265.3230 | 2328.8868 | 2328.5869 |
| 3.3694 | 2241.7532 | 2311.7456 | 2311.4423 |
| 3.3804 | 2243.6278 | 2294.6044 | 2294.2978 |
| 3.3914 | 2254.1593 | 2277.4633 | 2277.1532 |
| 3.4024 | 2313.8280 | 2260.3222 | 2260.0086 |
| 3.4134 | 2317.7129 | 2243.1813 | 2242.8640 |
| 3.4244 | 2255.3082 | 2226.0403 | 2225.7194 |
| 3.4354 | 2199.7276 | 2208.8995 | 2208.5748 |
| 3.4464 | 2143.6632 | 2191.7587 | 2191.4302 |
| 3.4574 | 2159.1003 | 2174.6179 | 2174.2856 |
| 3.4684 | 2113.7207 | 2157.4773 | 2157.1411 |
| 3.4794 | 2071.7650 | 2140.3367 | 2139.9965 |
| 3.4904 | 2136.5885 | 2123.1962 | 2122.8519 |
| 3.5014 | 2084.3657 | 2108.1004 | 2105.7073 |
| 3.5124 | 2115.1746 | 2092.5706 | 2092.2179 |
| 3.5234 | 2124.6342 | 2079.0855 | 2078.7285 |
| 3.5344 | 2121.7930 | 2065.6004 | 2065.2391 |
| 3.5454 | 2110.5850 | 2052.1155 | 2051.7497 |
| 3.5564 | 2102.8009 | 2038.6306 | 2038.2603 |
| 3.5674 | 2092.3107 | 2025.1459 | 2024.7709 |
| 3.5784 | 1946.5673 | 2011.6612 | 2011.2816 |
| 3.5894 | 1924.0974 | 1998.1766 | 1997.7922 |
| 3.6004 | 1934.1288 | 1984.6921 | 1984.3028 |
| 3.6114 | 1980.2862 | 1971.2077 | 1970.8134 |
| 3.6224 | 1998.4543 | 1957.7234 | 1957.3240 |
| 3.6334 | 1961.5034 | 1944.2392 | 1943.8346 |
| 3.6444 | 1906.4434 | 1930.7551 | 1930.3452 |
| 3.6554 | 1919.7788 | 1917.2711 | 1916.8558 |
| 3.6664 | 1888.0501 | 1903.7872 | 1903.3664 |
| 3.6774 | 1875.0541 | 1890.3034 | 1889.8770 |
| 3.6884 | 1884.5664 | 1878.0061 | 1876.3877 |
| 3.6994 | 1866.3579 | 1865.4571 | 1865.0193 |
| 3.7104 | 1879.3869 | 1854.0947 | 1853.6509 |
| 3.7214 | 1817.6991 | 1842.7324 | 1842.2826 |
| 3.7324 | 1823.1563 | 1831.3703 | 1830.9142 |
| 3.7434 | 1869.2154 | 1820.0082 | 1819.5459 |
| 3.7544 | 1831.9203 | 1808.6463 | 1808.1775 |
| 3.7654 | 1853.1976 | 1797.2846 | 1796.8091 |
| 3.7764 | 1844.2114 | 1785.9229 | 1785.4408 |
| 3.7874 | 1844.0000 | 1774.5614 | 1774.0724 |
| 3.7984 | 1785.9036 | 1763.2001 | 1762.7041 |
| 3.8094 | 1758.0787 | 1751.8389 | 1751.3357 |
| 3.8204 | 1763.3643 | 1740.4779 | 1739.9673 |
| 3.8314 | 1775.4356 | 1729.1170 | 1728.5990 |
| 3.8424 | 1759.5275 | 1717.7563 | 1717.2306 |
| 3.8534 | 1710.7817 | 1706.3958 | 1705.8623 |
| 3.8644 | 1651.5438 | 1695.0354 | 1694.4939 |
| 3.8754 | 1672.7739 | 1686.3788 | 1683.1256 |
| 3.8864 | 1701.9159 | 1677.1485 | 1676.5904 |
| 3.8974 | 1712.2812 | 1670.6219 | 1670.0553 |
| 3.9084 | 1722.7979 | 1664.0956 | 1663.5202 |
| 3.9194 | 1675.3569 | 1657.5694 | 1656.9851 |
| 3.9304 | 1675.9631 | 1651.0435 | 1650.4500 |
| 3.9414 | 1603.3658 | 1644.5177 | 1643.9148 |
| 3.9524 | 1627.0487 | 1637.9922 | 1637.3797 |
| 3.9634 | 1587.2537 | 1631.4669 | 1630.8446 |
| 3.9744 | 1615.4091 | 1624.9419 | 1624.3095 |
| 3.9854 | 1669.6725 | 1618.4171 | 1617.7744 |
| 3.9964 | 1597.7753 | 1611.8926 | 1611.2393 |
| 4.0074 | 1587.5211 | 1605.3683 | 1604.7041 |
| 4.0184 | 1562.7330 | 1598.8443 | 1598.1690 |
| 4.0294 | 1578.1691 | 1592.3206 | 1591.6339 |
| 4.0404 | 1582.5846 | 1585.7972 | 1585.0988 |
| 4.0514 | 1614.5811 | 1579.2741 | 1578.5637 |
| 4.0624 | 1588.6234 | 1572.6989 | 1572.0285 |
| 4.0734 | 1509.5074 | 1566.1351 | 1565.3998 |
| 4.0844 | 1552.0929 | 1559.5194 | 1558.7711 |
| 4.0954 | 1553.7119 | 1552.9040 | 1552.1424 |
| 4.1064 | 1556.4867 | 1546.2889 | 1545.5137 |
| 4.1174 | 1519.6844 | 1539.6743 | 1538.8850 |
| 4.1284 | 1497.4887 | 1533.0600 | 1532.2563 |
| 4.1394 | 1501.1534 | 1526.4461 | 1525.6276 |
| 4.1504 | 1493.4779 | 1519.8326 | 1518.9989 |
| 4.1614 | 1504.7699 | 1513.2195 | 1512.3702 |
| 4.1724 | 1500.7089 | 1506.6069 | 1505.7414 |
| 4.1834 | 1463.9469 | 1499.9947 | 1499.1127 |
| 4.1944 | 1481.5275 | 1493.3830 | 1492.4840 |

Scan List

| Vis. | Dataset Name | Start pos. [°2θ] | End pos. [°2θ] | Step [°2θ] | Meas.Date/Time |
| --- | --- | --- | --- | --- | --- |
| * | 9 Etosha22 sub 0.1-4cm s1 glycolated | 2.0054 | 29.9894 | 0.0110 | 12/5/2023 9:08:19 AM |

Peak List

| Pos. [°2θ] | Height [cts] | FWHM Left [°2θ] | d-spacing [Å] | Rel. Int. [%] |
| --- | --- | --- | --- | --- |
| 5.3248 | 176.40 | 0.2165 | 16.58298 | 43.21 |
| 7.0227 | 408.26 | 0.2165 | 12.57705 | 100.00 |
| 9.0733 | 117.93 | 0.3031 | 9.73869 | 28.89 |
| 15.7470 | 159.74 | 0.0866 | 5.62317 | 39.13 |
| 18.2318 | 33.29 | 0.1732 | 4.86202 | 8.15 |
| 19.6633 | 17.32 | 0.5196 | 4.51118 | 4.24 |
| 25.9232 | 149.98 | 0.1515 | 3.43427 | 36.74 |
| 26.7012 | 22.58 | 0.2598 | 3.33594 | 5.53 |

Pattern List

| Visible | Ref.Code | Score | Compound Name | Chem. Formula | Mineral Name | SemiQuant[%] |
| --- | --- | --- | --- | --- | --- | --- |
| * | 04-011-6751 | 27 | Sodium Aluminum Silicate Hydrate | Na8 Al8 Si16 O48 ( H2 O )8 | Analcime | 29 |
| * | 04-025-4215 | No Matching Lines | Magnesium Manganese Aluminum Arsenic Iron Phosphorus Silicon Vanadium Oxide Hydroxide | Mg10.4 V0.36 Mn33.5 Fe0.14 Al0.69 Si6.77 As6.5 P0.3 O54 ( O H )42 | Carlfrancisite | - |
| * | 01-089-6415 | 57 | Potassium Manganese Silicate Hydroxide Hydrate | K3.68 Mn15.904 Si25.472 O64 ( O H )9.376 ( H2 O )7.024 | Ganophyllite | 36 |
| * | 00-042-1339 | 26 | Potassium Magnesium Aluminum Silicate Hydroxide | K Mg3 ( Si3 Al ) O10 ( O H )2 | Phlogopite-2M1 | 34 |

Anchor Scan Parameters

Dataset Name	9 Etosha22 sub 0.1-4cm s1 glycolated

File name	C:\aeris_data\XRD data\Goldstein\Etosha 2023\Etosha Clay Data\Sample 9\9 Etosha22 sub 0.1-4cm s1 glycolated.xrdml

Sample Identification	9 Etosha22 sub 0.1-4cm s1 glycolated

Measurement Start Date/Time	12/5/2023 9:08:19 AM

Operator	Instrument

Raw Data Origin	XRD measurement (*.XRDML)

Scan Axis	Gonio

Start Position [°2θ]	2.0054

End Position [°2θ]	29.9894

Step Size [°2θ]	0.0110

Scan Step Time [s]	48.1950

Scan Type	Continuous

PSD Mode	Scanning

PSD Length [°2θ]	5.54

Offset [°2θ]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	0.0603

Specimen Length [mm]	10.00

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-α1 [Å]	1.54060

K-α2 [Å]	1.54443

K-β1 [Å]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	15 mA, 40 kV

Diffractometer Type	2082464

Diffractometer Number	0

Goniometer Radius [mm]	145.00

Dist. Focus-Diverg. Slit [mm]	95.00

Incident Beam Monochromator	No

Spinning	Yes